| PGRR Number | 016 | PGRR Title | Planning Reserve Margin Review |
| --- | --- | --- | --- |
| Date Posted |  | December 5, 2011 |  |

| Requested Resolution | Normal |
| --- | --- |
| Planning Guide Section Requiring Revision | 8.2, Minimum ERCOT Planning Reserve Margin Criterion |
| Protocol Section(s) Requiring Revision, if any | None |
| Revision Description | This Planning Guide Revision Request (PGRR) adds language inadvertently omitted when planning requirements were moved from the Operating Guides (Section 5) to the Planning Guide. Specifically, this PGRR adds the requirement for ERCOT to periodically review and recommend to the ERCOT Board any change in the minimum ERCOT Planning Criterion necessary to maintain adequate ERCOT System reliability. |
| Reason for Revision | Nodal Operating Guide Section 5.2, Resource Capability, which was deleted by Nodal Operating Guide Revision Request (NOGRR) 058, Deletion of Section 5, Planning, contained a requirement for ERCOT to periodically determine the minimum ERCOT Planning Reserve Margin (PRM) required to ensure the adequacy of installed generation and other Resource capability in ERCOT. This PGRR adds that review requirement to the Planning Guide. |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | - Replaces the ERCOT PRM review requirement inadvertently removed by NOGRR058. |
|  | 2 | - Ensures that ERCOT maintains the responsibility to review the adequacy of the PRM. |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Rob Lane on behalf of the Planning Working Group (PLWG) |
| E-mail Address | Robert.Lane@luminant.com |
| Company | Luminant Energy Company LLC |
| Phone Number | (214) 875-8063 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

Proposed Guide Language Revision

8.2	Minimum ERCOT Planning Reserve Margin Criterion

The minimum ERCOT Planning Reserve Margin (PRM) criterion is 13.75%.  ERCOT shall periodically review and recommend to the ERCOT Board any changes to the minimum ERCOT PRM to ensure reliability of the ERCOT System.