| PGRR Number | 009 | PGRR Title | New Planning Guide Section 6.8, Resource Registration Procedures |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | October 6, 2011 |  |  |
| Proposed Effective Date |  | January 1, 2012 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Guide Sections Requiring Revision |  | 6.8, Resource Registration Procedures (new) 6.8.1, Resource Registration (new) 6.8.2, Resource Registration Process (new) |  |  |
| Revision Description |  | Normal. |  |  |
| Reason for Revision |  | This Planning Guide Revision Request (PGRR) adds new Section 6.8 to the Planning Guide. Specifically, this PGRR establishes the basic processes to be used by Resource Entities to supply Resource information to ERCOT through the Resource registration process. |  |  |
| Procedural History |  | - On 6/30/11, PGRR009 was posted. - On 7/13/11, ERCOT comments were posted. - On 7/29/11, CenterPoint Energy comments were posted. - On 7/29/11, the Planning Working Group (PLWG) considered PGRR009. - On 8/16/11, a second set of ERCOT comments were posted. - On 8/24/11, an Impact Analysis was posted. - On 8/26/11, the PLWG considered the 7/29/11 PLWG Report and Impact Analysis for PGRR009. - On 9/1/11, a revised Impact Analysis was posted. - On 9/15/11, ROS considered PGRR009. - On 10/5/11, Luminant Energy comments were posted. - On 10/6/11, TAC considered PGRR009. |  |  |
| PLWG Decision |  | On 7/29/11, the PLWG was in consensus to recommend approval of PGRR009 as amended by the 7/13/11 ERCOT comments and as revised by the PLWG. On 8/26/11, the PLWG was in consensus to recommend approval of the 7/29/11 PLWG Report as revised by the PLWG and to forward to ROS. |  |  |
| Summary of PLWG Discussion |  | On 7/29/11, the 7/13/11 ERCOT comments and 7/29/11 CenterPoint Energy comments were discussed. There was concern that results of reactive tests are not reflected properly in the Resource registration forms and suggested that review of previous biennial reactive test results should be completed to ensure that the reactive capability provided in the registration is reasonable; that lack of review could result in overstating the capability of the units in the Network Model Management System (NMMS) and cause potential voltage collapse situations in ERCOT. It was noted that further review of issues raised in the 7/29/11 CenterPoint Energy comments should be addressed in a PGRR or Nodal Protocol Revision Request (NPRR). On 8/26/11, the 8/16/11 ERCOT comments and the Impact Analysis were discussed. PLWG agreed to receive notification of updates to Resource registration information via a Really Simple Syndication (RSS) feed instead of a Market Notice, eliminating the associated impact to ERCOT staffing. |  |  |
| ROS Decision |  | On 9/15/11, ROS unanimously voted to recommend approval of PGRR009 as recommended by PLWG in the 8/26/11 PLWG Report and as revised by ROS. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 9/15/11, revisions were proposed to remove the requirement that specifically stated that market notifications would be made via an RSS feed when Resource registration information is updated. |  |  |
| TAC Decision |  | On 10/6/11, TAC unanimously voted to recommend approval of PGRR009 as recommended by ROS in the 9/15/11 ROS Report and as amended by the 10/5/11 Luminant Energy comments. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 9/1/11, it was explained that the 10/5/11 Luminant comments grey-boxed a reference to a section introduced via PGRR008, New Planning Guide Section 5 – Generation Resource Interconnection or Change Request (formerly “New Planning Guide Section 4 – Generation Resource Interconnection), which is still pending in the stakeholder approval process. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Market cost: - None. Utilizes existing processes. |
|  | 2 | Market benefit: - There is currently no specific language in either the Nodal Protocols or Nodal Operating Guides related to the submission of Resource asset registered data and information. Since this type of information is primarily used for steady-state, dynamics, and system protection studies, it is deemed appropriate to be part of the Planning Guide - Resource planning data submittal process is located within the Planning Guide.. |
|  | 3 | Market impact: - Clarifies process used to input and update Generation Resource data through the Resource registration process. |
|  | 4 | Consumer impact: - None since the Resource registration process data are already being submitted to ERCOT by Resource Entities. |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Rob Lane on behalf of the PLWG |
| E-mail Address | Rob.lane@luminant.com |
| Company | Luminant Energy Company LLC |
| Phone Number | (214) 875-8063 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 071311 | Proposed additional edits to Section 6.8.1 and recommended that notification of changes made to the Resource registration process and requirements be made via an RSS feed. |
| CenterPoint Energy 072911 | Recommended modifications to paragraph (2) of Section 6.8.2 to enable establishing accurate generator reactive limits for both operations and planning models. |
| ERCOT 081611 | Proposed that notification of changes to Resource registration related documents be done via an alternate method, such as an RSS feed instead of a Market Notice. |
| Luminant Energy 100511 | Provided clarifying language for paragraph (4) of Section 6.8.1 and revised language to accommodate references to a section in another pending PGRR. |

Proposed Guide Language Revision

6.8	Resource Registration Procedures

In accordance with Protocol Sections 3.7, Resource Parameters, 3.10, Network Operations Modeling and Telemetry, and 16.5, Registration of a Resource Entity, a Resource Entity shall register each All-Inclusive Generation Resource with ERCOT.  The Resource Entity shall submit Resource registration data and information through the registration process made available on the ERCOT website and the Market Information System (MIS) Public Area.

- 6.8.1	Resource Registration

(1)	A Resource Entity shall properly complete the Resource registration for each Generation Resource that contains all pertinent data for all Generation Resources at that site prior to inclusion in applicable systems that model Resources.  Load Resources represented by the Resource Entity shall be registered through the Resource registration process.

(2)	ERCOT shall post a detailed Resource Registration Guide on the ERCOT website that provides detailed instructions and explanations for the various data types required for Resource registration.

(3)	ERCOT shall make available related documents for Resource registration on the ERCOT website and shall notify Market Participants when changes are made to the Resource registration process and requirements, including the Resource registration forms and Resource Registration Guide.

(4)	As required by the Generation Interconnection or Change Request Procedure, Generation Resources shall provide accurate initial data for inclusion in the ERCOT Network Operations Model.  The data will be used to model future generation for Steady-State Working Group (SSWG), Dynamics Working Group (DWG), and System Protection Working Group (SPWG) base cases.

[PGRR009: Replace paragraph (4) above upon implementation of Planning Guide Revision Request (PGRR) 008, New Planning Guide Section 5 – Generation Resource Interconnection or Change Request (formerly “New Planning Guide Section 4 – Generation Resource Interconnection”):] (4) As required by Section 5, Generation Resource Interconnection or Change Request, Generation Resources shall provide accurate initial data for inclusion in the ERCOT Network Operations Model. The data will be used to model future generation for Steady-State Working Group (SSWG), Dynamics Working Group (DWG), and System Protection Working Group (SPWG) base cases.

(5)	A Resource Entity shall revise the Resource registration form as necessary to reflect changes in any data related to a Generation or Load Resource.

- 6.8.2	Resource Registration Process

(1)	A Resource Entity shall submit and authorize the Resource registration form as described in the Resource Registration Guide located on the ERCOT website.

(2)	Upon receipt of the Resource registration form, ERCOT shall review the completeness and provide notice of acceptance and/or deficiencies to the Resource Entity.

(3)	ERCOT shall provide notice to the Resource Entity if the Resource registration form is approved, which is not the same as an “approved” Network Operations Model Change Request (NOMCR).  The approval of the Resource registration form only means that the registered data moves to the next step of being converted to a NOMCR.

(4)	If ERCOT’s notice reports deficiencies, the Resource Entity shall make necessary changes specified and re-submit the Resource registration form and as many times as necessary until approval of the total set of registered data is granted.

(5)	Upon approval of the Resource registration form, ERCOT shall provide the Resource Entity with the model ready date for which the Resource registration form will be implemented in production.

(6)	If a Resource Entity desires that the approved Resource registration form become effective earlier than the schedule established in Protocol Section 3.10.4, ERCOT Responsibilities, it may submit a request for interim update as described in the Resource Registration Guide.