Operations Working Group Meeting

Monday, 11/14/11

Austin – MET Center

In Attendance:

Matt Carter – Garland

Larry Parr - CPS

Tip Tipton – Brazos (TO)

Brad Calhoun – CNP

Deann Walker - CNP

Matt Stout – ERCOT

Frank Owens – TMPA

Sherry Looney – Luminant

David Penney – Texas RE

James Jacob – AE (QSE)

Vijay Betanabhatla - ERCOT

John Blackwell – Lone Star

Matt Ponce – ONCOR

Yvette Landin – ERCOT

Wayne Bolton – Brazos (QSE)

Dial-In Attendees:

Steve – STEC

Virat Kapoor

Matt Ponce – ONCOR

Jimmy Hartmann – ERCOT

Leo Villanueva – ERCOT

Liz Jones – ONCOR

Henry Woods - STEC

- Antitrust Admonition – Meeting opened at 9:38 with a review of the Antitrust Admonition by Frank Owens.

- ROS Meeting – Frank Owens and Matt Stout gave a presentation to the group in regards to the TDSO term proposal.

- The OWG was in consensus to:

  - Leave the term unchanged;

  - Clarify the definition of TO to contemplate “designation” rather than “registration”;

  - Look at the language of the OG where TO is used to ensure that it is consistent with the Protocols;

- September OWG Meeting Notes – No corrections.

- NOGRR Reviews

  - 078NOGRR: Real-Time Security Analysis Language Clean Up to Reconcile Operating Guides with Current Operation Practices – Tabled until further action is necessary.

  - 080NOGRR: Inadvertent Interchange and Inadvertent Energy Clarification – IA Reviewed recommend approval to ROS

  - 081NOGRR: Synchronization with NPRR374, Modification of SCR Process and Urgency Requirements – IA Reviewed recommend approval to ROS.

  - 083NOGRR Removal of Reporting Requirements for Vegetation-Related Line Outages.  Language Review Modified by OWG. Back for IA next meeting.

  - 084NOGRR Daily Grid Operations Summary Report – Tabled for one month

- Monthly Operations Report for September – Vijay gave presentation

- Nodal Protocol and guides Resolution Task Force Report – No Report.

- Operations Task Force Report – Storm drill is ready to go. Nov 30 & Dec 1st .

- Compliance Report

- TRE issued winter prep survey to generator owners.

- Will issue a similar report to transmission owners soon.

- NERC is planning on winter prep webinar. Will confirm the dates later

- System Operations Report – No Report

- Other – discussed the Nodal Operating Guide changes which became effective on Oct 7th regarding submittal of the QSE Black Start Plan. Sherry Looney with Luminant asked about the QSE Black Start Plan submittal to ERCOT. It was determined that a QSE that represents a contracted black start resource would submit a plan based on the portion of the black start template that refers to QSE's.

11. Meeting Adjourned at 12:00.

Notes compiled by Vijay Betanabhatla