| NPRR Number | 432 | NPRR Title | Deployment of Resources to Alleviate Imminent Emergency Conditions |
| --- | --- | --- | --- |
| Date |  | December 13, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Sherry Looney |  |
| E-mail Address |  | sherry.looney@luminant.com |  |
| Company |  | Luminant Energy Company LLC |  |
| Phone Number |  | (214) 875-9278 |  |
| Cell Number |  | (469) 688-7607 |  |
| Market Segment |  | Investor Owned Utility (IOU) |  |

Comments

Luminant Energy Company LLC (Luminant) supports an open, transparent process for procuring and deploying Resources to alleviate imminent Emergency Conditions.  However, Luminant believes that additional changes in the language proposed by ERCOT are necessary to address concerns raised by Market Participants regarding the transparency of the process used to determine the need for such additional capacity and the amounts of such capacity to be procured.

Furthermore, Luminant believes that certain existing timelines related to Resource registration and generation interconnect requests need to be relaxed in order to ensure that any Resources procured through this process will not be held hostage by existing time requirements.  For example, changes in Resource registration (i.e., RARF submittal) should be expedited via the Interim Update Request process to allow changes in the System Operating Model to be implemented as quickly as possible.

Finally, Luminant believes that any Resources procured through this process should be precluded from re-entering the market upon contract expiration for at least one year if the Resource received payment for capital expenditures as part of the contract.  However, if the Resource repays all the funds provided to it for capital expenditures to re-enter the market, then the Resource should be allowed to continue to participate in the market upon contract expiration.

Revised Proposed Protocol Language

6.4.2	Output Schedules

(1)	A QSE that represents a Resource, other than an RMR Unit, must submit and maintain either an Energy Offer Curve or an Output Schedule for the Resource for all times when the Resource is On-Line.

(2)	For an On-Line RMR Unit, ERCOT, in its sole discretion, shall submit an Energy Offer Curve with the energy offered between Low Sustained Limit (LSL) and High Sustained Limit (HSL) at the System-Wide Offer Cap (SWCAP), considering contractual constraints on the Resource and any other adverse effects on, or implications arising from, the RMR Agreement, that may occur as the result of the Dispatch of the RMR Unit.

(3)	The entry of an Energy Offer Curve for a Resource automatically nullifies the Output Schedule for that Resource and prohibits entry of future Output Schedules for that Resource for the time during which the Energy Offer Curve is in effect.

(4)	For a Resource for which an Energy Offer Curve has not been submitted, the SCED process uses the Output Schedule submitted for that Resource as desired Dispatch levels for the Resource.

6.5.1.1	ERCOT Control Area Authority

(1)	ERCOT, as Control Area Operator (CAO), is authorized to perform the following actions for the limited purpose of securely operating the ERCOT Transmission Grid under the standards specified in North American Electric Reliability Corporation (NERC) Standards, the Operating Guides and these Protocols, including:

(a)	Direct the physical operation of the ERCOT Transmission Grid, including circuit breakers, switches, voltage control equipment, and Load-shedding equipment;

(b)	Dispatch Resources that have committed to provide Ancillary Services;

(c)	Direct changes in the operation of voltage control equipment;

(d)	Direct the implementation of Reliability Must-Run (RMR) Service, Remedial Action Plans (RAPs), Special Protection Systems (SPSs), and transmission switching to prevent the violation of ERCOT Transmission Grid security limits; and

(e)	Perform additional actions required to prevent an imminent Emergency Condition or to restore the ERCOT Transmission Grid to a secure state in the event of an ERCOT Transmission Grid Emergency Condition.

(2)	Consistent with paragraph (1)(e) above, if ERCOT seeks to exercise its authority to prevent an imminent Emergency Condition by procuring and/or deploying Resources that may be used to maintain ERCOT System reliability in a manner not otherwise delineated in these Protocols and the Operating Guides, ERCOT shall not take such actions without approval of the ERCOT Board and the Public Utility Commission of Texas (PUCT).

(a)	Upon determination by ERCOT that additional Resources are needed to prevent an imminent Emergency Condition and prior to any procurement activity associated with such additional Resources, ERCOT shall issue a Market Notice with the following information:

(i)	A narrative description of the need for additional capacity as determined by ERCOT and the timing of any procurement,

(ii)	Justification for the quantity of additional capacity to be requested,

(iii)	A list of potential Resources considered by ERCOT to be acceptable for providing the needed capacity, and

(iv)	A proposed schedule of activities associated with the procurement.

(b)	ERCOT shall, to the fullest extent practicable, ensure that any actions taken to procure additional Resources meet the following criteria:

(i)	Any Resources procured pursuant to this paragraph will be procured using an open process, and the terms of the procurement between ERCOT and the Resource Entity will be memorialized in contracts that will be publicly available for inspection on the ERCOT website.

(ii)	To the extent practicable, ERCOT shall relax the reporting and filing lead-times related to Resource registration, interconnection agreement revisions or any other activities to ensure that any Resources procured through this process can be made available to the market in a timely manner.

(iii)	Each contract will include specified financial terms and termination dates that will be established before the contract is presented for review by the ERCOT Board and the PUCT.

(iv)	Approval of ERCOT’s actions by the ERCOT Board and the PUCT must be obtained before ERCOT may execute such a contract.

(v)	If a contract is executed and the contract includes payment for capital expenditures to enable the Resource to re-enter the market, upon termination of the contract, the Resource shall not participate in the market for a period of at least one year.  However, if the Resource repays all funds provided to it by ERCOT for capital expenditures, it may continue to participate in the market upon contract expiration.

(c)	Resources deployed to alleviate imminent Emergency Conditions will not be offered into the Day-Ahead Market (DAM).  Rather, ERCOT will determine whether to use the Resources as part of the Hourly Reliability Unit Commitment (HRUC) process based on system conditions and the ability to meet Demand.  In the event these Resources are committed and On-Line, ERCOT systems will generate a proxy offer for the Resource at the SWCAP.  The default offer will place the Resources among the last for economic Dispatch, so as not to displace Resources that are On-Line and offering into the market.  To the extent practicable, the Resources deployed to alleviate imminent Emergency Conditions will not be used solely for the purpose of reducing local congestion.