| NOGRR Number | 086 | NOGRR Title | Clarification of Seasonal Unit Capability Testing Requirements |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | December 14, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Guide Section Requiring Revision |  | 3.3.1, Unit Capability Requirements |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) clarifies the seasonal unit capability testing requirement. |  |  |
| Reason for Revision |  | The existing language conflicts with the testing requirement in Protocol Section 8.1.1.2, General Capacity Testing Requirements. Seasonal unit capability testing occurs each Season, as defined in Section 2, Definitions and Acronyms, of the Protocols. |  |  |
| Procedural History |  | - On 11/1/11, NOGRR086 and an Impact Analysis were posted. - On 12/14/11, the Operations Working Group (OWG) considered NOGRR086. |  |  |
| OWG Decision |  | On 12/14/11, OWG was in consensus to table NOGRR086. |  |  |
| Summary of OWG Discussion |  | On 12/14/11, it was stated that paragraph (6) of Protocol Section 3.7, Resource Parameters, should be revised to remove the reference to the Operating Guides and that uses of “seasonal” should be reviewed in the Protocols and the Nodal Operating Guides to determine if those uses apply to the defined term. ERCOT Staff stated that NOGRR086 should be tabled until a Nodal Protocol Revision Request (NPRR) is submitted to revise Section 3.7, but should the changes to clean up uses of “seasonal” be substantial, that a separate NPRR and NOGRR should be submitted. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | This NOGRR eliminates a conflict from the Nodal Operating Guides which could result in inaccurate testing and reporting. |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Isabel Flores |
| E-mail Address | iflores@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6531 |
| Cell Number | 512-565-9117 |
| Market Segment | ERCOT |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Guide Language Revision

- 3.3.1	Unit Capability Requirements

(1)	In the event that a QSE fails to meet Protocol Section 8.1.1.2, General Capacity Testing Requirements, which requires seasonal unit capability reporting and testing, ERCOT shall provide this QSE with Notice of its failure to meet the Protocols.  This Notice shall be sent to the primary contact of the QSE representing the Generation Resource via email.  In addition to this written Notice, ERCOT shall make a reasonable effort to notify the QSE via telephone.

(2)	ERCOT shall allow the QSE three days to correct the omission by submitting ERCOT approved test results.   If the generating resource in question is operated during these three days, and no test results are provided to ERCOT, then the QSE shall be disqualified from provision of Ancillary Services.

(3)	If the generating Resource is not operated and included in a QSE Current Operating Plan (COP) after the notification of the Protocol violation, then ERCOT shall not disqualify the Ancillary Service provider unless or until the Generation Resource is operated and included in the COP that might be depended upon for Ancillary Services.