AMI DR ACCELERATION INITIATIVE

- Advanced metering infrastructure provides 15-minute interval data for customers

- Wholesale settlement on that 15-minute data ensures retailers will realize benefits of any DR or load management actions

- This foundation should be a catalyst for introduction and adoption of load management and demand response products and services

Group objective: Accelerate the growth of demand response and load management among AMI customers leveraging this environment.

Benefits will include:

- Improved market efficiency through price elasticity of demand

- Improved grid reliability through measurable and verifiable DR

- Additional return on the AMI investment

- Customer empowerment to manage their use of a key commodity

In support of this goal we will document issues and recommendations, inform market leadership, and request direction on next steps.

Objective: Increased DR among AMI customers leveraging the infrastructure that has been built in order to implement the law, address market issues, and meet the customer needs by when?