AMI’s Next Frontier:  Demand Response

| ID | Recommendation | XREF ISS / Issue description | Dependencies / Contingencies | Notes | Impact (Significant / Incremental) | Difficulty (High / Medium / Low) |
| --- | --- | --- | --- | --- | --- | --- |
| REC - 001 | SMT 3rd Party access phase 2 | ISS -003 (items 8, 9, 12, -010 (items 2, 6, 7) Data availability to 3rd party providers AMIT |  | - Security controls allowing 3rd parties to integrate SMT to their own tool sets - Full-fledged HAN messaging integration - Energy data management remote access - Standards based | Significant | Medium |
| REC – 002A | AMIT will develop and publish operational metrics showing the reliability and sustainability of SMT in 2012 | ISS – 003 (items 1, 13, 008 (items 2, 4) Performance metrics AMIT |  | - This is a stepping stone to AMIT SLA’s | Incremental | Low |
| REC -002B | AMIT will develop and publish SLA’s for SMT in 2012 | ISS – 003 (items 1, 13, 008 (items 2, 4) Performance metrics AMIT |  |  | Significant | Medium |
| REC - 003 | Create and implement AMIT HAN Support in 2012 | ISS – 004 (item 3) 010 (item 4) Support issues for HAN provisioning AMIT |  | - Greater technical support - Greater education support - Documentation development - Joint TDSP approach | Significant | Medium |
| REC - 004 | Develop and implement SMT Release 4.0 2012 and Operational models - approach for the definition of requirements for release 4.0 in SMT | ISS – 004 (items 1, 5, 6, 7, 8), ISS – 008 (items 1, 3, 4, 3) Bandwidth / data volumes on AMI network AMIT | Dependency – - Accessing full load when customers turn off gateway, ie no access to the EMD and consequently no DR capability for that particular customer or customers without their gateways turned on - Reliability of the customer’s ISP Barriers / Challenges are: - Cost of the device - Cost of the installation - Lack of universal access to high speed internet | - Define requirements for supporting DR to be included in release 4.0 - This would enable reaching customers who don’t have internet | Incremental | Medium |
| REC - 005 | Develop and implement the SMT / HAN Customer education initiative 2012 | ISS – 006 (items 1, 4, 5, 6) Customer education needs AMIT |  | - Educate the market on SMT - Educate the market on HAN - Education and awareness of the market in general of the availability of more SMART energy services - Create themes and recommendations for the market to share with the customer - Enable market participants to better educate their participants | Incremental | Low |
| REC – 006 | Implement load participation in SCED by aggregations of small customers - Can Loads be dispatched for power balance only, or must they also be dispatched for congestion mgmt like generators? | ISS-002 /Mass Market Loads in Energy & Ancillary Services markets Team - ERCOT / DSWG | Advancement of ERCOT Project on Look-Ahead SCED. Initial phase is expected to allow individual Load Resources only; aggregations will be deferred. | - Look-Ahead SCED (Nodal 2.0) includes load participation and advanced notification of pricing - Actively under discussion in the market and actively being worked on by ERCOT staff - See DSWG White Paper, NPRR 351 and ERCOT Look-Ahead SCED project presentations. - Can Loads be dispatched for power balance only, or must they also be dispatched for congestion mgmt like generators? (This is discussed in the DSWG White Paper | Significant | High |
| REC – 007A | - Expand the ability for the Load Management Standard Offer Programs to fund the DR infrastructure | ISS-002 / Near-term resource adequacy Team - ERCOT / DSWG | EILS rulemaking, Energy Efficiency rulemaking, or other. | - Anything related to the Load Management Standard Offer Programs is dependent on those programs continuing - Consider how Load Management should continue going forward both at ERCOT and in the TDSP EE - The commission can make the decision on standard offer programs that support DR in varying degrees - A day-ahead, one-hour or 30-minute product could potentially bring additional capacity in the short term (feature of the current load management standard offer policy) - Limits on the duration of events could attract more participation. Increase amount of acceptable LR participation in RRS market. | Unknown | Unknown |
| REC – 007B | - Increase (financial) attractiveness of EILS during peak hours. | ISS-002 / Near-term resource adequacy Team - ERCOT / DSWG | EILS rulemaking, Energy Efficiency rulemaking, or other. | - Higher payments during peak hours - Recognizes the nature of the EILS market - ERCOT should pay a higher payment for EILS - Allow for proper evaluation of the Load during true system peaks | Unknown | Unknown |
| REC - 010 | Review existing or pending studies regarding customer tolerance in DR | ISS-002 / Customer acceptance of DR Team - ERCOT / DSWG | Funding source for study must be identified. | - Product specific studies would be independently initiated by market participants - How much would a customer spend for what type of savings? - How much control over usage would a customer have to give up? - How much compensation is needed for temperature adjustments of X degrees? - Would a customer contract for longer term if he knew he could cap his electric bill by doing so? SMART Grid collaborative has an ongoing study of this issue in three waves and the information will be published - GE study was presented at 12/16/11 meeting | Incremental | Low |
| REC - 011 | Design ERCOT products with longer ramp periods | ISS-002 / DR products with longer lead times (ramp periods) Team - ERCOT / DSWG |  | - One-hour ramp period (such as Austin Energy) is desirable timing for customers. | Significant | High |
| REC - 012 | REP’s communicate to ERCOT which of their customers are enrolled in REP administrated DR products | ISS – 002 / Identify customers participating in DR/price response Team - ERCOT / DSWG |  | - Might be of interest to ERCOT, but to have value to ERCOT we might need much more information than a flag. - ERCOT load forecasting and planning could benefit from knowing which customers are enrolled in retail DR/load management products. - This may be out of scope for the goal - This could be of value for public relations purposes | Incremental | Medium |
| REC - 014 | Expand the TDSP funding (such as EE programs or other) to allow funding of mass market DR tools Expand the TDSP funding (such as EE programs or other) to allow funding of mass market DR tools | ISS – 005 Market Design | Probably need legislation; definitely need rule |  | Significant | High |
| REC - 016 | Create a DR portfolio standard (similar to REC program) | ISS –005 Market Design | Probably need legislation; definitely need rule | Does any other market have this? This is a white REC | Significant | High |
| REC - 017 | Create a "NYSERDA like" entity to fund the mass market DR tools | ISS – 005 Market Design | Probably need legislation; definitely need rule |  | Unknown | High |
| REC – 019A | Expand scope of PowertoChoose.org to allow easier customer access to DR/Smart Grid pricing products from REPs. | ISS – 005 Market Design |  | There is not a specific DR/SMART Grid category for comparisons | Unknown | Medium |
| REC - 021 | Implement time-differentiated Transmission and/or Distribution tariffs. | ISS – 005 Market Design |  | There is a lack of consensus on this – majority of the participants are opposed to this item You would pay more on the T&D tariffs on peak than off peak This would introduce a large amount of complexity in the retail market | Unknown | High |
| REC - |  |  |  |  |  |  |