APPROVED

Minutes of the Reliability and Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, October 13, 2011 – 9:30 a.m.

Attendance

Members:

| Alvarez, Eli | Brownsville PUB | Via Teleconference |
| --- | --- | --- |
| Armke, James | Austin Energy |  |
| Carpenter, Jeremy | Tenaska Power Services |  |
| Garrett, Mark | Direct Energy | Via Teleconference |
| Gedrich, Brian | NextEra Energy |  |
| Gutierrez, Fernando | BP Energy |  |
| Hatfield, Bill | LCRA |  |
| Holloway, Harry | GDF Suez Energy Marketing |  |
| Jones, Liz | Oncor Electric Delivery | Alt. Rep. for K. Donohoo |
| Keetch, Rick | Reliant Energy Retail Services |  |
| Kunkel, Dennis | AEP Service Corporation |  |
| Marsh, Tony | Texas Power |  |
| Moore, John | South Texas Electric Cooperative |  |
| Rocha, Paul | CenterPoint Energy |  |
| Ryno, Randy | Brazos Electric Power Cooperative |  |
| Schwarz, Brad | E.ON Climate and Renewables |  |
| Vander Laan, Dirk | Exelon Generation |  |
| Williams, Blake | CPS Energy |  |
| Wittmeyer, Bob | Residential Consumer |  |

The following proxies were assigned:

- David DeTullio to Bob Wittmeyer

- Randy Jones to Brian Gedrich

Guests:

| Bevill, Jennifer | AEP SC |  |
| --- | --- | --- |
| Burke, Tom | APM |  |
| Davison, Brian | PUCT | Via Teleconference |
| DeWitt, Charles | LCRA | Via Teleconference |
| Gibbens, David | CPS Energy |  |
| Grimes, Mike | EDPR | Via Teleconference |
| Hampton, Brenda | Luminant |  |
| Henry, Mark | Texas Reliability Entity |  |
| Horvath, Julius | LoneStar Transmission |  |
| Hudson, Tony | TNMP | Via Teleconference |
| Kee, David | CPS Energy |  |
| Kolodziej, Eddie | Customized Energy Solutions |  |
| Krishnaswamy, Vikram | Constellation | Via Teleconference |
| Lane, Rob | Luminant |  |
| Niemeyer, Sydney | NRG Energy | Via Teleconference |
| Noth, Mike | LCRA |  |
| Owens, Frank | TMPA |  |
| Pankratz, Andy | NextEra Energy | Via Teleconference |
| Parr, Larry | CPS Energy |  |
| Penny, David | TRE |  |
| Reid, Walter | Wind Coalition |  |
| Thormahlen, Jack | LCRA |  |
| Vo, Trieu | CPS Energy |  |
| Zaragoza, Steve | GP&L |  |
| Zotter, Laura | Austin Energy | Via Teleconference |

ERCOT Staff:

| Albracht, Brittney |  |  |
| --- | --- | --- |
| Billo, Jeff |  |  |
| Blevins, Bill |  |  |
| Frosch, Colleen |  |  |
| Hu, Tony |  | Via Teleconference |
| Landin, Yvette |  |  |
| Lopez, George |  |  |
| Sharma, Sandip |  | Via Teleconference |
| Sills, Alex |  |  |
| Surendran, Resmi |  | Via Teleconference |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |

Unless otherwise indicated, all Market Segments were present for a vote.

ROS Vice Chair Blake Williams called the ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Williams directed attention to the displayed ERCOT Antitrust Admonition and noted the requirement to comply with the ERCOT Antitrust Guidelines.  A copy of the guidelines was available for review.

Agenda Review

There were no changes to the agenda.

Technical Advisory Committee (TAC) Update (see Key Documents)

Nodal Protocol Revision Request (NPRR) 334, Incorporate Resource Limit for the Amount of Regulation Service that may be Provided from a Generation Resource During any Operating Hour

Mr. Williams noted the TAC remand and request for ROS comment before the December 1, 2011 TAC meeting.  ERCOT Staff requested the opportunity to prepare and present additional data to ROS and working groups; Liz Jones recalled TAC discussion regarding the desire to see incidents that had given rise to ERCOT concerns.  Market Participants discussed whether Resource-specific data might be discussed in ROS, or if such discussions might only be held at the Performance Disturbance Compliance Working Group (PDCWG); that Resources-specific information older than 60 days is posted to the Market Information System (MIS); and that the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG) should consider implementation issues.  Paul Rocha noted that he had abstained on the recommendation for rejection, and noted that he is not moved by arguments that there is not an issue unless it can be demonstrated that it is already occurring.

Ms. L. Jones moved to request that the Wholesale Market Subcommittee (WMS) and QMWG share the results of their review of NPRR334 at the November 10, 2011 ROS meeting; and to request that the PDCWG provide clarification as to the range of opinions regarding any reliability concern associated with the value of 30% recommended in the 8/11/11 PDCWG comments.  Mr. Rocha seconded the motion.  The motion carried unanimously.

ROS Voting Items

Draft September 15, 2011 ROS Meeting Minutes

Randy Ryno moved to approve the September 15, 2011 ROS meeting minutes.  Dennis Kunkel seconded the motion.  The motion carried unanimously.

Annual Review of Telemetry Standards and State Estimator Performance Standard

Alex Sills reminded Market Participants that TAC is now required to undertake an annual review of the Telemetry Standards and State Estimator Standards; presented the 20 most important station voltages, as designated by ERCOT and ROS; and noted that The Network Data Support Working Group (NDSWG) does not believe that additional revisions to the State Estimator Standard are required at this time.  James Armke asked if there exists a map indicating the location of the important buses; Mr. Sills answered that there is not a map; that it would be possible to create a map for 2012; and noted that the system does take care to geographically distribute the buses.

Mr. Rocha moved to approve the 20 station voltages as presented by ERCOT, and to reaffirm the existing State Estimator and Telemetry Standards.  Mr. Ryno seconded the motion.  Market Participants discussed that the 20 bus limit was developed several years ago, and that for the 20 buses designated, there are higher standards for telemetry.  The motion carried unanimously.

PGRR008, New Planning Guide Section 4 – Generation Resource Interconnection

Market Participants reviewed the 10/5/11 PLWG and 10/5/11 Calpine comments.  ERCOT Staff suggested use of Net Dependable Capability as a more appropriate measure of unit capability in determining whether an upgrade request must follow the change request procedures.  Market Participants discussed that “summer net demonstrated capability” is not a defined term; Mr. Reid raised to ROS’ attention use of the word “unit” and expressed concern that the word is used in various ways, is also undefined, and suggested that Generation Resource be used instead.

Mr. Rocha moved to recommend approval of PGRR008 as amended by the 10/5/11 Calpine comments and as revised by ROS.  Bob Wittmeyer seconded the motion.  The motion carried with one objection from the Consumer Market Segment.

NPRR381, Registration Requirements for Interconnecting Entities

NPRR408, Clarification of ERCOT Authority to Deny Energization of Non-Compliant Generators

Market Participants reviewed the 10/4/11 PLWG comments and the 10/5/11 E.ON Climate and Renewables North America comments to NPRR408.  ERCOT Staff offered additional language revisions and noted that ERCOT, as the reliability entity, must continue to monitor for reliability issues and cannot agree to any language that restricts it from that role.  Market Participants offered further language revisions.

Mr. Schwarz moved to endorse NPRR408 as amended by the 10/4/11 PLWG comments and as revised by ROS, and to recommend rejection of NPRR381.  Mr. Greer seconded the motion.  The motion carried with one abstention from the Municipal Market Segment.

NPRR366, Generation Resource Power Factor Criteria Clarification

ROS took no action on this item; Market Participants noted that a workshop on the topic is pending.

NPRR385, Security Violation Analysis and Reporting and Negative Price Floor

ERCOT Staff noted that efforts are underway to move violation language from NPRR385 to NPRR393, SCED Constraint Management Transparency, and thereby reduce system impacts.  Market Participants discussed that QMWG is planning to discuss NPRR385.

Ms. L. Jones moved to request that PRS continue to table NPRR385 to allow time for further review.  Mr. Armke seconded the motion.  It was noted that at the Special ROS meeting on October 21, 2011 reliability aspects of congestion irresolvable by SCED would be discussed.  The motion carried unanimously.

NPRR315, Revision of Responsive Reserve Measure to High Emergency Limit (formerly “Revision of Responsive Reserve Measure to Net Dependable Capability)

Market Participants discussed that ROS is awaiting the review of test results by ERCOT and PDCWG, and that NPRR315 remains tabled.  ROS took no action on this item.

PGRR011, Planning Criteria Clarifications and Enhancements to Narrow the Gap Between Operations and Planning

Nodal Operating Guide Revision Request (NOGRR) 078, Real-Time Security Analysis Language Clean Up to Reconcile Operating Guides with Current Operation Practice

NPRR409, Outage Planning Criteria Clarifications and Enhancements to Narrow Gap Between Real-Time Operations and Outage Planning

Market Participants discussed that PGRR011, NOGRR078, and NPRR409 would be better considered after the Special ROS Meeting on October 21, 2011 regarding coordination of operations and planning environments; presentations for the Special ROS meeting are being built around questions submitted by Market Participants to ERCOT Staff as requested by Ken Donohoo; and that Market Participants should send additional questions across the ROS listserv as presentations are published.  Ms. L. Jones offered that the Special ROS meeting will be an opportunity for Market Participants to review a common base of information.  ROS took no action on the items.

2012 Block Schedule

There were no objections to the proposed 2012 ROS dates, though Market Participants noted that April and October ROS meetings might require rescheduling, pending Gulf Cost Power Association (GCPA) meetings.

ERCOT Reports (see Key Documents)

September System Planning Report

Jeff Billo presented the September System Planning report.  Mr. Kunkel asked why the wind interconnection report had not changed from the August report; Mr. Billo noted that a number of ongoing studies related to Competitive Renewable Energy Zone (CREZ) facilities had not yet been completed.

September Operations Report

Naga Kota presented the September Operations report.  Mr. Greer suggested that better granularity would be helpful as it pertains to Congestion Management and the number of intervals involved.  Mr. Blevins noted that Market Notices had been sent regarding an update to the stability matrix and Transient Security Analysis Tool (TSAT) implementation.

Nodal Planning Go Live Status Reports (see Key Documents)

Steady State Working Group (SSWG) Report

No questions were offered regarding the posted SSWG report.

Update: SCR760, Recommended Changes Needed for Information Model Manager and Topology Processor for Planning Models

Jay Teixeira noted that SCR760-3, Zero Impedance Line Ratings, SCR760-7, Assign Valid PSSE IDs to Breakers/Switches/Series Devices, and SCR760-8, Phase Shift of Autos for Short Circuit Studies, are planned to go into production on October 17, 2011 in time for the Congestion Revenue Right (CRR) Auction data pull.

Resource Asset Registration Form (RARF) Workshop Results

Mr. Teixeira noted that the workshop was well-attended by Resource Entities and Transmission Service Providers (TSPs), and that it was discussed that sharing the RARF with the TSP before submission is a good practice.

Emerging Technologies Working Group (ETWG) (see Key Documents)

Brian Gedrich noted that the ETWG Storage Workshop would likely be scheduled for December 2, 2011 at ERCOT Austin.

ROS Working Group/Task Force Reports (see Key Documents)

Black Start Working Group

Critical Infrastructure Protection Working Group

Dynamics Working Group

Network Data Support Working Group

Operations Working Group

Operations Task Force

Nodal Protocol and Guides Resolution Task Force

System Protection Working Group

No questions were offered regarding the posted reports.

PDCWG

Mr. Reid requested that ROS give discussion to the PDCWG report pertaining to the Wind-powered Generation Resources (WGRs) Generation Resource Energy Deployment Performance (GREDP) calculation, and expressed concern that approximately 50 percent of WGRs being measured are failing, which Mr. Reid attributed to too few intervals being measured, or being measured during curtailment.  Mr. Reid offered that if measured the same as conventional generation, virtually 100 percent of WGRs pass.  Mr. Reid did not suggest that WGRs and conventional generation have the same measure, but suggested that it is worth considering when WGRs are measured.

Market Participants discussed the December 1, 2011 deadline for WGRs and Governor response compliance for Primary Frequency Response; that some vendors are struggling to implement the capability; and that PDCWG and ERCOT are aware of vendors’ capabilities.  Mr. Reid requested that the requirement be reconsidered for installations predating the requirement unless a reliability issue can be demonstrated.

Other Business

NOGRR065, Authorize ERCOT to Procure Additional RRS During Severe Cold Weather

Yvette Landin noted the withdrawal of NOGRR065.

NOGRR082, Synchronization with NPRR258 and Alignment of Primary Frequency Response Test Procedures

Ms. Landin noted that ERCOT Staff intends to request Urgent status for NOGRR082 at the November 10, 2011 ROS meeting.

Adjournment

Mr. Williams adjourned the October 13, 2011 ROS meeting at 11:58 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2011/10/20111013-ROS