| NPRR Number | 432 | NPRR Title | Deployment of Resources to Alleviate Imminent Emergency Conditions |
| --- | --- | --- | --- |
| Date |  | December 20, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Randy Jones |  |
| E-mail Address |  | rajones@calpine.com |  |
| Company |  | Calpine |  |
| Phone Number |  | 713.830.8846 |  |
| Cell Number |  | 832.385.3322 |  |
| Market Segment |  | Independent Generator |  |

Comments

Calpine appreciates the opportunity to provide follow up comments and edits to this NPRR based on some of the stakeholder thoughts expressed in the December 15, 2011 Protocol Revision Subcommittee meeting.

These edits are provided in preparation of the January 9, 2012 special Protocol Revision Subcommittee meeting and were made on top of the text of the filed ERCOT comments dated December 13, 2011.  The purpose of our edits is twofold, first to provide triggering criteria for ERCOT to begin the process of procuring seasonal adequacy within the requirement to calculate and produce the Medium-Term System Adequacy Reports.  And secondly, to ensure that the procurement process adheres to the well-established Reliability Must Run requirements already found in the Protocols and used during the 2011 Peak Season under the same anticipated system insufficiency conditions.

Revised Cover Page Language

| NPRR Number | 432 | NPRR Title | Procurement and Deployment of Resources to Alleviate Imminent Emergency Conditions |
| --- | --- | --- | --- |

Revised Proposed Protocol Language

6.5.1.1	ERCOT Control Area Authority

(1)	ERCOT, as Control Area Operator (CAO), is authorized to perform the following actions for the limited purpose of securely operating the ERCOT Transmission Grid under the standards specified in North American Electric Reliability Corporation (NERC) Standards, the Operating Guides and these Protocols, including:

(a)	Direct the physical operation of the ERCOT Transmission Grid, including circuit breakers, switches, voltage control equipment, and Load-shedding equipment;

(b)	Dispatch Resources that have committed to provide Ancillary Services;

(c)	Direct changes in the operation of voltage control equipment;

(d)	Direct the implementation of Reliability Must-Run (RMR) Service, Remedial Action Plans (RAPs), Special Protection Systems (SPSs), and transmission switching to prevent the violation of ERCOT Transmission Grid security limits; and

(e)	Perform additional actions required to prevent an imminent Emergency Condition or to restore the ERCOT Transmission Grid to a secure state in the event of an ERCOT Transmission Grid Emergency Condition.

(2)	Consistent with paragraph (1)(e) above, if ERCOT seeks to exercise its authority to prevent an imminent Emergency Condition by deploying Resources that may be used to maintain ERCOT System reliability in a manner not otherwise delineated in these Protocols and the Operating Guides, ERCOT shall not take such actions without approval of the ERCOT Board.  ERCOT shall, to the fullest extent practicable, ensure that such actions meet the following criteria:

(a)	Procurement of RMR capacity as specified in paragraph (2)(b) below may only be initiated based on system aggregate insufficiency, as calculated and reported in Section 3.2.3, System Adequacy Reports, for the proposed contract period.

(b)	Any Resources procured pursuant to this paragraph will be procured using the processes described in Section 3.14.1, Reliability Must Run, and the terms of the procurement between ERCOT and the Resource Entity will be memorialized in contracts that will be publicly available for inspection on the ERCOT website.  Each contract will include specified financial terms and termination dates that will be established before the RMR Agreement is presented for review by the ERCOT Board.  Approval of ERCOT’s actions by the ERCOT Board must be obtained before ERCOT may execute such RMR Agreement for seasonal system adequacy.  Any information submitted by the Resource Entity to ERCOT through the procurement process may be designated as Protected Information and treated in accordance with the provisions of Section 1.3, Confidentiality, provided that final contract terms must be made available for public inspection.

(c)	RMR Units deployed to alleviate imminent Emergency Conditions and procured specifically for seasonal system adequacy purposes will not be offered into the Day-Ahead Market (DAM).  Rather, ERCOT will determine whether to use the Resources as part of the Hourly Reliability Unit Commitment (HRUC) process based on system conditions and the ability to meet Demand.  In the event these Resources are committed and On-Line, ERCOT systems will generate a proxy offer for the Resource at the SWCAP.  The default offer will place the Resources among the last for economic Dispatch, so as not to displace Resources that are On-Line and offering into the market.  To the extent practicable, the Resources deployed to alleviate imminent Emergency Conditions will not be used solely for the purpose of reducing local congestion.