Date: 	December 29, 2011

To:	Technical Advisory Committee (TAC) Representatives

From:	Rob Bevill, Protocol Revision Subcommittee (PRS) Vice Chair

Re:	Consideration of Nodal Protocol Revision Requests (NPRRs)

The PRS met and discussed several revision requests and presents the following NPRRs to the TAC for consideration this month.

Unless indicated otherwise, all Market Segments were present for the vote.  In addition, unless stated otherwise, the ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision requests and do not believe they require changes to credit monitoring activity or the calculation of liability.

NPRRs Recommended for Approval

  - NPRR327, State Estimator Data Redaction Methodology [ERCOT].

Proposed Effective Date:  Upon System Implementation – Priority 2012; Rank 480

ERCOT Impact Analysis:  $155k - $175k (system implementation); $125k – $135k (annual recurring Operations and Maintenance (O&M)); staffing impacts of one full-time equivalent (FTE) for Operations Support department; system impacts to Energy Management System (EMS), Current Day Reports (CDR), Market Information System (MIS), Information Systems Master (ISM), and Network Modeling and Management System (NMMS); ERCOT business functions will need to be updated to implement post and redaction requirements; no impacts to ERCOT grid operations or practices.

Revision Description:  This NPRR inserts language to define a redaction methodology for the posting of State Estimator data.

Procedural History:  NPRR327 was posted on 2/22/11.  On 3/24/11, PRS unanimously voted to table NPRR327.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR327 as amended by the 7/21/11 Morgan Stanley comments and as revised by PRS.  On 8/18/11, PRS unanimously voted to table NPRR327.  On 9/22/11, PRS unanimously voted to table NPRR327.  On 11/17/11, PRS voted to endorse the 9/22/11 PRS Report as amended by the 11/16/11 Edison Mission Market & Trading comments and to bring the Impact Analysis to the 11/29/11 Special PRS Meeting for consideration.  There were two abstentions from the Independent Retail Electric Provider (IREP) and Generator Market Segments.  On 11/29/11, PRS voted to endorse the 11/17/11 PRS report as amended by the 11/23/11 Luminant Energy Company LLC comment and revised Impact Analysis for NPRR327, and to recommend a priority of 2012 and rank of 480.  There was one abstention from the IREP Market Segment.  On 12/15/11, PRS voted via roll call vote to endorse and forward the 11/29/11 PRS Report as amended by the 12/14/11 Luminant Energy Company LLC comments and Impact Analysis for NPRR327 to TAC.  There were three opposing votes from the Independent Generator, Consumer and IREP Market Segments and one abstention from the Independent Power Marketer (IPM) Market Segment.

  - NPRR407, Credit Monitoring Posting Requirements [Tenaska].

Proposed Effective Date:  Upon System Implementation – Priority 2012; Rank 590

ERCOT Impact Analysis:  $120k - $130k; no impacts to ERCOT staffing; system impacts to Market Management System (MMS), Congestion Revenue Rights (CRR), CDR, MIS, and ISM; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR adds language to require posting of current and previously effective credit parameters to the MIS Certified Area.

Procedural History:  NPRR407 was posted on 9/6/11.  On 9/22/11, PRS unanimously voted to table NPRR407.  On 10/20/11, PRS unanimously voted to recommend approval of NPRR407 as amended by the 10/4/11 Tenaska comments and as revised by PRS.  On 11/17/11, PRS unanimously voted to table NPRR407 pending development of the Impact Analysis.  On 12/15/11, PRS voted to endorse and forward the 10/20/11 PRS Report and Impact Analysis for NPRR407 to TAC and to recommend a priority of 2012 and rank of 590.  There was one abstention from the Consumer Market Segment.  Positive credit implications.

  - NPRR422, Public DAM Shift Factors [MIS User Group (MISUG)].

Proposed Effective Date:  Upon System Implementation – Priority 2012; Rank 600

ERCOT Impact Analysis:  $20k - $25k; no impacts to ERCOT staffing; system impacts to MMS and CDR; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR creates a new report to provide Day-Ahead Shift Factors on the MIS Public Area.

Procedural History:  NPRR422 was posted on 10/27/11.  On 11/17/11, PRS unanimously voted to recommend approval of NPRR422 as amended by the 11/16/11 MIS User Group comments.  On 12/15/11, PRS voted to endorse and forward the 11/17/11 PRS Report and Impact Analysis for NPRR422 to TAC and to recommend a priority of 2012 and rank of 600.  There was one abstention from the Consumer Market Segment.

  - NPRR423, Add Voltage Support Requirement for IRRs and Allow SCADA Control of Static VAr Devices if Approved by ERCOT (formerly “Add Voltage Support Requirement for IRRs and Allow Manual Control of Static VAr Devices if Approved by ERCOT”) [ERCOT].

Proposed Effective Date:  March 1, 2012

ERCOT Impact Analysis:  No budgetary impacts; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR includes Intermittent Renewable Resources (IRRs) in the voltage requirement and clarifies the reactive requirement to be the same as Wind-powered Generation Resources (WGRs); and also proposes that switchable static Volt-Ampere reactive (VAr) devices can be Supervisory Control and Data Acquisition (SCADA) controlled if approved by ERCOT.

Procedural History:  NPRR423 was posted on 11/2/11.  On 11/17/11, PRS unanimously voted to recommend approval of NPRR423 as amended by the 11/14/11 Oncor Electric Delivery comments and as revised by PRS.  On 12/15/11, PRS voted to endorse and forward the 11/17/11 PRS Report and Impact Analysis for NPRR423 to TAC.  There was one abstention from the Consumer Market Segment.

Revision Requests Rejected and Failed Motions

None.

Revision Requests Withdrawn (no TAC action required)

  - NPRR378, Posting of the ERCOT Short-Term Load Forecast and the Aggregated HDL and LDL Used in SCED [Floyd Trefny].

Proposed Effective Date:  Not applicable.

ERCOT Impact Analysis:  Not applicable.

Revision Description:  This NPRR adds a requirement for ERCOT to post on the MIS the ERCOT Short-Term Load Forecast (STLF) for the current Security-Constrained Economic Dispatch (SCED); the STLF for the next or prompt five-minute SCED interval; and the STLF effective within 15 minutes; and also clarifies SCED up/down reserves and adds capacity for the aggregate sum of the High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs) for the On-Line Generation Resources in each five-minute SCED interval.

Procedural History:  NPRR378 was posted on 6/8/11.  On 6/23/11, PRS voted to reject NPRR378 via roll call vote.  On 8/4/11, TAC voted to grant the ERCOT Steel Mills appeal and remand NPRR378 to PRS; to direct PRS to work with ERCOT to resolve any questions needed to complete the Impact Analysis; to request that ERCOT perform an Impact Analysis; and to direct PRS to recommend action on NPRR378 to TAC after the completion of the Impact Analysis.  There were two abstentions from the IPM Market Segment.  On 8/18/11, PRS unanimously voted to table NPRR378.  On 12/14/11, NPRR378 was withdrawn.  Credit review is not applicable.

Revision Requests Scheduled for Consideration at the January 9, 2012 Special PRS Meeting

  - NPRR421, Clarification of RMR Notifications [Edison Mission].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR updates the Protocols to ensure that ERCOT issues Market Notices to Market Participants contemporaneously with ERCOT’s activities with RMR Unit and Must-Run Alternative (MRA) Resource owners.

Procedural History:  NPRR421 was posted on 10/24/11.  On 11/17/11, PRS voted to recommend approval of NPRR421 as amended by the 11/9/11 Luminant Energy comments and as revised by PRS.  There were two opposing votes from the Investor Owned Utility (IOU) and IREP Market Segments and one abstention from the Municipal Market Segment.  On 12/15/11, PRS voted to table NPRR421.  There was one opposing vote from the IPM Market Segment.  Credit review is pending.

  - NPRR432, Deployment of Resources to Alleviate Imminent Emergency Conditions [ERCOT] - Urgent.

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (preliminary):  No budgetary impacts; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR institutes parameters governing ERCOT’s utilization of emergency authority under Section 6.5.1.1, ERCOT Control Area Authority, when ERCOT seeks to deploy Resources to maintain ERCOT System reliability when Emergency Conditions appear imminent; provides a process for ERCOT to procure and deploy Resources that may be used to alleviate imminent Emergency Conditions in a manner not otherwise delineated in the Protocols and Operating Guides, and requires that such procurements be made only upon approval of the ERCOT Board and the Public Utility Commission of Texas (PUCT); and includes steps to minimize impacts on the broader market.

Procedural History:  NPRR432 as posted on 12/2/11.  On 12/15/11, PRS voted to grant NPRR432 Urgent status.  There was one abstention from the IPM Market Segment.  PRS then unanimously voted to table NPRR432 until the 1/9/12 Special PRS meeting.  Credit review is pending.

Status of Pending Revision Requests (For Information Purposes Only):

Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the January 19, 2012 PRS Meeting

  - NPRR385, Security Violation Analysis and Reporting and Negative Price Floor [Luminant Energy].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (preliminary):  $75k - $90k (system implementation); $900k - $1M (annual recurring O&M); staffing impacts of one FTE for Mid-Term Planning and seven FTEs for Operations Support departments; impacts to MMS, EMS, Price Verification Tool and MIS; business functions and grid operations and practices will need to be updated.

Revision Description:  This NPRR adds review, analysis and reporting requirements to the Network Security Analysis (NSA) process to provide Market Participants with information related to the causes of recurring security violations and possible solutions developed by ERCOT to address those violations; and adds an administrative Real-Time Settlement Point Price floor of negative $251/MWh for Resource Nodes and Hubs.

Procedural History:  NPRR385 as posted on 6/14/11.  On 7/21/11, PRS unanimously voted to recommend approval of NPRR385 as amended by the 6/21/11 Luminant Energy Company LLC comments.  On 8/18/11, PRS voted to table NPRR385 for one month.  There was one opposing vote from the Independent Generator Market Segment.  On 9/22/11, PRS unanimously voted to table NPRR385.  Positive credit implications.

  - NPRR393, SCED Constraint Management Transparency [J. Aron].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis (preliminary):  $15k - $20k (system implementation); $950k - $1M (annual recurring O&M); staffing impacts of two FTEs for Operations Support and six FTEs for System Operations departments; impacts to MIS; business functions will need to be updated to implement posting requirements; no impacts on ERCOT grid operations and practices.

Revision Description:  This NPRR creates a reporting requirement to provide transparency into SCED constraint management decisions.

Procedural History:  NPRR393 was posted on 7/14/11.  On 7/20/11, the motion to grant NPRR393 Urgent status failed via PRS email vote.  On 8/18/11, PRS unanimously voted to recommend approval of NPRR393 as submitted.  On 9/22/11, PRS unanimously voted to table NPRR393.  On 11/17/11, PRS unanimously voted to table NPRR393.  On 12/15/11 PRS voted to endorse the 8/18/11 PRS Report as amended by the 9/14/11 J. Aron comments and the 11/17/11 Luminant Energy comments and as revised by PRS; and to bring the Impact Analysis back to PRS for consideration.  There were two abstentions from the Independent Generator and Consumer Market Segments.

  - NPRR397, Balance of the Day Ancillary Service Market [Morgan Stanley].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR allows the Supplemental Ancillary Service Market (SASM) to be operated as a balance of the day market for Ancillary Services.

Procedural History:  NPRR397 was posted on 8/1/11.  On 8/18/11, PRS unanimously voted to table NPRR397.  On 12/15/11, PRS unanimously voted to recommend approval of NPRR397 as amended by the 12/8/11 ERCOT comments and as revised by PRS.  Credit review is pending.

  - NPRR402, Clarification of Pre-DAM RUC Instruction Sequence [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the treatment of Reliability Unit Commitment (RUC) instructions for instances in which ERCOT issues instructions prior to the closing of the Day-Ahead Market (DAM) submission window and to clarify how a Qualified Scheduling Entity (QSE) may self-commit in such a scenario.

Procedural History:  NPRR402 was posted on 8/8/11.  On 9/22/11, PRS unanimously voted to table NPRR402.  On 12/15/11, PRS unanimously voted to recommend approval of NPRR402 as amended by the 12/6/11 ERCOT comments.  Credit review is pending.

  - NPRR419, Revise Real-Time Energy Imbalance and RMR Adjustment Charge [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $25k - $30k; ongoing O&M expense of $867/year; no impacts to ERCOT staffing; impacts to Settlements & Billing (S&B); no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR revises the Real-Time Energy Imbalance equations to determine intermediate data elements for the Resource’s share of the generation site total revenues; revises the Resource Node, Load Zone, and Hub Real-Time Energy Imbalance equations to determine volumetric imbalance for each QSE and Settlement Point; and revises the Reliability Must-Run (RMR) Adjustment Charge to charge the QSE for the revenues paid in accordance with the energy imbalance calculation.

Procedural History:  NPRR419 was posted on 10/5/11.  On 10/20/11, PRS unanimously voted to table NPRR419.  On 12/15/11, PRS unanimously voted to recommend approval of NPRR419 as submitted.  Credit review is pending.

  - NPRR424, Reactive Capability Testing Requirements for IRRs [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR defines the reactive capability testing requirement for IRRs.

Procedural History:  NPRR424 was posted on 11/2/11.  On 11/17/11, PRS unanimously voted to table NPRR424.  On 12/15/11, PRS voted to recommend approval of NPRR424 as amended by the 12/8/11 ERCOT comments.  There was one abstention from the Consumer Market Segment.  Credit review is pending.

  - NPRR430, Corrections Related to NPRR357, Revisions to Collateral Requirements Concerning CRR Auctions, and Clarification to Collateral Requirements [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impacts (captured in impacts for NPRR357); no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the collateral requirements for CRR Account Holders and Counter-Parties who participate in the CRR market.

Procedural History:  NPRR430 was posted on 11/28/11.  On 12/15/11, PRS unanimously voted to recommend approval of NPRR430 as revised by PRS and to request that ERCOT Staff develop a revised white paper for submission as a proposed Other Binding Document.  Credit review is pending.

  - NPRR431, Board Priority Revision Requests [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR proposes a unique status for Revision Requests to designate ERCOT Board priority action items – Board Priority Revision Request.  A Board Priority Revision Request would be the result of a vote from the ERCOT Board to direct ERCOT Staff to develop a Revision Request that would address a specific issue raised at the ERCOT Board, to officially designate that NPRR as a Board Priority NPRR that will be processed similar to an NPRR with Urgent status, and to request that a resolution of the issue be worked through the Market Participant process by a specific time.  This NPRR also requires ERCOT’s opinion on a Revision Request in the TAC recommendation to the ERCOT Board.

Procedural History:  NPRR431 was posted on 11/30/11.  On 12/15/11, PRS unanimously voted to recommend approval of NPRR431 as amended by the 12/9/11 ERCOT comments.  Credit review is pending.

  - SCR769, CRRAH Digital Certificate New Role for Read Only Access [Austin Energy].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This System Change Request (SCR) will provide the capability to a read only role in addition to the read and write role for CRR Account Holders.  Currently Digital Certificates for CRR Account Holders provides read and write capabilities to the certificate holder.

Procedural History:  SCR769 was posted on 11/29/11.  On 12/15/11, PRS unanimously voted to recommend approval of SCR769 as submitted.  Credit review is not applicable.

Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description: This NPRR adds language to acknowledge the existence of Generation Resources that have no or minimal injection onto the ERCOT System that qualify either as distributed generation or are registered with the PUCT according to P.U.C. Subst. R. 25.109, Registration of Power Generation Companies and Self-Generators, as a self-generator but yet are required to participate with ERCOT for reliability purposes.

Procedural History:  NPRR190 was posted on 7/24/09.  On 8/25/09, PRS unanimously voted to table NPRR190 for one month.  On 9/17/09, PRS unanimously voted to table NPRR190 for one month.  On 10/22/09, PRS unanimously voted to table NPRR190 for one month.  On 11/19/09, PRS unanimously voted to table NPRR190.  On 12/17/09, PRS unanimously voted to table NPRR190 indefinitely.  On 9/23/10, PRS unanimously voted to table NPRR190 for one month.  On 10/21/10, PRS unanimously voted to table NPRR190 for one month.  On 11/18/10, PRS unanimously voted to table NPRR190.  Credit review is pending.

  - NPRR366, Generation Resource Power Factor Criteria Clarification [LCRA].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR adjusts the power factor criteria for Generation Resources to align with actual Generation Resource capabilities.

Procedural History:  NPRR366 was posted on 5/4/11.  On 5/19/11, PRS unanimously voted to table NPRR366.  Credit review is pending

  - NPRR394, Outage Reporting [Edison Mission].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR clarifies that material derates for Resources are greater than 10MW.

Procedural History:  NPRR394 was posted on 7/14/11.  On 8/18/11, PRS unanimously voted to table NPRR394.  On 11/17/11, PRS unanimously voted to table NPRR394.  On 12/15/11, PRS unanimously voted to table NPRR394 for one month.  Credit review is pending.

  - NPRR410, Definition of an Energy Storage Resource [Xtreme Power].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR creates a definition for an Energy Storage Resource and creates an Energy Storage Load Zone for each Energy Storage Resource capable of storing and generating one MW or greater.

Procedural History:  NPRR410 was posted on 9/7/11.  On 9/22/11, PRS unanimously voted to table NPRR410.  Credit review is pending.

  - NPRR412, Quick Start Generation Resource Compliance Metric Adjustments [STEC].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR clarifies the requirements regarding the performance criteria of a Quick Start Generation Resource (QSGR).

Procedural History:  NPRR412 was posted on 9/12/11.  On 10/20/11, PRS unanimously voted to table NPRR412.  Credit review is pending.

  - NPRR416, Removal of the RUC Clawback Charge for Resources Other than RMR Units [Exelon, Calpine].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR removes the 50% and 100% RUC Clawback Charge for units with Three-Part Supply Offers in the DAM.  However, it leaves intact the language intended to hold RMR Units at costs for energy revenues.

Procedural History:  NPRR416 was posted on 9/21/11.  On 10/20/11, PRS unanimously voted to table NPRR416 for one month and to request that ERCOT submit comments regarding its concerns over behavioral issues with respect to the 50% RUC Clawback Charge and the implications of removing the charge on RUC execution.  On 11/17/11, PRS unanimously voted to table NPRR416.  Credit review is pending.

  - NPRR425, Creation of a Wind Resource Group for GREDP and Base Point Deviation Evaluation [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $350k - $380k; no impacts to ERCOT staffing; impacts to Registration Systems, NMMS, S&B, MMS, EMS, Enterprise Integration (EIS), CDR, and ISM; updates to ERCOT business functions required; provides improved visibility to evaluate Reactive Capability and quantify Dynamic Response of WGRs.

Revision Description:  This NPRR provides that WGRs meeting registration requirements will be evaluated for Generation Resource Energy Deployment Performance (GREDP) and Base Point Deviation as groups of WGRs rather than individual WGRs.

Procedural History:  NPRR425 was posted on 11/2/11.  On 11/17/11, PRS unanimously voted to table NPRR425. Credit review is pending.

  - NPRR429, HASL Offset Provision [Morgan Stanley].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR creates a High Ancillary Service Limit (HASL) Offset option that allows QSEs to move their HASL to a lower MW value if desired.  The HASL Offset is added to other Ancillary Services being provided by the Resource to develop the HASL change.

Procedural History:  NPRR429 was posted on 11/22/11.  On 12/15/11, PRS voted to table NPRR429 for one month.  There was one abstention from the IPM Market Segment.  Credit review is pending.

  - SCR767, Non-Spin Deployment Criteria [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $25k - $30k; no impacts to ERCOT staffing; impacts to MMS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This SCR adds the ability to deploy all On-Line Non-Spinning Reserve (Non-Spin).

Procedural History:  SCR767 was posted on 11/2/11.  On 11/17/11, PRS unanimously voted to table SCR767.  Credit review is not applicable.

  - SCR768, Automatic Non-Spin Redeployment and Deployment Based on Resource Availability [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  $30k - $35k; no impacts to ERCOT staffing; impacts to MMS; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This SCR modifies the MMS Automatic Redeployment function such that it accounts for the delay involved in deployment of Off-Line Non-Spin Resources.

Procedural History:  SCR768 was posted on 11/2/11.  On 11/17/11, PRS unanimously voted to table SCR768.  Credit review is not applicable.

New Revision Requests Scheduled for Consideration at the January 19, 2012 PRS Meeting

  - NPRR433, Clarification of Ancillary Service Obligation Calculation Process [ERCOT].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  No budgetary impact; no impacts to ERCOT staffing; no impact to ERCOT computer systems; no impacts to ERCOT business functions; no impacts to ERCOT grid operations and practices.

Revision Description:  This NPRR clarifies the ERCOT process regarding the calculation of Ancillary Service Obligations.

Procedural History:  NPRR433 was posted on 12/9/11.  Credit review is pending.

  - NPRR434, Increase the Capacity Limitation of a Generation Resource Providing RRS [RDTF].

Proposed Effective Date:  Pending.

ERCOT Impact Analysis:  Pending.

Revision Description:  This NPRR increases the amount of Responsive Reserve (RRS) that can be supplied by a Generation Resource to 28%..

Procedural History:  NPRR434 was posted on 12/27/11.  Credit review is pending.