| COPMGRR Number | 029 | COPMGRR Title | Clarifying Reporting Requirements for Unregistered Distributed Generation |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | December 15, 2011 |  |  |
| Proposed Effective Date |  | March 1, 2012 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Commercial Operations Market Guide (COPMG) Sections Requiring Revision |  | 10.3.1 Reporting Requirements for Non Opt-In Entities 10.3.3 Reporting Requirements for ERCOT |  |  |
| Revision Description |  | This Commercial Operations Market Guide Revision Request (COPMGRR) clarifies the requirements for Non-Opt-In Entities (NOIEs) and ERCOT for reporting unregistered Distributed Generation (DG). |  |  |
| Reason for Revision |  | The reason for this revision is to provide market clarity on registration requirements for DG greater than 50 kW and less than or equal to one MW. |  |  |
| Procedural History |  | - On 10/26/11, COPMGRR029 was posted. - On 11/17/11, the COPS Communication Working Group (CCWG) considered COPMGRR029. - On 12/5/11, an Impact Analysis was posted. - On 12/15/11, CCWG considered the 11/17/11 CCWG Report and Impact Analysis for COPMGRR029. |  |  |
| CCWG Decision |  | On 11/17/11, the CCWG was in consensus to recommend approval of COPMGRR029 as revised by CCWG. On 12/15/11, CCWG was in consensus to endorse and forward the 11/17/11 CCWG Report and the Impact Analysis for COPMGRR029 to COPS. |  |  |
| Summary of CCWG Discussion |  | On 11/17/11, language was added to include the location on the ERCOT website where Market Participants can find the DG reporting form. On 12/15/11, there was no discussion. |  |  |

Business Case

| Business Case | 1 | - Market Participants will benefit from being better informed. |
| --- | --- | --- |
|  | 2 | - Improve information to Market Participants pertaining to reporting unregistered DG. |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Jim Lee on behalf of CCWG |
| E-mail Address | jim.lee@directenergy.com |
| Company | Direct Energy |
| Phone Number | 512-320-7911 |
| Cell Number | 512-810-2073 |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512-248-6463 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Description |
| None. |  |

Proposed Guide Language Revision

10.3	Unregistered Distributed Generation Reports

10.3.1	Reporting Requirements for Non Opt-In Entities

(1)	This Section describes the data that shall be submitted to ERCOT for the unregistered Distributed Generation (DG) behind Non-Opt-In Entity (NOIE) boundary metering points as required by paragraph (2)(e) of Protocol Section 10.2.2, TSP and DSP Metered Entities.

(2)	Within ten Business Days after the end of each quarter, the NOIE shall submit to ERCOT electronically, the required data described below as of the last day of the prior quarter.  The data shall be submitted using the generic form developed by ERCOT and e-mailed to 1 ERCOT EAA Data Aggregation@ercot.com. The Non-Opt-In-Entity Distributed Generation Reporting Form is located on the ERCOT website under Services/Registration and Qualification/Resource Entities.

(a)	Total unregistered DG above 50 kW and equal to or below the DG registration threshold by the following groupings:

(i)	Technology Type

(A)	Renewable

(B)	Non-renewable

(ii)	Primary Fuel Type

(A)	Solar

(B)	Wind

(C)	Other

(iii)	Name Plate Rating (MW)

(iv)	Load Zone

(b)	Annual kWh exported to the grid during the prior 12 months for each grouping.

10.3.3	Reporting Requirements for ERCOT

(1)	Within 30 days after the end of each quarter, ERCOT shall publish the Unregistered Distributed Generation Report on the Market Information System (MIS) Public area.  This report shall include the aggregated data compiled for NOIE and competitive areas.  This report at a minimum shall include the total unregistered DG above 50 kW and equal to or below the current DG registration threshold by the following groupings:

(a)	Technology Type

(i)	Renewable

(ii)	Non-renewable

(b)	Primary Fuel Type

(i)	Solar

(ii)	Wind

(iii)	Other

(c)	Name Plate Rating MW

(d)	Load Zone

(2)	The report shall also include:

(a)	Annual kWh exported to the grid during the prior 12 months for each grouping; and

(b)	New proposed DG threshold for registration as defined in Protocol Section 16.5, Registration of a Resource Entity.

(3)	ERCOT shall update the Commercial Operations Subcommittee (COPS) on an as needed basis on the Unregistered Distributed Generation Report.