| PGRR Number | 010 | PGRR Title | New Planning Guide Section 6.7, Data Dictionary |
| --- | --- | --- | --- |

| Date | August 26, 2011 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Jay Teixeira |
| E-mail Address | jteixeira@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6582 |
| Cell Number |  |
| Market Segment | Not applicable. |

Comments

After further review, ERCOT recommends rejection of PGRR010, New Planning Guide Section 6.7, Data Dictionary, for the following reasons:

- The proposed language would require ERCOT to issue a market notice when changes are made to the Data Dictionary format; however, Section 2.2.4, ERCOT Data Dictionary, of the current ERCOT State Working Group Procedure Manual, requires only an annual update after completion of Data Set B.  The schedule for this update is posted on the Market Information System (MIS) in the Annual Planning Model Data Submittal Schedule.  The updated ERCOT Data Dictionary is then posted on the Planning and Operations Information (POI) website (http://planning.ercot.com/data/steadystate/opsnetmodel/).

- Also, PGRR010 requires an update to Ratings of Transmission elements; however, the existing ERCOT Steady State Working Group Procedure Manual (see the table below) does not contain a field for Ratings as the ERCOT Data Dictionary does not contain Transmission Elements, only Electrical Buses.  Additionally, most of the information, except for future Electrical Buses that will appear in planning cases that is used for the Federal Energy Regulatory Commission (FERC) 715 report, is no longer updated as the Network Model Management System is container for the Planning Bus Number to Network Model Station name mapping.

Revised Proposed Guide Language

None.