# NDSWG REPORT TO ROS

# December 8, 2011

NDSWG met at ERCOT TCC2 on November 15, 2011. Prior meeting was September 28, 2011.

NDSWG did not have any directives from ROS or TAC.

ERCOT requested the following Action Item for the NDSWG members: Check between planning and operations for relay setting time limit (30 seconds, 1 minute, etc..) that should be used for the general rule in Section IX, Contingencies, Subsection C, Item 1 of the modelling expectations. Bring answer to next meeting.

When a Downstream Production Change (DPC) is submitted, ERCOT requested courtesy phone call or email to the Network Model Coordinators. DPC for Dynamic Ratings can be submitted at anytime, and don’t have to follow model load dates.

CNP is requesting an exemption to not submit Series Compensators in Outage Scheduling. This is causing extra effort in the Approval to Energize process since it is in list of equipment sent from ERCOT Operations (Joel). ERCOT will consider this request and discuss at a future meeting.

ERCOT explained the load expectations in NMMS. ERCOT has a load adapting software that modifies what is in NMMS for the other systems like Outage Scheduling.

ERCOT took an action item for the January meeting: Add some clarifying data to Modelling Guidelines especially the details of conforming/non-conforming load.

NDSWG chair and vice-chairman for 2012 (Pending for ROS vote at their meeting in January, 2012):

- Doug  Evans (STEC) – Chair

- Ken Chui (Austin Energy) – Vice-Chair

Next NDSWG meeting: January 17, 2012 (December 20, 2011 meeting – cancelled)