## Slide 1: Protocol Revision Subcommittee
Rob Bevill
January 5, 2012

## Slide 2
Summary of Revision Requests
4 NPRRs Recommended for Approval
1 NPRR Withdrawn

## Slide 3: Items for a Vote
Non-Unanimous Recommendations with No Impacts
  NPRR423, Add Voltage Support Requirement for IRRs and Allow SCADA Control of Static VAr Devices if Approved by ERCOT (formerly “Add Voltage Support Requirement for IRRs and Allow Manual Control of Static VAr Devices if Approved by ERCOT”)
Non-Unanimous Recommendations with Impacts
  NPRR327, State Estimator Data Redaction Methodology
  NPRR407, Credit Monitoring Posting Requirements
  NPRR422, Public DAM Shift Factors
Withdrawals (no vote needed)
  NPRR378, Posting of the ERCOT Short-Term Load Forecast and the Aggregated HDL and LDL Used in SCED
Notes: 3

## Slide 4
NPRRs Recommended for Approval

## Slide 5: NPRR327, State Estimator Data Redaction Methodology
Purpose (ERCOT) | Defines a redaction methodology for the posting of State Estimator data.
PRS Vote | On 7/21/11, PRS unanimously voted to recommend approval of NPRR327 as amended by the 7/21/11 Morgan Stanley comments and as revised by PRS. On 11/17/11, PRS voted to endorse the 9/22/11 PRS Report as amended by the 11/16/11 Edison Mission Market & Trading comments and to bring the Impact Analysis to the 11/29/11 Special PRS Meeting for consideration. There were two abstentions from the Independent Retail Electric Provider (IREP) and Generator Market Segments. On 11/29/11, PRS voted to endorse the 11/17/11 PRS report as amended by the 11/23/11 Luminant Energy Company LLC comment and revised Impact Analysis for NPRR327, and to recommend a priority of 2012 and rank of 480. There was one abstention from the IREP Market Segment. On 12/15/11, PRS voted via roll call vote to endorse and forward the 11/29/11 PRS Report as amended by the 12/14/11 Luminant Energy Company LLC comments and Impact Analysis for NPRR327 to TAC. There were three opposing votes from the Independent Generator, Consumer and IREP Market Segments and one abstention from the Independent Power Marketer (IPM) Market Segment.
Effective Date/Priority | Upon System Implementation – Priority 2012; Rank 480
ERCOT Impact | $155k - $175k (system implementation), $125k - $135k (annual recurring O&M); staffing impacts of one FTE for Operations Support department; system impacts to EMS, CDR, MIS, ISM, and NMMS; ERCOT business functions will need to be updated.
Business Case Highlights | Assume cost impact to the market of $10,000,000 per event, one event per year, and 50% of the cost impact per event is mitigated = $5,000,000 annual savings to the market; Provides needed transparency into the Network Operations Model to allow Market Participants to effectively evaluate unusual outcomes or “phantom congestion” costs caused by incorrect modeling of the transmission system elements or topology; Reduces possibility of improper Dispatch or pricing at the generation node caused by modeling errors; Reduces “phantom congestion” costs caused by modeling errors which ultimately reduces market prices.
Notes: 5

## Slide 6: NPRR407, Credit Monitoring Posting Requirements
Purpose (Tenaska) | Requires posting of current and previously effective credit parameters to the MIS Certified Area.
PRS Vote | On 10/20/11, PRS unanimously voted to recommend approval of NPRR407 as amended by the 10/4/11 Tenaska comments and as revised by PRS. On 12/15/11, PRS voted to endorse and forward the 10/20/11 PRS Report and Impact Analysis for NPRR407 to TAC and to recommend a priority of 2012 and rank of 590. There was one abstention from the Consumer Market Segment.
Effective Date/Priority | Upon System Implementation – Priority 2012; Rank 590
ERCOT Impact | $120k - $130k; system impacts to MMS, CRR, CDR, MIS, and ISM
Business Case Highlights | Posting of Market Participants’ credit parameters are important for Real-Time verification of the data used by ERCOT to determine ACLs prior to each Nodal Market execution to avoid incorrect rejection of bids or offers in the market; promotes wider participation in the market by using accurate credit information; could potentially lower consumer prices by avoiding exclusion of participants due to inaccurate credit information.
Notes: 6

## Slide 7: NPRR422, Public DAM Shift Factors
Purpose (MISUG) | Creates a new report to provide Day-Ahead Shift Factors on the MIS Public Area
PRS Vote | On 11/17/11, PRS unanimously voted to recommend approval of NPRR422 as amended by the 11/16/11 MIS User Group comments. On 12/15/11, PRS voted to endorse and forward the 11/17/11 PRS Report and Impact Analysis for NPRR422 to TAC and to recommend a priority of 2012 and rank of 600. There was one abstention from the Consumer Market Segment.
Effective Date/Priority | Upon System Implementation – Priority 2012; Rank 600
ERCOT Impact | $20k - $25k; no impacts to ERCOT staffing; system impacts to MMS and CDR
Business Case Highlights | Provides ability to validate Day-Ahead prices based on the binding constraints; greater transparency of pricing information to the public; additional means of identifying potential errors within the DAM power flow solution; more enhanced DAM to RTM convergence and Day-Ahead unit commitment; detect network model errors; decreases Market Participant effort on the calculation of this information; increases the accuracy of price information; decreases the number of errors involved with unit commitment and Dispatch; better convergence between Day-Ahead and Real-Time prices; improved risk management and better risk controls.
Notes: 7

## Slide 8: NPRR423, Add Voltage Support Requirement for IRRs and Allow SCADA Control of Static VAr Devices if Approved by ERCOT (formerly “Add Voltage Support Requirement for IRRs and Allow Manual Control of Static VAr Devices if Approved by ERCOT”)
Purpose (ERCOT) | Includes Intermittent Renewable Resources (IRRs) in the voltage requirement and clarifies the reactive requirement to be the same as Wind-powered Generation Resources (WGRs); and also proposes that switchable static Volt-Ampere reactive (VAr) devices can be Supervisory Control and Data Acquisition (SCADA) controlled if approved by ERCOT.
PRS Vote | On 11/17/11, PRS unanimously voted to recommend approval of NPRR423 as amended by the 11/14/11 Oncor Electric Delivery comments and as revised by PRS. On 12/15/11, PRS voted to endorse and forward the 11/17/11 PRS Report and Impact Analysis for NPRR423 to TAC. There was one abstention from the Consumer Market Segment.
Effective Date/Priority | March 1, 2012
ERCOT Impact | No impacts.
Business Case Highlights | To clarify the solar power Resource voltage support requirement; provide a solution to allow manual control of static VAr devices and avoid undesired ERCOT System impact on voltage with automatic control of static VAr devices; generation Resources will have a clear understanding of the voltage support requirement of IRRs (wind and solar); TSP can recommend the control mode of the static VAr devices to avoid undesired ERCOT System impact, such as voltage swing due to the frequent switching of the automatic controlled static VAr devices.
Notes: 8

## Slide 9: PRS Special Meeting – January 9, 2012
PRS will be holding a Special meeting on January 9, 2012 to discuss the following NPRRs:
  NPRR421, Clarification of RMR Notifications
  NPRR432, Deployment of Resources to Alleviate Imminent Emergency Conditions - Urgent.
Notes: 9