| NPRR Number | 408 | NPRR Title | Clarification of ERCOT Authority to Deny Synchronization of Non-Compliant Generators (formerly “Clarification of ERCOT Authority to Deny Energization of Non-Compliant Generators”) |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | January 5, 2012 |  |  |
| Proposed Effective Date |  | March 1, 2012 |  |  |
| Priority and Rank Assigned |  | Not applicable |  |  |
| Nodal Protocol Sections Requiring Revision |  | 1.6.5, Interconnection of New Generation 16.5, Registration as a Resource Entity |  |  |
| Planning Guide Section Requiring Revision |  | 5, Generation Resource Interconnection or Change Request (new) |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies ERCOT’s authority to deny energization of a new or materially changed All-Inclusive Generation Resource if ERCOT determines the Resource Entity cannot demonstrate that the Resource would be able to comply with technical standards in the Protocols, the Planning Guide, the Nodal Operating Guides, and Other Binding Documents. |  |  |
| Reason for Revision |  | New or modified All-Inclusive Generation Resources interconnecting with the ERCOT System have sometimes failed to comply with technical standards in the Protocols and Other Binding Documents. These failures may create problems that either cannot be remedied after Resource energization or cannot be remedied without creating significant reliability issues or imposing substantial costs on Market Participants and/or consumers. |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR408 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 9/6/11, NPRR408 and an Impact Analysis were posted. - On 9/8/11, Planning Working Group (PLWG) comments were posted. - On 9/15/11, ERCOT comments were posted. - On 9/16/11, ROS comments were posted. - On 9/22/11, PRS considered NPRR408. - On 9/29/11, EDPR comments were posted. - On 10/4/11, a second set of PLWG comments were posted. - On 10/5/11, E.ON Climate and Renewables North America, LLC comments were posted. - On 10/17/11, WMS comments were posted. - On 10/17/11, a second set of ROS comments were posted. - On 10/19/11, Topaz comments were posted. - On 10/20/11, PRS again considered NPRR408. - On 11/17/11, PRS considered the 10/20/11 PRS Report and Impact Analysis for NPRR408. - On 11/23/11, a revised Impact Analysis was posted. - On 12/1/11, TAC considered NPRR408. - On 1/5/12, TAC again considered NPRR408. |  |  |
| PRS Decision |  | On 9/22/11, PRS unanimously voted to table NPRR408. All Market Segments were present for the vote. On 10/20/11, PRS voted to recommend approval of NPRR408 as amended by the 10/19/11 Topaz comments. There was one abstention from the Independent Generator Market Segment. All Market Segments were present for the vote. On 11/17/11, PRS unanimously voted to endorse and forward the 10/20/11 PRS Report as revised by PRS and Impact Analysis for NPRR408 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 9/22/11, PRS requested that WMS and ROS review NPRR408. On 10/20/11, ERCOT Staff explained that the intention of submitting NPRR408 was to substitute it for NPRR381, Registration Requirements for Interconnecting Entities. ERCOT agreed to withdraw NPRR381 after PRS recommendation for approval of NPRR408. On 11/17/11, it was noted that a revised Impact Analysis will be distributed to TAC to denote business process impacts as a result of NPRR408. |  |  |
| TAC Decision |  | On 12/1/11, TAC voted to table NPRR408 for one month. There were two abstentions from the Municipal and Independent Retail Electric Provider (IREP) Market Segments. All Market Segments were present for the vote. On 1/5/12, TAC unanimously voted to recommend approval of NPRR408 as recommended by PRS in the 11/17/11 PRS Report. All Market Segments were present for the vote |  |  |
| Summary of TAC Discussion |  | 12/1/11, TAC decided to table NPRR408 for one month to allow time to further review the 11/30/11 ERCOT comments for Planning Guide Revision Request (PGRR) 008, New Planning Guide Section 5 – Generation Resource Interconnection or Change Request (formerly “New Planning Guide Section 4 – Generation Resource Interconnection”). On 1/5/12, it was noted that the language proposed in NPRR408 is achievable and adds certainty in the full interconnection process. |  |  |
| ERCOT Opinion |  | ERCOT supports the approval of NPRR408. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | This NPRR will improve reliability of the ERCOT Region by clarifying ERCOT’s authority to deny energization of any All-Inclusive Generation Resource when the Resource owner cannot demonstrate that the Resource will comply with technical standards in the Protocols, the Planning Guide, the Nodal Operating Guides, and Other Binding Documents. Recognizing this authority will encourage the construction of Facilities that comply with those standards. Explicitly recognizing this authority eliminates any uncertainty over ERCOT’s authority to preclude energization of non-compliant All-Inclusive Generation Resources. |
|  | 2 | This NPRR should only have the effect of ensuring compliance with the Protocols. |

| Sponsor |  |
| --- | --- |
| Name | Nathan Bigbee/John Adams |
| E-mail Address | nbigbee@ercot.com / jadams@ercot.com |
| Company | ERCOT |
| Phone Number | 512-225-7093 / 512-248-3130 |
| Cell Number |  |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512-248-6463 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| PLWG 090811 | Consensus to endorse NPRR408 as submitted. |
| ERCOT 091511 | Proposed revisions to paragraph (2) of Section 16.5 to allow ERCOT to deny synchronization, rather than energization, of a new or materially changed All-Inclusive Generation Resource. |
| ROS 091611 | Recommended that PRS table NPRR408 to allow time for PLWG review. |
| EDPR 092911 | Suggested an approach by which ERCOT and Transmission Service Providers (TSPs) would coordinate data updates through the full interconnection process and work under the terms of the Full Interconnection Study. |
| PLWG 100411 | Endorsed NPRR408 as amended by the 9/29/11 EDPR comments and as revised by PLWG and clarified that prior to initial synchronization of an All-Inclusive Generation Resource, ERCOT will promptly notify Resource Entities of any violations. |
| E. ON Climate and Renewables North America, LLC 100511 | Provided a timeline for review and comment on a Standard Generation Interconnection Agreement (SGIA). |
| WMS 101711 | Recommended that PRS reject NPRR381 and table NPRR408. |
| ROS 101711 | Endorsed NPRR408 as amended by the 10/4/11 PLWG comments and as revised by ROS. |
| Topaz 101911 | Advocated including ERCOT as a party to the SGIA and suggested revisions to clarify a Resource Entity’s response to a possible violation. |

Comments

Please note that the following NPRR also proposes revisions to the following section:

- NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes

  - Section 16.5

Revised Proposed Protocol Language

1.6.5	Interconnection of New or Existing Generation

Interconnection of new All-Inclusive Generation Resources to the ERCOT Transmission Grid must be in accordance with the Protocols, the Planning Guide, the Nodal Operating Guides and Other Binding Documents.  For existing All-Inclusive Generation Resources which connect to a new Point of Interconnection (POI) or which utilize more than one POI to the ERCOT Transmission Grid, any Protocol or Other Binding Document requirements applicable to Generation Resources which are based upon the execution date of the Standard Generation Interconnection Agreement (SGIA) shall be applied to the date of the first executed SGIA with the following exceptions:

(a)	For a new POI, existing Generation Resources shall comply with the requirements in Section 3.15, Voltage Support, and Nodal Operating Guide Section 2.9, Voltage Ride-Through Requirements for Generation Resources, based upon the execution date of the most recent SGIA.

(b)	For more than one POI, existing Generation Resources shall comply with the requirements in Section 3.15 and Nodal Operating Guide Section 2.9 based upon the execution date of the SGIA relative to the POI where the Generation Resource is electrically connected.

16.5	Registration of a Resource Entity

(1)	A Resource Entity owns or controls an All-Inclusive Resource connected to the ERCOT System.  Each Resource Entity operating in the ERCOT Region must register with ERCOT.  To become registered as a Resource Entity, an Entity must execute a Standard Form Market Participant Agreement (using the form in Section 22, Attachment A, Standard Form Market Participant Agreement), designate Resource Entity Authorized Representatives, contacts, and a User Security Administrator (USA) (per the Application for Registration as a Resource Entity), and demonstrate to ERCOT’s reasonable satisfaction that it is capable of performing the functions of a Resource Entity under these Protocols.  The Resource Entity shall register each All-Inclusive Resource with ERCOT through ERCOT registration, except for Distributed Generation (DG) with an installed capacity equal to or lower than the DG registration threshold.

(2)	Prior to commissioning, Resources Entities will regularly update the data necessary for modeling.  These updates will reflect the best available information at the time submitted.

(3)	Following ERCOT’s receipt of a new or amended Standard Generation Interconnection Agreement (SGIA) or a letter from a duly authorized official from the Municipally Owned Utility (MOU) or Electric Cooperative (EC), ERCOT shall review the description of the proposed All-Inclusive Generation Resource in Exhibit “C” (or similar exhibit) to the SGIA and the data submitted through the Resource registration process to assess whether the Resource, as proposed, would violate any operational standards established in the Protocols, Planning Guide, Operating Guides, and Other Binding Documents.  ERCOT must provide its determination to the Transmission Service Provider (TSP) and the owner of the proposed Resource within 60 days of the date ERCOT receives the new or amended SGIA or letter from a duly authorized official from the MOU or EC.  Notwithstanding the foregoing, this determination shall not preclude ERCOT from subsequently determining that the Resource violates any operational standards established in the Protocols, Planning Guide, Operating Guides, and Other Binding Documents or from taking any appropriate action based on that determination.

(4)	If, at any time before allowing initial synchronization of an All-Inclusive Generation Resource with the ERCOT System following the execution of a new or amended SGIA or ERCOT’s receipt of a letter from a duly authorized official from the MOU or EC, ERCOT reasonably determines that the Resource may violate operational standards established in the Protocols, Planning Guide, Operating Guides, and Other Binding Documents, ERCOT may require the affected Resource Entity to demonstrate to ERCOT’s reasonable satisfaction that the Resource can comply with these standards before the Resource will be permitted to synchronize.  ERCOT must promptly identify the particular provision that it determines may be violated and the factual basis for this determination.  ERCOT may refuse to allow initial synchronization if the Resource Entity cannot demonstrate that the Resource can comply with these standards.  Upon review of the Resource Entity’s response to that determination, ERCOT must promptly notify the Resource Entity whether the possible violation of operational standards established in the Protocols, Planning Guide, Nodal Operating Guides, and Other Binding Documents has been remedied.

(5)	DG with an installed capacity greater than one MW, the DG registration threshold, must register with ERCOT.  ERCOT shall reduce the DG registration threshold as required by these Protocols and post this requirement on the Market Information System (MIS) Public Area.  ERCOT shall produce quarterly reports on the total unregistered installed capacity of DG greater than 50 kW below the current threshold, summed by Load Zone.  Such quarterly report shall contain the current DG registration threshold.  If the total installed capacity of unregistered DG greater that 50 kW exceeds ten MW in any Load Zone, then ERCOT shall issue a Market Notice that states a lower DG registration threshold.  Such registration threshold shall be calculated by ERCOT to reduce the total installed capacity of unregistered DG greater than 50 kW to no more than seven MW in any Load Zone.  This new DG registration threshold shall become effective nine months after ERCOT has issued the Market Notice and posted the new requirement on the MIS Public Area.  Notwithstanding the above, at no time shall ERCOT reduce the DG registration threshold below 50 kW.

(6)	Following this Market Notice, ERCOT shall inform the appropriate Technical Advisory Committee (TAC) subcommittee of the change in DG registration requirements at its next meeting.  The subcommittee shall analyze the quarterly report, and may take any action it deems appropriate, including submitting a Nodal Protocol Revision Request (NPRR) to alter this Section.