## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Updates | List of files and items updated in each file
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
LoadZones | Monthly peak demand and energy data for this year by load zone
WeatherZones | Monthly peak demand and energy data for this year by weather zone
EnergybyFuelType | Actual energy and percentages by fuel type
EnergybyFuelChart | Stacked chart of MWh by fuel type by month
EnergyComparisons | Bar graphs comparing this year's energy with last year's and with forecasted
DemandComparison | Graphs comparing this year's monthly peaks with last year's and with forecasted

## Disclaimer
Disclaimer
DEMAND AND ENERGY REPORT
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided through the settlement process. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS.

## Updates
File Updated | 2012-01-09
Added System Minimum Demands from beginning of year | 2010-12-09
Changed from CM Zones (4) to Load Zones (13) | 2011-02-08
Changed to new Official Forecast | 2011-06-08
Corrected Energy Comparison Graph (2009 data replaced w/ 2010) | 2011-07-08

## Demand
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND FOR 2011
[5 empty] | Updated | 2012-01-09
NET SYSTEM MAXIMUM HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2011 Demand, MW | 50774.6259 | 57315.2805 | 40228 | 50712.7727 | 57355.7955 | 63101.8862 | 65431.8377 | 68379.0754 | 63160.6176 | 49709.804 | 41398.9002 | 50100.0991 | 68379.0754
Date | 12 | 10 | 25 | 19 | 31 | 17 | 27 | 3 | 2 | 7 | 28 | 7
Interval Ending | 8:00 | 08:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 08:00 | 08:00
Day of Week | Wednesday | Thursday | Friday | Tuesday | Tuesday | Friday | Wednesday | Wednesday | Friday | Friday | Monday | Wednesday
Forecasted Demand, MW | 49957 | 48081 | 44185 | 47925 | 57748 | 60185 | 63504 | 63898 | 58648 | 52586 | 43568 | 51770 | 63898
Difference, percent | 1.637% | 19.21% | -8.956% | 5.817% | -0.6792% | 4.847% | 3.036% | 7.013% | 7.694% | -5.47% | -4.979% | -3.226% | 7.013%
2010 Demand, MW | 55877.8342 | 47194.7947 | 41440.0878 | 40169.1025 | 54725.4972 | 60789.1431 | 60674.1727 | 65776.3264 | 58200.7414 | 45456.3922 | 40220 | 44715.7344 | 65776.3264
Date | 8 | 24 | 2 | 23 | 28 | 21 | 15 | 23 | 14 | 25 | 1 | 13
Hour Ending | 0800 | 0800 | 0800 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 1700 | 0800
Day of Week | Friday | Wednesday | Tuesday | Friday | Friday | Monday | Thursday | Monday | Tuesday | Monday | Monday | Monday
Increase, MW | -5103.2083 | 10120.4858 | -1212.0878 | 10543.6702 | 2630.2983 | 2312.7431 | 4757.6649 | 2602.7491 | 4959.8762 | 4253.4118 | 1178.9001 | 5384.3647
Increase, percent | -9.133% | 21.44% | -2.925% | 26.25% | 4.806% | 3.805% | 7.841% | 3.957% | 8.522% | 9.357% | 2.931% | 12.04%
Max All Time | 55877.8342 | 50408 | 43033 | 51800 | 56344 | 62278 | 63400 | 65776 | 59524 | 54102 | 45143 | 48064
Date | 1/8/2010 at 0800 | 2/16/2007 at 0800 | 3/4/2002 at 0800 | 4/18/2006 at 1700 | 5/23/2008 at 1700 | 6/25/2009 at 1600 | 7/13/2009 at 1700 | 8/23/2010 at 1700 | 9/28/2005 at 1700 | 10/1/2007 at 1700 | 11/30/2006 2000 | 12/8/2005 at 2000
NET SYSTEM MAXIMUM DEMAND BASED ON 15-MINUTE INTERVALS
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2011 Demand, MW | 51463.0669 | 57984.3901 | 40373 | 50786.1422 | 57520.4288 | 63220.4889 | 65500.5658 | 68416.4383 | 63214.44 | 49757.3619 | 41991.3286 | 50969.1019 | 68416.4383
Date | 12 | 10 | 23 | 19 | 31 | 15 | 27 | 3 | 2 | 7 | 28 | 7
Interval Ending | 7:15 | 7:15 | 17:00 | 16:30 | 17:00 | 17:00 | 16:30 | 17:00 | 16:30 | 16:30 | 07:15 | 07:00
Day of Week | Wednesday | Thursday | Wednesday | Tuesday | Tuesday | Wednesday | Wednesday | Wednesday | Friday | Friday | Monday | Wednesday
Max All Time | 56191 | 51251 | 43983 | 52024 | 56379 | 62393 | 63518 | 66028 | 59594 | 54204 | 45297 | 48141
Date | 1/8/2010 at 0715 | 2/16/2007 at 0715 | 3/4/2002 at 0715 | 4/17/2006 at 1615 | 5/23/2008 at 1700 | 6/13/2009 at 1615 | 7/13/2009 at 1700 | 8/23/2010 at 1600 | 9/28/2005 at 1630 | 10/1/2007 at 1645 | 11/30/2006 1900 | 12/8/2005 at 1900
NET SYSTEM MINIMUM DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2011 Demand, MW | 22664.5062 | 22880.9082 | 22533 | 22333.1239 | 22862.7156 | 29409.7317 | 31487.0853 | 33718.9241 | 25717.6447 | 22998.3163 | 23016.3368 | 24647
Date | 30 | 21 | 13 | 17 | 15 | 5 | 3 | 14 | 6 | 31 | 13 | 2
Interval Ending | 04:30 | 03:45 | 03:45 | 04:30 | 05:00 | 07:00 | 07:00 | 07:15 | 04:00 | 02:45 | 04:00 | 03:00
Day of Week | Sunday | Monday | Sunday | Sunday | Sunday | Sunday | Sunday | Sunday | Tuesday | Monday | Sunday | Friday

## Energy
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY FOR 2011
[5 empty] | Updated | 2012-01-09
NET ENERGY FOR LOAD
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2011 Energy, MWh | 25849083.6913 | 23779677.3761 | 22646897 | 24591349.9526 | 27792819.7731 | 33581084.1596 | 36353558.2281 | 38280209.8556 | 29979451.807 | 24727380.2221 | 22311979.5294 | 25106683.4084 | 335000175.0032
2011 YTD Energy, MWh | 25849083.6913 | 49628761.0673 | 72275658.0673 | 96867008.02 | 124659827.793 | 158240911.9526 | 194594470.1807 | 232874680.0363 | 262854131.8433 | 287581512.0654 | 309893491.5948 | 335000175.0032
Forecasted Energy, MWh | 24873822 | 21694796 | 22450595 | 22818812 | 27855990 | 30646521 | 33826488 | 33963745 | 28941278 | 24689432 | 22314379 | 25326964 | 319402822
Difference, percent | 3.921% | 9.61% | 0.8744% | 7.768% | -0.2268% | 9.576% | 7.471% | 12.71% | 3.587% | 0.1537% | -0.01075% | -0.8697% | 4.883%
YTD Forecasted Energy, MWh | 24873822 | 46568618 | 69019213 | 91838025 | 119694015 | 150340536 | 184167024 | 218130769 | 247072047 | 271761479 | 294075858 | 319402822
YTD Difference, percent | 3.921% | 6.571% | 4.718% | 5.476% | 4.149% | 5.255% | 5.662% | 6.759% | 6.388% | 5.821% | 5.379% | 4.883%
2010 Energy, MWh | 26072476.3698 | 23737721.6958 | 22028910.172 | 21502948.6826 | 27221819.2111 | 31781587.449 | 32397557.5854 | 35774778.982 | 28844061.793 | 23933083.247 | 21753399.2658 | 24049056 | 319097400.4534
Increase, MWh | -223392.6785 | 41955.6802 | 617986.828 | 3088401.27 | 571000.562 | 1799496.7106 | 3956000.6427 | 2505430.8736 | 1135390.014 | 794296.9751 | 558580.2636 | 1057627.4084 | 15902774.5497
Increase, percent | -0.8568% | 0.1767% | 2.805% | 14.36% | 2.098% | 5.662% | 12.21% | 7.003% | 3.936% | 3.319% | 2.568% | 4.398% | 4.984%
2010 YTD Energy, MWh | 26072476.3698 | 49810198.0656 | 71839108.2376 | 93342056.9202 | 120563876.1313 | 152345463.5803 | 184743021.1657 | 220517800.1477 | 249361861.9407 | 273294945.1876 | 295048344.4534 | 319097400.4534
YTD Increase, MWh | -223392.6785 | -181436.9983 | 436549.8298 | 3524951.0998 | 4095951.6617 | 5895448.3723 | 9851449.015 | 12356879.8886 | 13492269.9026 | 14286566.8778 | 14845147.1414 | 15902774.5497
YTD Increase, percent | -0.8568% | -0.3643% | 0.6077% | 3.776% | 3.397% | 3.87% | 5.333% | 5.604% | 5.411% | 5.228% | 5.031% | 4.984%
NET SYSTEM LOAD FACTORS BASED ON HOURLY DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2011 | 68.43% | 59.61% | 75.67% | 67.35% | 65.13% | 73.91% | 74.68% | 75.25% | 65.92% | 66.86% | 74.85% | 67.36% | 55.93%
2010 | 62.71% | 74.85% | 71.45% | 74.35% | 66.86% | 72.61% | 71.77% | 73.1% | 68.83% | 70.77% | 75.12% | 72.29% | 55.38%
NET SYSTEM LOAD FACTORS BASED ON 15-MINUTE DEMAND
Description | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2011 | 67.51% | 61.03% | 75.4% | 67.25% | 64.94% | 73.77% | 74.6% | 75.2% | 65.87% | 66.8% | 71.42% | 66.21% | 55.9%

## LoadZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY LOAD SETTLEMENT ZONE FOR 2011
[5 empty] | Updated | 2012-01-09
BASED ON 15-MINUTE INTERVALS
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
DC_E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DC_L | 0 | 0 | 0 | 0 | 0 | 1.0943 | 0 | 0 | 0 | 102.1924 | 0 | 0
DC_N | 158 | 0 | 46 | 0 | 51 | 0 | 76 | 76 | 76 | 210 | 24 | 76
DC_R | 0 | 0 | 0 | 0 | 0 | 154.8048 | 0 | 0 | 0 | 0 | 0 | 0
DC_S | 0 | 0 | 0 | 0 | 0 | 29.6274 | 0 | 0 | 0 | 30.6577 | 0 | 0
LZ_AEN | 1830.5402 | 2145.9117 | 1797.0009 | 1973.8568 | 2376.895 | 2508.0854 | 2577.3967 | 2679.3901 | 2550.7299 | 2130.8434 | 1554.3259 | 1905.3857
LZ_CPS | 3387.7524 | 4118.1274 | 3152.8497 | 3691.2421 | 4349.1091 | 4632.9255 | 4667.7154 | 4829.6177 | 4687.9587 | 3780.3726 | 2932.9795 | 3680.5684
LZ_HOUSTON | 11992.23 | 12637.0881 | 11642.7998 | 13832.654 | 15901.612 | 16671.9715 | 16439.4987 | 17568.3142 | 16588.8605 | 13226.544 | 9683.1656 | 11627.0454
LZ_LCRA | 3102.4116 | 3990.7989 | 2063.2512 | 2442.596 | 3058.3357 | 3349.117 | 3430.038 | 3588.1122 | 3424.9075 | 2673.5271 | 2587.579 | 3384.327
LZ_NORTH | 21663.5391 | 23864.2104 | 14125.8277 | 19162.6248 | 21109.5296 | 24467.3244 | 26580.674 | 27878.2406 | 24534.2333 | 18011.7369 | 16942.5377 | 20148.8352
LZ_RAYBN | 463.5559 | 723.2775 | 269.474 | 424.2787 | 530.5012 | 655.8359 | 727.8613 | 734.1832 | 729.0468 | 499.3732 | 555.7033 | 743.6363
LZ_SOUTH | 5354.0646 | 6807.7586 | 4652.2684 | 5917.3656 | 6516.6148 | 6698.1001 | 6736.0223 | 6781.9536 | 6699.0137 | 5840.1327 | 4676.2228 | 5879.0526
LZ_WEST | 3510.9732 | 3697.2174 | 2623.2758 | 3341.5241 | 3626.8312 | 4051.6028 | 4265.3594 | 4280.6267 | 3923.6896 | 3251.982 | 3034.8148 | 3524.2513
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
DC_E | 495.4202 | 561.1962 | 614.2273 | 615.2706 | 766.3853 | 627.5472 | 341.9839 | 208.2182 | 711.9241 | 779.0867 | 718.3428 | 710.5748
Date and time | 17 @ 15:45 | 5 @ 18:45 | 5 @ 17:45 | 1 @ 05:30 | 10 @ 13:30 | 7 @ 12:15 | 5 @ 10:30 | 30 @ 10:30 | 22 @ 18:30 | 30 @ 03:30 | 22 @ 16:30 | 27 @ 16:30
DC_L | 0 | 102.2038 | 102.0895 | 102.7255 | 102.6568 | 102.4521 | 2.0427 | 102.4776 | 102.629 | 102.3465 | 101.9983 | 102.0831
Date and time | @ 00:00 | 16 @ 14:30 | 1 @ 17:30 | 17 @ 23:15 | 17 @ 18:00 | 17 @ 04:30 | 11 @ 23:15 | 24 @ 00:15 | 28 @ 17:30 | 1 @ 17:45 | 24 @ 11:15 | 8 @ 11:30
DC_N | 210 | 210 | 213 | 210 | 211.6692 | 212 | 210 | 210 | 210 | 210 | 227 | 210
Date and time | 2 @ 22:15 | 7 @ 02:15 | 21 @ 11:15 | 1 @ 00:15 | 10 @ 22:30 | 9 @ 08:30 | 11 @ 01:15 | 1 @ 14:15 | 22 @ 07:15 | 5 @ 11:15 | 29 @ 09:45 | 1 @ 07:15
DC_R | 0 | 153.9052 | 153.1342 | 154.0882 | 153.9852 | 155.1842 | 102.7208 | 153.7164 | 154.3322 | 153.5197 | 153.0424 | 153.7122
Date and time | @ 00:00 | 18 @ 15:30 | 1 @ 17:30 | 17 @ 23:15 | 17 @ 18:00 | 15 @ 19:45 | 21 @ 20:00 | 24 @ 00:15 | 14 @ 20:45 | 1 @ 17:45 | 8 @ 16:15 | 9 @ 18:15
DC_S | 0 | 30.9823 | 30.6268 | 0 | 30.772 | 30.7369 | 30.8162 | 30.7433 | 30.7923 | 30.7039 | 30.6439 | 30.6044
Date and time | @ 00:00 | 4 @ 15:30 | 1 @ 17:30 | @ 00:00 | 19 @ 00:00 | 17 @ 22:00 | 21 @ 20:00 | 24 @ 00:15 | 29 @ 15:45 | 1 @ 17:45 | 18 @ 11:15 | 13 @ 15:15
LZ_AEN | 1863.8048 | 2205.7187 | 1797.0009 | 2151.0754 | 2438.0031 | 2525.5173 | 2601.9271 | 2727.6435 | 2561.4177 | 2134.0764 | 1678.6801 | 1919.2562
Date and time | 21 @ 07:15 | 2 @ 19:00 | 23 @ 17:00 | 26 @ 17:00 | 25 @ 17:00 | 16 @ 17:00 | 28 @ 17:00 | 29 @ 16:00 | 2 @ 16:00 | 7 @ 16:15 | 14 @ 18:30 | 7 @ 07:15
LZ_CPS | 3544.519 | 4257.9534 | 3180.3747 | 4196.5487 | 4577.3802 | 4728.7354 | 4756.256 | 5000.2435 | 4687.9587 | 3780.3726 | 2932.9795 | 3680.5684
Date and time | 21 @ 07:15 | 2 @ 20:30 | 23 @ 17:45 | 26 @ 18:00 | 25 @ 17:45 | 17 @ 17:00 | 26 @ 17:00 | 29 @ 16:45 | 2 @ 16:30 | 7 @ 16:30 | 28 @ 07:15 | 7 @ 07:00
LZ_HOUSTON | 12176.0369 | 13450.4133 | 11642.7998 | 13832.654 | 16126.8574 | 16834.168 | 17029.1459 | 18349.1041 | 16870.173 | 13857.8891 | 11376.9808 | 12141.4368
Date and time | 13 @ 18:30 | 9 @ 19:45 | 23 @ 17:00 | 19 @ 16:30 | 26 @ 17:15 | 6 @ 14:45 | 21 @ 16:00 | 18 @ 16:45 | 1 @ 16:45 | 17 @ 16:30 | 21 @ 15:00 | 7 @ 08:45
LZ_LCRA | 3372.8213 | 3998.0794 | 2155.8493 | 2714.0614 | 3156.2892 | 3444.0271 | 3512.7309 | 3703.7258 | 3476.3582 | 2673.5271 | 2587.579 | 3384.327
Date and time | 21 @ 07:15 | 10 @ 07:00 | 26 @ 17:30 | 26 @ 17:30 | 28 @ 17:30 | 17 @ 18:00 | 27 @ 18:00 | 29 @ 17:30 | 2 @ 18:00 | 7 @ 16:30 | 28 @ 07:15 | 7 @ 07:00
LZ_NORTH | 21663.5391 | 23864.2104 | 14873.8236 | 19187.6494 | 21153.6335 | 24758.7182 | 26606.2512 | 27929.6319 | 24707.9919 | 18016.6264 | 16942.5377 | 20228.5181
Date and time | 12 @ 07:15 | 10 @ 07:15 | 25 @ 16:45 | 19 @ 16:00 | 31 @ 17:30 | 28 @ 17:00 | 27 @ 17:00 | 3 @ 16:00 | 1 @ 16:30 | 7 @ 16:45 | 28 @ 07:15 | 7 @ 07:15
LZ_RAYBN | 620.3778 | 723.2775 | 474.2905 | 456.7177 | 563.4088 | 727.7133 | 751.8751 | 766.574 | 768.4152 | 511.8676 | 560.2083 | 783.3406
Date and time | 24 @ 07:00 | 10 @ 07:15 | 15 @ 07:15 | 18 @ 17:45 | 28 @ 17:45 | 18 @ 17:30 | 31 @ 17:45 | 28 @ 17:45 | 25 @ 17:45 | 7 @ 17:45 | 28 @ 07:00 | 5 @ 19:15
LZ_SOUTH | 5582.2806 | 6949.687 | 4721.6951 | 5919.0506 | 6628.982 | 6762.7138 | 6755.8369 | 7051.8864 | 6943.8409 | 5849.1159 | 4684.2699 | 5879.0526
Date and time | 21 @ 07:00 | 3 @ 20:00 | 25 @ 17:00 | 19 @ 16:45 | 27 @ 17:00 | 21 @ 16:45 | 28 @ 16:30 | 28 @ 17:00 | 26 @ 16:45 | 7 @ 16:00 | 2 @ 17:00 | 7 @ 07:00
LZ_WEST | 3510.9732 | 3802.4714 | 2822.0942 | 3341.5241 | 3769.0717 | 4112.5507 | 4277.5076 | 4383.0813 | 3924.495 | 3297.724 | 3090.1236 | 3540.6056
Date and time | 12 @ 07:15 | 1 @ 21:30 | 18 @ 17:00 | 19 @ 16:30 | 28 @ 18:00 | 27 @ 17:00 | 27 @ 16:45 | 10 @ 17:00 | 2 @ 16:45 | 17 @ 17:00 | 30 @ 07:15 | 7 @ 07:15
NET ENERGY FOR LOAD, MWh
Settlement Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Total
DC_E | 11063.6695 | 10390.7515 | 14652.1124 | 16396.9246 | 30547.6204 | 7079.6568 | 2229.1361 | 1466.4833 | 6438.0472 | 29753.743 | 39159.2351 | 14802.7382 | 183980.1182
DC_L | 0 | 6860.2448 | 13446.7473 | 8877.9689 | 11562.9744 | 9298.3783 | 2.0425 | 7183.4507 | 18568.3869 | 15002.6772 | 4763.8455 | 2873.4339 | 98440.1504
DC_N | 71128.8326 | 56426.4772 | 96514.5 | 33556.1971 | 64705.236 | 79342 | 53389.25 | 51965.75 | 43126.75 | 48874 | 32705.4017 | 30597.6189 | 662332.0134
DC_R | 0 | 9689.3301 | 14846.904 | 12837.395 | 14340.1531 | 16649.5613 | 4830.4934 | 10888.1725 | 35584.4207 | 13624.0944 | 3326.4199 | 6158.8945 | 142775.839
DC_S | 0 | 2245.7151 | 3860.6287 |  | 1561.7564 | 5836.6891 | 1272.8764 | 2082.0401 | 6637.8517 | 5025.4736 | 1248.4718 | 366.2451 | 30137.748
LZ_AEN | 982476.0644 | 923391.5982 | 916665.6511 | 1036065.6615 | 1151875.6919 | 1349724.9284 | 1460220.6124 | 1536766.2444 | 1248188.6887 | 1036982.3322 | 910463.6662 | 982882.5379 | 13535703.6772
LZ_CPS | 1711593.2928 | 1611727.6195 | 1529341.2947 | 1792477.0372 | 2032276.923 | 2383511.3279 | 2537903.9092 | 2711725.4339 | 2202212.9358 | 1734100.0398 | 1504672.9549 | 1693260.4512 | 23444803.22
LZ_HOUSTON | 6455743.9096 | 6034260.356 | 6209989.0039 | 6872696.8677 | 7809069.3325 | 8950700.3015 | 9352961.1763 | 10050314.5804 | 8172085.3416 | 6900979.2473 | 5977653.5715 | 6322544.7538 | 89108998.4422
LZ_LCRA | 1407842.8345 | 1312691.1771 | 1074552.8818 | 1228373.5818 | 1377260.5599 | 1707455.8995 | 1830699.411 | 1960429.2608 | 1538611.0485 | 1217125.9441 | 1115946.4551 | 1368682.3337 | 17139671.3879
LZ_NORTH | 10276468.9149 | 9149205.8757 | 8299868.5284 | 8683465.1104 | 9801550.6761 | 12771972.4896 | 14471606.8612 | 15043183.7292 | 10920512.9679 | 8783434.158 | 8222460.487 | 9645103.6513 | 126068833.4499
LZ_RAYBN | 292742.732 | 232284.7525 | 185207.3021 | 185876.3751 | 216066.2698 | 323482.4552 | 361514.1226 | 374987.5743 | 282071.2901 | 202770.7895 | 198208.0401 | 286633.4154 | 3141845.1188
LZ_SOUTH | 2665305.6184 | 2710715.9142 | 2551969.3499 | 2909280.6808 | 3291883.2601 | 3649837.4398 | 3803246.2748 | 4018749.6885 | 3458354.8265 | 2877143.3546 | 2491553.4607 | 2672977.3134 | 37101017.1819
LZ_WEST | 1974717.8227 | 1719787.5641 | 1735982.5896 | 1811446.1524 | 1990119.3194 | 2326193.0322 | 2473682.0622 | 2510467.4474 | 2047059.2513 | 1862564.3684 | 1809817.5198 | 2079800.0209 | 24341637.1503
Totals may not match the ERCOT values because of rounding.

## WeatherZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY WEATHER ZONE FOR 2011
[5 empty] | Updated | 2012-01-09
Based on 15-Minute Intervals
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Coast | 12787.8382 | 13633.5665 | 12210.29 | 14618.4454 | 16869.6622 | 17605.3593 | 17333.0674 | 18502.2321 | 17496.6529 | 13927.6648 | 10327.256 | 12410.8827
East | 2153.7041 | 2250.7415 | 1509.5334 | 2002.3214 | 2117.1412 | 2312.0075 | 2300.3366 | 2545.7998 | 2279.4108 | 1803.9463 | 1746.2151 | 1959.723
Far West | 1638.6164 | 1740.7449 | 1311.4847 | 1601.6982 | 1780.14 | 1987.1663 | 1990.4992 | 1989.7452 | 1890.0768 | 1638.5256 | 1508.5122 | 1692.4459
North Central | 19609.4711 | 21940.8181 | 12682.2927 | 17320.3826 | 19213.0851 | 22441.8003 | 24577.4809 | 25624.922 | 22587.3875 | 16404.868 | 15491.5931 | 18616.928
North | 1437.0968 | 1394.6827 | 835.2143 | 1020.3659 | 1226.5506 | 1359.3343 | 1601.8209 | 1621.0893 | 1437.7497 | 1247.9013 | 1000.39 | 1249.0395
South Central | 8508.418 | 10414.0078 | 7282.0969 | 8400.4874 | 10144.7248 | 10882.9124 | 11061.6241 | 11499.9871 | 11035.572 | 8909.8823 | 7280.1157 | 9153.5734
South | 3831.0371 | 4938.6955 | 3492.9853 | 4374.1202 | 4660.9868 | 4975.8812 | 4833.984 | 4813.6579 | 4843.8013 | 4508.4555 | 3376.1564 | 4298.3478
West | 1496.8852 | 1671.133 | 1048.8503 | 1448.3211 | 1508.138 | 1656.0276 | 1801.7527 | 1819.0049 | 1643.789 | 1316.1182 | 1261.09 | 1588.1616
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Coast | 12933.2598 | 14502.0821 | 12210.29 | 14618.4454 | 17100.9075 | 17772.9582 | 17915.0928 | 19342.2247 | 17770.0734 | 14551.5012 | 12072.899 | 12849.1234
Date and time | 13 @ 18:30 | 9 @ 19:45 | 23 @ 17:00 | 19 @ 16:30 | 26 @ 17:15 | 2 @ 17:00 | 11 @ 16:45 | 18 @ 16:45 | 1 @ 16:45 | 17 @ 16:30 | 21 @ 15:00 | 7 @ 08:45
East | 2153.7041 | 2293.9637 | 1821.7845 | 2176.5287 | 2654.5025 | 2549.7798 | 2456.7786 | 2616.925 | 2461.6755 | 2124.9541 | 2124.8558 | 2047.3905
Date and time | 12 @ 07:15 | 9 @ 20:30 | 7 @ 18:45 | 20 @ 20:15 | 10 @ 15:45 | 7 @ 13:00 | 21 @ 16:30 | 2 @ 16:45 | 22 @ 18:30 | 17 @ 19:30 | 28 @ 18:00 | 5 @ 17:30
Far West | 1699.9115 | 1880.1793 | 1420.5354 | 1604.4758 | 1842.0892 | 2030.4106 | 2017.9625 | 2071.8313 | 1924.4057 | 1665.6165 | 1546.0633 | 1741.6578
Date and time | 13 @ 07:15 | 1 @ 21:30 | 18 @ 16:45 | 19 @ 16:45 | 30 @ 17:45 | 16 @ 17:00 | 21 @ 16:45 | 30 @ 16:45 | 13 @ 16:45 | 17 @ 17:00 | 30 @ 07:15 | 6 @ 20:15
North Central | 19700.6836 | 21940.8181 | 13425.1063 | 17348.669 | 19288.5556 | 22738.3369 | 24632.2137 | 25653.8632 | 22597.8014 | 16454.2975 | 15491.5931 | 18672.4385
Date and time | 21 @ 07:15 | 10 @ 07:15 | 25 @ 16:45 | 19 @ 16:00 | 31 @ 17:30 | 28 @ 17:00 | 27 @ 17:00 | 3 @ 16:30 | 2 @ 16:00 | 7 @ 16:45 | 28 @ 07:15 | 7 @ 07:15
North | 1472.9647 | 1423.968 | 1091.2023 | 1180.714 | 1353.5231 | 1523.8672 | 1623.0322 | 1746.0868 | 1474.5505 | 1248.6864 | 1169.8348 | 1249.0395
Date and time | 11 @ 07:00 | 10 @ 07:00 | 22 @ 16:45 | 18 @ 18:15 | 31 @ 15:00 | 26 @ 18:00 | 31 @ 17:00 | 4 @ 15:45 | 1 @ 16:00 | 7 @ 16:45 | 30 @ 07:15 | 7 @ 07:00
South Central | 8956.4353 | 10586.2166 | 7365.8012 | 9382.671 | 10338.7569 | 11021.8058 | 11202.1568 | 11781.6951 | 11040.2055 | 8909.8823 | 7280.1157 | 9153.5734
Date and time | 21 @ 07:15 | 2 @ 19:15 | 23 @ 17:45 | 26 @ 17:45 | 25 @ 17:45 | 17 @ 17:45 | 28 @ 17:00 | 29 @ 16:45 | 2 @ 16:45 | 7 @ 16:30 | 28 @ 07:15 | 7 @ 07:00
South | 4168.2311 | 5244.9771 | 3587.1506 | 4375.6255 | 4860.6242 | 5059.2581 | 4896.4917 | 5151.8805 | 5244.1515 | 4657.0983 | 3739.5831 | 4298.3478
Date and time | 13 @ 19:45 | 4 @ 07:00 | 29 @ 18:00 | 19 @ 16:45 | 20 @ 16:30 | 17 @ 15:00 | 19 @ 16:45 | 22 @ 15:00 | 26 @ 16:15 | 7 @ 17:00 | 8 @ 16:15 | 7 @ 07:00
West | 1517.6771 | 1680.798 | 1141.2071 | 1448.3211 | 1603.5599 | 1736.4322 | 1809.4174 | 1852.5006 | 1644.815 | 1319.4535 | 1261.09 | 1596.3006
Date and time | 21 @ 07:30 | 3 @ 07:30 | 25 @ 17:30 | 19 @ 16:30 | 28 @ 17:30 | 28 @ 17:00 | 27 @ 16:45 | 10 @ 17:00 | 2 @ 16:45 | 7 @ 16:45 | 28 @ 07:15 | 7 @ 07:15
NET ZONE ENERGY, MWh
Weather Zone | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Coastal | 6842407.9274 | 6466387.7345 | 6582393.5008 | 7273085.4741 | 8310273.1784 | 9506448.7109 | 9883636.6767 | 10625435.8745 | 8652036.2012 | 7268934.6839 | 6327334.3518 | 6697017.415 | 94435391.7292
East | 996302.6225 | 927578.6414 | 874483.5047 | 947865.0884 | 1048897.9498 | 1251815.3985 | 1356742.7823 | 1421451.4134 | 1095768.7847 | 929583.8222 | 884745.5641 | 957665.352 | 12692900.9241
Far West | 988863.1082 | 854812.8139 | 891723.7111 | 928194.6606 | 1020367.7274 | 1156871.1904 | 1197618.9199 | 1218913.1224 | 1048560.8023 | 981271.1312 | 949999.5456 | 1077703.8956 | 12314900.6285
North Central | 9402128.4898 | 8306040.9467 | 7486552.0416 | 7807319.8271 | 8846873.6875 | 11646315.1214 | 13240087.9722 | 13744752.0005 | 9935300.2903 | 7941214.3 | 7440686.4432 | 8835424.1739 | 114632695.2943
North | 714374.2114 | 618923.3502 | 620341.1494 | 555400.3633 | 659465.9294 | 840900.3618 | 907205.3562 | 927395.0053 | 675503.2505 | 585945.9616 | 549534.8316 | 634518.2087 | 8289507.9794
South Central | 4212749.4169 | 3949580.9509 | 3642065.263 | 4204477.3778 | 4733134.4384 | 5643294.1621 | 6051019.8285 | 6441327.8022 | 5176024.5147 | 4131234.2821 | 3649054.4314 | 4158904.6474 | 55992867.1154
South | 1924145.4598 | 1969503.3141 | 1912478.3394 | 2183953.4817 | 2416091.2846 | 2630070.9972 | 2743384.6795 | 2909187.0687 | 2609843.8202 | 2206486.6043 | 1853542.5074 | 1951936.1459 | 27310623.7028
West | 768112.4553 | 686849.6243 | 636859.9841 | 691053.6796 | 757715.5776 | 905368.2173 | 973862.0127 | 991747.5686 | 786414.1432 | 682709.4368 | 657081.8544 | 793513.57 | 9331288.1237
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## EnergybyFuelType
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY BY FUEL TYPE FOR 2011
[5 empty] | Updated | 2012-01-09
ENERGY BY FUEL TYPE, MWh
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Natural Gas | 8274815.2435 | 8099740 | 6159053.84 | 9248681.1045 | 12040233.1351 | 14115111.853 | 17601161 | 19502680.833 | 12893431.326 | 9054919 | 7761001.6386 | 10038465.1768 | 134789294.1505
Coal | 11516185.96 | 9516363 | 9860152.22 | 10162335.01 | 11076483.57 | 12250097.22 | 12898984.82 | 12767077.82 | 11576338.61 | 9924649 | 8821142.186 | 9713483.502 | 130083292.918
Nuclear | 3786451.96 | 3472830 | 3808304.73 | 2022745.665 | 3380054.272 | 3645793.868 | 3461152.65 | 3593569.721 | 3659792.693 | 3091203 | 2912493.722 | 2813353.964 | 39647746.245
Wind | 1916364.479 | 2370564 | 2605186.66 | 2832070.219 | 2871352.959 | 3132560.403 | 1959608.38 | 1913003.55 | 1509671.322 | 2399142 | 2582283.991 | 2203593.952 | 28295401.915
Water | 33843.3435 | 36201 | 28033.7 | 53510.8311 | 73322.6342 | 79191.0263 | 48929.59 | 60939.5823 | 43026.1478 | 24858 | 20423.4635 | 22553.8775 | 524833.1961
Other | 43878.2305 | 38202 | 46860.83 | 49252.1499 | 51012.2295 | 42592.3524 | 37224.62 | 38449.6266 | 40225.6331 | 54678 | 48772.5537 | 43041.1922 | 534189.4179
Total | 25571539.2164 | 23533900 | 22507591.98 | 24368594.9796 | 29492458.7998 | 33265346.7227 | 36007061.06 | 37875721.1328 | 29722485.7319 | 24549449 | 22146117.5547 | 24834491.6645 | 333874757.8425
ENERGY BY FUEL TYPE, PERCENT
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Natural Gas | 32.36% | 34.42% | 27.36% | 37.95% | 40.82% | 42.43% | 48.88% | 51.49% | 43.38% | 36.88% | 35.04% | 40.42% | 40.37%
Coal | 45.04% | 40.44% | 43.81% | 41.7% | 37.56% | 36.83% | 35.82% | 33.71% | 38.95% | 40.43% | 39.83% | 39.11% | 38.96%
Nuclear | 14.81% | 14.76% | 16.92% | 8.301% | 11.46% | 10.96% | 9.612% | 9.488% | 12.31% | 12.59% | 13.15% | 11.33% | 11.88%
Wind | 7.494% | 10.07% | 11.57% | 11.62% | 9.736% | 9.417% | 5.442% | 5.051% | 5.079% | 9.773% | 11.66% | 8.873% | 8.475%
Water | 0.1323% | 0.1538% | 0.1246% | 0.2196% | 0.2486% | 0.2381% | 0.1359% | 0.1609% | 0.1448% | 0.1013% | 0.09222% | 0.09082% | 0.1572%
Other | 0.1716% | 0.1623% | 0.2082% | 0.2021% | 0.173% | 0.128% | 0.1034% | 0.1015% | 0.1353% | 0.2227% | 0.2202% | 0.1733% | 0.16%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual fuel units. Dual fuel units are included in the category of their primary fuel.
Differences in the totals here and the total for ERCOT are attributable to energy across DC ties, rounding, and subsequent settlements.
These values are based on initial settlements and will not be updated with subsequent settlements.
"Other" includes petroleum coke, landfill gas, biomass solids, biomas gases, and any unknown fuel.

## EnergybyFuelChart
Fuel Types | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Natural Gas | 8274.8152 | 8099.74 | 6159.0538 | 9248.6811 | 12040.2331 | 14115.1119 | 17601.161 | 19502.6808 | 12893.4313 | 9054.919 | 7761.0016 | 10038.4652
Coal | 11516.186 | 9516.363 | 9860.1522 | 10162.335 | 11076.4836 | 12250.0972 | 12898.9848 | 12767.0778 | 11576.3386 | 9924.649 | 8821.1422 | 9713.4835
Nuclear | 3786.452 | 3472.83 | 3808.3047 | 2022.7457 | 3380.0543 | 3645.7939 | 3461.1526 | 3593.5697 | 3659.7927 | 3091.203 | 2912.4937 | 2813.354
Wind | 1916.3645 | 2370.564 | 2605.1867 | 2832.0702 | 2871.353 | 3132.5604 | 1959.6084 | 1913.0035 | 1509.6713 | 2399.142 | 2582.284 | 2203.594
Water | 33.8433 | 36.201 | 28.0337 | 53.5108 | 73.3226 | 79.191 | 48.9296 | 60.9396 | 43.0261 | 24.858 | 20.4235 | 22.5539
Other | 43.8782 | 38.202 | 46.8608 | 49.2521 | 51.0122 | 42.5924 | 37.2246 | 38.4496 | 40.2256 | 54.678 | 48.7726 | 43.0412
Diesel | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!

## EnergyComparisons
Energy, MWh
|  |  | Current | Previous | Prev, GWh |  | Previous source
|  | Jan | 25849.0837 | 26072476.3698 | 26072.4764 |  | 26072476.3698
|  | Feb | 23779.6774 | 23737721.6958 | 23737.7217 |  | 23737721.6958
|  | Mar | 22646.897 | 22028910.172 | 22028.9102 |  | 22028910.172
|  | Apr | 24591.35 | 21502948.6826 | 21502.9487 |  | 21502948.6826
|  | May | 27792.8198 | 27221819.2111 | 27221.8192 |  | 27221819.2111
|  | Jun | 33581.0842 | 31781587.449 | 31781.5874 |  | 31781587.449
|  | Jul | 36353.5582 | 32397557.5854 | 32397.5576 |  | 32397557.5854
|  | Aug | 38280.2099 | 35774778.982 | 35774.779 |  | 35774778.982
|  | Sep | 29979.4518 | 28844061.793 | 28844.0618 |  | 28844061.793
|  | Oct | 24727.3802 | 23933083.247 | 23933.0832 |  | 23933083.247
|  | Nov | 22311.9795 | 21753399.2658 | 21753.3993 |  | 21753399.2658
|  | Dec | 25106.6834 | 24049056 | 24049.056 |  | 24049056
ytd | ytd |  | Energy, MWh
Actual | Forecast |  | Actual | Forecast |  | Difference from Actual
25849.0837 | 24873.822 | Jan | 25849.0837 | 24873.822 |  | -3.773% |  | 24873822
49628.7611 | 46568.618 | Feb | 23779.6774 | 21694.796 |  | -8.767% |  | 21694796
72275.6581 | 69019.213 | Mar | 22646.897 | 22450.595 |  | -0.8668% |  | 22450595
96867.008 | 91838.025 | Apr | 24591.35 | 22818.812 |  | -7.208% |  | 22818812
124659.8278 | 119694.015 | May | 27792.8198 | 27855.99 |  | 0.2273% |  | 27855990
158240.912 | 150340.536 | Jun | 33581.0842 | 30646.521 |  | -8.739% |  | 30646521
194594.4702 | 184167.024 | Jul | 36353.5582 | 33826.488 |  | -6.951% |  | 33826488
232874.68 | 218130.769 | Aug | 38280.2099 | 33963.745 |  | -11.28% |  | 33963745
262854.1318 | 247072.047 | Sep | 29979.4518 | 28941.278 |  | -3.463% |  | 28941278
287581.5121 | 271761.479 | Oct | 24727.3802 | 24689.432 |  | -0.1535% |  | 24689432
309893.4916 | 294075.858 | Nov | 22311.9795 | 22314.379 |  | 0.01075% |  | 22314379
335000.175 | 319402.822 | Dec | 25106.6834 | 25326.964 |  | 0.8774% |  | 25326964
0
0
|  | EIA-411 forecast made in March 2004 |  | 0
0
YTD Actual 235,718,421 MWh
YTD Forecast 242,752,402 MWh
Difference -2.9%

## DemandComparisons
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Current | 50774.6259 | 57315.2805 | 40228 | 50712.7727 | 57355.7955 | 63101.8862 | 65431.8377 | 68379.0754 | 63160.6176 | 49709.804 | 41398.9002 | 50100.0991
Previous | 55877.8342 | 47194.7947 | 41440.0878 | 40169.1025 | 54725.4972 | 60789.1431 | 60674.1727 | 65776.3264 | 58200.7414 | 45456.3922 | 40220 | 44715.7344
Forecast | 49957 | 48081 | 44185 | 47925 | 57748 | 60185 | 63504 | 63898 | 58648 | 52586 | 43568 | 51770