| NPRR Number | 394 | NPRR Title | Outage Reporting |
| --- | --- | --- | --- |
| Date |  | November 9, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Eric Goff on behalf of the Wholesale Market Subcommittee (WMS) |  |
| E-mail Address |  | egoff@reliant.com |  |
| Company |  | Reliant Energy Retail Services, LLC |  |
| Phone Number |  |  |  |
| Cell Number |  | 512-284-4908 |  |
| Market Segment |  | Independent Retail Electric Provider (IREP) |  |

Comments

At its November 9, 2011 meeting, WMS reviewed Nodal Protocol Revision Request (NPRR) 394.  After discussion, WMS voted to endorse NPRR394 as amended by the 10/17/11 ERCOT comments.  There was one abstention from the Cooperative Market Segment.

Revised Proposed Protocol Language

- 2.1	Definitions

- Forced Derate

The portion of the Resource removed from service which exceeds the greater of ten MW or five percent of its seasonal net maximum sustainable rating provided through the Resource registration process.  For Qualified Scheduling Entities (QSEs) representing Wind-powered Generation Resources (WGRs), the loss of a portion of the capacity shall be due to the unavailability of a portion of the equipment and shall not include capacity changes due to changes in wind speed at the WGR facility.

- 3.1.4.8	Deratings

The Resource Entity or its designee must enter material deratings that are expected to last more than 48 hours in the ERCOT Outage Scheduler.  A derating is considered to be material when the portion of the Resource’s capacity removed from service exceeds the greater of ten MW or five percent of its seasonal net maximum sustainable rating provided through the Resource registration process.  For QSEs representing Wind-powered Generation Resources (WGRs), the loss of a portion of the capacity shall be due to the unavailability of a portion of the equipment and shall not include capacity changes due to wind speed variations at the WGR facility.