| NPRR Number | 434 | NPRR Title | Increase the Capacity Limitation of a Generation Resource Providing RRS |
| --- | --- | --- | --- |
| Date Posted |  | December 27, 2011 |  |
| Requested Resolution |  | Normal |  |
| Nodal Protocol Section Requiring Revision |  | 3.18, Resource Limits in Providing Ancillary Service |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) increases the amount of Responsive Reserve (RRS) that can be supplied by a Generation Resource to 28%. |  |
| Reason for Revision |  | This revision is required due to the changes in the Ancillary Services Procurement Methodology of moving 500 MW of Non-Spinning Reserve (Non-Spin) Service to RRS. That change could require additional Generation Resources to provide the service to be On-Line in Real-Time. This could raise the Market Clearing Price for Capacity (MCPC) of RRS and suppress Real-Time Locational Marginal Prices (LMPs). |  |
| Credit Implications |  | To be determined. |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Allows the transfer of 500 MW of Non-Spin Service to RRS without a substantial increase in unit commitments for RRS that would artificially depress Real-Time LMPs due to excess capacity On-Line. |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Robert Helton on behalf of the Reliability Deployment Task Force |
| E-mail Address | Robert.helton@gdfsuezna.com |
| Company | International Power GDF Suez NA |
| Phone Number | 713-636-1814 |
| Cell Number | 832-435-7815 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512-248-6463 |

Comments

Please note that NPRR334, Incorporate Resource Limit for the Amount of Regulation Service that may be Provided from a Generation Resource During any Operating Hour, also proposes revisions to Section 3.18.

Proposed Protocol Language Revision

3.18	Resource Limits in Providing Ancillary Service

(1)	For both Generation Resources and Load Resources the High Sustained Limit (HSL) must be greater than or equal to the Low Sustained Limit (LSL) and the sum of the Resource-specific designation of capacity to provide Responsive Reserve (RRS), Regulation Up (Reg-Up), Regulation Down (Reg-Down), and Non-Spinning Reserve (Non-Spin).

(2)	For Non-Spin, the amount of Non-Spin provided must be less than or equal to the HSL for Off-Line Generation Resources.

(3)	For RRS Service:

(a)	The amount of RRS provided from a Generation Resource must be less than or equal to 28% of thermal unit HSL for an Ancillary Service Offer and must be less than or equal to ten times the Emergency Ramp Rate;

(b)	Hydro Generation Resources operating in the synchronous condenser fast-response mode may provide RRS up to the hydro Generation Resource’s proven 20-second response capability (which may be 100% of the HSL).  The initiation setting of the automatic under-frequency relay setting shall not be lower than 59.80 Hz;

(c)	For any hydro Generation Resource with a 5% droop setting operating as a generator, the amount of RRS provided may never be more than 20% of the HSL; and

(d)	The amount of RRS provided from a Load Resource must be less than or equal to the HSL minus the sum of the LSL, Reg-Up Resource Responsibility, Reg-Down Resource Responsibility, and Non-Spin Resource Responsibility.