| PGRR Number | 010 | PGRR Title | New Planning Guide Section 6.7, Data Dictionary |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | October 28, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Guide Section Requiring Revision |  | 6.7, Data Dictionary (new) |  |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) adds new Section 6.7 to the Planning Guide. |  |  |
| Reason for Revision |  | There is currently no specific language in either the Protocols or Nodal Operating Guides related to the process associated with the submission of Transmission Facility information. Since this type of information is primarily used for planning, it is deemed appropriate to be part of the Planning Guide. |  |  |
| Consumer Impact |  | None. |  |  |
| Procedural History |  | - On 7/26/11, PGRR010 was posted. - On 8/16/11, ERCOT comments were posted. - On 8/26/11, a second set of ERCOT comments were posted - On 8/26/11, the Planning Working Group (PLWG) reviewed PGRR010. - On 9/13/11, Luminant Energy comments were posted. - On 9/21/11, a third set of ERCOT comments were posted. - On 10/28/11, PLWG again considered PGRR010. |  |  |
| PLWG Decision |  | On 8/26/11, the PLWG was in consensus to table PGRR010. On 10/28/11, the PLWG was in consensus to recommend approval of PGRR010 as amended by the 9/21/11 ERCOT comments and as revised by PLWG. |  |  |
| Summary of PLWG Discussion |  | On 8/26/11, there was discussion as to where the Data Dictionary language should reside. PGRR010 was tabled to allow time for ERCOT and interested parties to review the language and determine whether the Data Dictionary should remain within the Steady State Working Group (SSWG) procedures or if PGRR010 should be aligned with the existing requirements in the SSWG procedures. On 10/28/11, whether the Data Dictionary language is more appropriate in the Steady State Working Group Procedures Manual was discussed. It was determined that the Planning Guide would provide an explanation and purpose for the Data Dictionary; however, the planning requirements of the Data Dictionary will remain in the Steady State Working Group Procedures Manual. There was also discussion regarding the validity of the data and frequency with which the Data Dictionary is updated. It was stated that although the Data Dictionary is updated annually, the Transmission Project and Information Tracking (TPIT) report provides a quarterly update on the status of transmission projects and associated data that can be used in the interim. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Market Cost: - None. Utilizing existing processes. |
|  | 2 | Market Benefit: - Transmission Facility planning data submittal process is located within the Planning Guide. - Clarifies process used to input and update Transmission Facility data through the Data Dictionary submission processes. |
|  | 3 | Market Impact: - None. Transmission Facility data is already being submitted to ERCOT by Transmission Service Providers (TSPs). |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Rob Lane on behalf of the PLWG |
| E-mail Address | Rob.Lane@luminant.com |
| Company | Luminant |
| Phone Number | 214-875-8063 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 081611 | Proposed that Notification of changes to Resource registration related documents be done via an alternate method, such as a Really Simple Syndication (RSS) feed instead of a Market Notice. |
| ERCOT 082611 | Recommended rejection of PGRR010. |
| Luminant Energy 091311 | Provided additional revisions to address comments voiced by participants at the 8/26/11 PLWG meeting. |
| ERCOT 092111 | Responded to the 9/13/11 Luminant Energy comments. |

Proposed Guide Language Revision

6.7	Data Dictionary

(1)	The Data Dictionary provides additional bus data that is not included in the Steady State Working Group (SSWG) power flow cases or network model data.  The Steady State Working Group Procedures Manual defines the requirements for the planning portion of the Data Dictionary.

(2)	The following items pertain to data updates:

(a)	Transmission Service Providers (TSPs) shall submit all pertinent Data Dictionary data for each bus in its transmission system for SSWG models as specified in the Steady State Working Group Procedures Manual.

(b)	ERCOT shall provide pertinent Resource Entity data for the Data Dictionary.

(c)	Interim information is provided pursuant to Section 6.4.1, Transmission Project Information and Tracking Report.  TSPs may revise bus data for the Data Dictionary as necessary to reflect changes.

(3)	ERCOT shall make available a copy of the Data Dictionary on the Planning and Operations Information website per the Steady State Working Group Procedures Manual and in accordance with the schedule posted on the Market Information System (MIS) for Annual Planning Model Data Submittal.monthly and shall notify Market Participants when such posting is made via a Really Simple Syndication (RSS) feed.