| PGRR Number | 010 | PGRR Title | New Planning Guide Section 6.7, Data Dictionary |
| --- | --- | --- | --- |

| Date | September 21, 2011 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Jay Teixeira |
| E-mail Address | jteixeira@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6582 |
| Cell Number |  |
| Market Segment | ISO |

Comments

ERCOT submits these comments in response to the September 13, 2011 Luminant Energy comments.  During the August 26, 2011 Planning Working Group (PLWG) meeting, there was discussion that, per the Steady State Working Group Procedures Manual, the Data Dictionary is updated annually, 30 days after the completion of Data Set B cases.  The schedule to update the Data Dictionary is posted on the Market Information System (MIS) Secure Area in the Annual Planning Model Data Submittal Schedule.  ERCOT proposes adding the posting date to that schedule, eliminating the need for unnecessary Really Simple Syndication (RSS) notifications.  Since the update is only done on an annual basis there is no need for monthly notifications.  ERCOT proposes revisions to paragraph (2)(c) of Section 6.7, Data Dictionary, to remove the notification requirement.

Revised Proposed Guide Language

6.7	Data Dictionary

(1)	Transmission Service Providers (TSP) shall provide and update bus data to ERCOT as required to accurately model such equipment in the various models used by ERCOT and the assigned Reliability and Operations Subcommittee (ROS) working groups, such as the Steady State Working Group (SSWG).

(2)	The following items pertain to the Data Dictionary:

(a)	A TSP shall submit all pertinent data for each bus in its transmission system for all future year SSWG models as specified in the Steady State Working Group Procedures Manual.

(b)	A TSP may revise bus data for the Data Dictionary as necessary to reflect changes.

(c)	ERCOT shall make available a copy of the Data Dictionary on the Planning and Operations Information website per the Steady State Working Group Procedures Manual and in accordance with the schedule posted on the Market Information System (MIS) for Annual Planning Model Data Submittal.monthly and shall notify Market Participants when such posting is made via a Really Simple Syndication (RSS) feed.