## Slide 1: Reliability Deployments Task Force Update – January WMS Meeting
RDTF meeting occurred on December 20, 2011
RDTF discussed the following issues:
  Increase RRS by 500 MWs and decrease NSRS by 500 MWs
    ERCOT presented Draft Revision of 2012 Ancillary Service Methodology Document
    NPRR434, Increase the Capacity Limitation of a Generation Resource Providing RRS
  Implement an offer floor for Reliability Unit Commitment units deployed for system capacity purposes
    ERCOT presented draft version of NPRR 435, Requirements for Energy Offer Curves in the Real Time SCED for Generation Resources Committed in RUC
    ERCOT presented analysis regarding RUC commitments and deployments
    RDTF discussed appropriate value of offer floor and did not reach consensus
  Proposals to change the magnitude and slope of the Power Balance Penalty Curve
    ERCOT presented analysis regarding Power Balance Penalty Curve proposals and back-casted impact on Peaker Net Margin
    RDTF discussed whether or not a change in slope or magnitude is needed if ERCOT adopts increase in RRS and decrease in NSRS – RDTF consensus was change is not needed solely due to change in ancillary service methodology
  NPRR 432, Deployment of Resources to Alleviate Imminent Emergency Conditions
    RDTF deferred discussion on this issue to the NPRR process
  0 – LSL impact on real-time energy prices
    Issue will be discussed in more detail at next RDTF meeting
Next RDTF meeting is scheduled on January 27th