| NPRR Number | 435 | NPRR Title | Requirements for Energy Offer Curves in the Real Time SCED for Generation Resources Committed in RUC |
| --- | --- | --- | --- |
| Date |  | January 12, 2012 |  |
| Submitter’s Information |  |  |  |
| Name |  | Eric Goff on behalf of the Wholesale Market Subcommittee (WMS) |  |
| E-mail Address |  | egoff@reliant.com |  |
| Company |  | Reliant Energy Retail Services, LLC |  |
| Phone Number |  | 512-284-4908 |  |
| Market Segment |  | Not applicable |  |

Comments

At its January 11, 2012 meeting, WMS reviewed Nodal Protocol Revision Request (NPRR) 435.  Following discussion, WMS voted to endorse NPRR435 as amended by the 1/10/12 Luminant-Exelon comments via roll call vote.  The voting ballot has been posted with these comments.

Revised Cover Page Language

None at this time.

Revised Proposed Protocol Language

6.4.3.1	Energy Offer Curve for RUC-Committed Resources

(1)	Prior to the end of the Adjustment Period for an Operating Hour during which a Generation Resource has been committed by ERCOT as part of a Reliability Unit Commitment (RUC) process, the QSE shall ensure that an Energy Offer Curve that prices all energy from LSL to HSL the System-Wide Offer Cap (SWCAP) for the Operating Hours in the RUC commitment period, has been submitted and accepted by ERCOT.

(2) 	If the QSE receives a RUC Dispatch Instruction from ERCOT for its Generation Resource during the Operating Period that includes a RUC-Committed Hour, then the QSE shall be exempt from the submission timeline requirement specified in paragraph (1) above for the RUC-Committed Hours during the Operating Period.  The QSE shall submit the required Energy Offer Curve as soon as reasonably practicable after receipt of the RUC Dispatch Instruction for the RUC-Committed Hours in the Adjustment Period.

(3)	The requirement in paragraph (1) above is not applicable for Weekly Reliability Unit Commitment (WRUC)-instructed hours during which the Resource was Day-Ahead Market (DAM)-committed or QSE self-committed.