| NOGRR Number | 080 | NOGRR Title | Inadvertent Interchange and Inadvertent Energy Clarification |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | January 12, 2012 |  |  |
| Proposed Effective Date |  | March 1, 2012 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Guide Sections Requiring Revision |  | 1.4, Definitions 2.8.1, Inadvertent Interchange Management |  |  |
| Nodal Protocol Section Requiring Revision |  | 6.5.4, Inadvertent Energy Account |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) modifies language in Sections 1.4 and 2.8.1 related to inadvertent energy. |  |  |
| Reason for Revision |  | The term “Inadvertent Interchange” as used in the North American Electric Reliability Corporation (NERC) Reliability Standards (i.e., BAL-006, Inadvertent Interchange) does not apply to the ERCOT interconnection because ERCOT is not synchronously connected to other interconnections. The term used in the ERCOT Region that describes the difference between scheduled and actual energy across the Direct Current Ties (DC Ties) is “inadvertent energy” as described in Protocol Section 6.5.4, Inadvertent Energy Account, and Section 3.8, Managing Daily Inadvertent Energy for the SPP DC Ties, of the Operating Procedure Manual, DC Tie Desk. This NOGRR synchronizes the Nodal Operating Guides with the changes proposed by Nodal Protocol Revision Request (NPRR) 415, Inadvertent Interchange and Inadvertent Energy Clarification, and maintains consistency with the Operating Procedure Manual, DC Tie Desk, NERC Reliability Standards and the equation used by ERCOT to calculate Area Control Area (ACE) in relation to inadvertent energy. |  |  |
| Procedural History |  | - On 9/21/11, NOGRR080 was posted. - On 10/19/11, the Operations Working Group (OWG) considered NOGRR080. - On 11/4/11, an Impact Analysis was posted. - On 11/14/11, the OWG considered the 10/19/11 OWG Report and Impact Analysis for NOGRR080. - On 1/12/12, ROS considered NOGRR080. |  |  |
| OWG Decision |  | On 10/19/11, OWG was in consensus to recommend approval of NOGRR080 as submitted. On 11/14/11, OWG was in consensus to endorse and forward the 10/19/11 OWG Report and Impact Analysis for NOGRR080 to ROS. |  |  |
| Summary of OWG Discussion |  | On 10/19/11, it was noted that NOGRR080 synchronizes the Nodal Operating Guides with language proposed by NPRR415. On 11/14/11, there was no discussion. |  |  |
| ROS Decision |  | On 1/12/12, ROS unanimously voted to recommend approval of NOGRR080 as recommended by OWG in the 11/14/11 OWG Report. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 1/12/12, there was no discussion. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Qualitative benefits: - Clarifies the use of the term “inadvertent energy” as used in the ERCOT interconnection. - All Entities in the ERCOT Region benefit from consistent and clarified language. |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens on behalf of Nodal Protocol and Guides Resolution Task Force (NPGRTF) |
| E-mail Address | fowens@texasmpa.org |
| Company | Texas Municipal Power Agency |
| Phone Number | 936-873-1120 |
| Cell Number | 979-204-7725 |
| Market Segment | Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Guide Language Revision

- 1.4	Definitions

Inadvertent Energy

The difference between the ERCOT System actual metered value and the ERCOT System scheduled energy.

2.8.1	Inadvertent Energy Management

The only inadvertent energy will be between ERCOT and the Southwest Power Pool (SPP) and/or Comision Federal de Electricidad (CFE).  ERCOT shall track any differences between the net of scheduled energy across each DC Tie and the actual metered value at that DC Tie in an Inadvertent Energy Account between ERCOT and each interconnected non-ERCOT balancing authority as per Protocol Section 6.5.4, Inadvertent Energy Account.  All inadvertent energy is placed in an inadvertent payback account to be paid back in kind.