| NPRR Number | 415 | NPRR Title | Inadvertent Interchange and Inadvertent Energy Clarification |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | January 17, 2012 |  |  |
| Effective Date |  | February 1, 2012 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Protocol Section Requiring Revision |  | 6.5.4, Inadvertent Energy Account |  |  |
| Market Guide Sections Requiring Revision |  | Nodal Operating Guide 1.4, Definitions 2.8.1, Inadvertent Interchange Management |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) modifies language in Section 6.5.4 related to inadvertent energy. |  |  |
| Reason for Revision |  | The term “Inadvertent Interchange” as used in the North American Electric Reliability Corporation (NERC) Reliability Standards (i.e., BAL-006, Inadvertent Interchange) does not apply to the ERCOT interconnection because ERCOT is not synchronously connected to other interconnections. The term used in the ERCOT Region that describes the difference between scheduled and actual energy across the Direct Current Ties (DC Ties) is “inadvertent energy” as described in Section 6.5.4 of the Protocols and Section 3.8, Managing Daily Inadvertent Energy for the SPP DC Ties, of the Operating Procedure Manual, DC Tie Desk. This NPRR modifies the language related to energy across the DC Ties to remain consistent with the Operating Guides, the Operating Procedure Manual, DC Tie Desk, NERC Reliability Standards and the equation used by ERCOT Independent System Operator (ISO) to calculate Area Control Error (ACE). |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR415 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 9/21/11, NPRR415 was posted. - On 10/20/11, PRS considered NPRR415. - On 11/9/11, an Impact Analysis was posted. - On 11/17/11, PRS considered the 10/20/11 PRS Report and Impact Analysis for NPRR415. - On 12/1/11, TAC considered NPRR415. - On 1/17/12, the ERCOT Board considered NPRR415. |  |  |
| PRS Decision |  | On 10/20/11, PRS unanimously voted to recommend approval of NPRR415 as submitted. All Market Segments were present for the vote. On 11/17/11, PRS unanimously voted to endorse and forward the 10/20/11 PRS Report and Impact Analysis for NPRR415 to TAC. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 10/20/11, there was no discussion. On 11/17/11, there was no discussion. |  |  |
| TAC Decision |  | On 12/1/11, TAC unanimously voted to recommend approval of NPRR415 as recommended by PRS in the 11/17/11 PRS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 12/1/11, there was no discussion. |  |  |
| Board Decision |  | On 1/17/12, the ERCOT Board approved NPRR415 as recommended by TAC in the 12/1/11 TAC Report. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Clarifies the use of the terms for scheduled and actual energy. |
|  | 2 | All Entities in the ERCOT Region benefit from consistent and clarified language. |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens on behalf of Nodal Protocol and Guides Resolution Task Force (NPGRTF) |
| E-mail Address | fowens@texasmpa.org |
| Company | Texas Municipal Power Agency |
| Phone Number | 936-873-1120 |
| Cell Number | 979-204-7725 |
| Market Segment | Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Protocol Language Revision

6.5.4	Inadvertent Energy Account

ERCOT shall track any differences between the scheduled energy and the actual metered value at each Direct Current Tie (DC Tie) in an “Inadvertent Energy Account” between ERCOT and each interconnected non-ERCOT Control Area.  ERCOT shall coordinate operation of each DC Tie with the DC Tie operator such that the Inadvertent Energy Account is maintained as close to zero as possible.  Corrections of inadvertent energy between ERCOT and the other NERC-interconnected non-ERCOT Control Areas must comply with the NERC scheduling protocols and the ERCOT Operating Guides.  ERCOT shall establish procedures to correct Inadvertent Energy Accounts with non-ERCOT Control Areas that are not subject to NERC scheduling protocols.