| NPRR Number | 394 | NPRR Title | Outage Reporting |
| --- | --- | --- | --- |
| Date |  | December 20, 2011 |  |
| Submitter’s Information |  |  |  |
| Name |  | Yvette M. Landin |  |
| E-mail Address |  | ylandin@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | 512-248-4513 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

After review, ERCOT identified identical language in both the definition of Forced Derate and in Section 3.1.4.8, Deratings.  To avoid unintended conflicts or contradictory language in the future, ERCOT submits these comments remove the redundant language from Section 3.1.4.8 and to clarify the purpose of the section by renaming it to “Reporting of Forced Derates”.

Revised Proposed Protocol Language

- 2.1	Definitions

- Forced Derate

The portion of the Resource removed from service when the derating exceeds the greater of ten MW or five percent of its seasonal net maximum sustainable rating provided through the Resource registration process.  For Qualified Scheduling Entities (QSEs) representing Wind-powered Generation Resources (WGRs), the loss of a portion of the capacity shall be due to the unavailability of a portion of the equipment and shall not include capacity changes due to changes in wind speed at the WGR facility.

- 3.1.4.8	Reporting of Forced Derates

The Resource Entity or its designee must enter Forced Derates that are expected to last more than 48 hours into the Outage Scheduler.