| SCR Number | 767 | SCR Title | Non-Spin Deployment Criteria |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | November 17, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Supporting Protocol or Guide Section(s) (if applicable) |  | None. |  |  |
| Other Document Reference/Source |  | None. |  |  |
| System Change Description |  | This System Change Request (SCR) adds the ability to deploy all On-Line Non-Spinning Reserve (Non-Spin). |  |  |
| Reason for System Change |  | The current deployment selection may either be done by a total MW requirement amount or by manual selection of Resources. Since only On-Line Resources providing Non-Spin can immediately inject additional capacity into Security-Constrained Economic Dispatch (SCED), it would be useful to have Non-Spin deployment from only On-Line Resources as an option. |  |  |
| Procedural History |  | - On 11/2/11, SCR767 and an Impact Analysis were posted. - On 11/17/11, PRS considered SCR767. |  |  |
| PRS Decision |  | On 11/17/11, PRS unanimously voted to table SCR767. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 11/17/11, ERCOT Staff noted that if Nodal Protocol Revision Request (NPRR) 426, Standing Non-Spin Deployment in the Operating Hour for Generation Resources Providing On-Line Non-Spin, is approved, SCR767 could be withdrawn. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Qualitative benefits: - Deployment of On-Line Resources first provides immediate additional capacity to SCED and may prevent additional Resources from having to be deployed. This increases the reliability of the ERCOT System. |
|  | 2 | - No impact to consumers. |

| Sponsor |  |
| --- | --- |
| Name | Jeff Gilbertson |
| E-mail Address | jgilbertson@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6462 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Business Case for Proposed System Change

Issue:

During a discussion at a meeting of the Reliability Deployment Task Force (RDTF), ERCOT Staff stated that ERCOT would investigate the option of deploying Non-Spin from On-Line Resources as an initial step in resolving reliability issues.  This would have the benefit of minimizing the change in Locational Marginal Prices (LMPs) due to Low Sustained Limit (LSL) injection from Off-Line Non-Spin Resources as they come On-Line.

The current deployment selection may either be done by a total MW requirement amount or by manual selection of Resources.  Since only On-Line Resources providing Non-Spin can immediately inject additional capacity into SCED, it would be useful to have Non-Spin deployment from On-Line Resources only as an option.

Resolution:

An option to the Market Operator Interface will be added such that when activated, all currently On-Line Resources providing Non-Spin will be selected for deployment of Non-Spin.  This deployment mode will be remembered such that the system will continue to deploy only On-Line Non-Spin when the automatic redeployment feature is activated.