| NPRR Number | 435 | NPRR Title | Requirements for Energy Offer Curves in the Real Time SCED for Generation Resources Committed in RUC |
| --- | --- | --- | --- |
| Date |  | January 9, 2012 |  |
| Submitter’s Information |  |  |  |
| Name |  | Randy Jones |  |
| E-mail Address |  | rajones@calpine.com |  |
| Company |  | Calpine |  |
| Phone Number |  | 713.830.8846 |  |
| Cell Number |  | 832.385.3322 |  |
| Market Segment |  | Independent Generator |  |

Comments

Calpine appreciates the opportunity to comment on this important NPRR and applauds ERCOT staff’s initiative on it.  We believe that use of RUC commitments by the market operator can have serious short term impacts on price formation as well as long term suppression of the market’s forward price signals.  For those reasons we believe, as many stakeholders have already opined, that RUC commitments for system capacity must carry an energy component penalty factor reflecting the System-Wide Offer Cap in order to adequately incent firms to bring capacity to real time through the DAM or procure that capacity through bilateral arrangements. RUC commitments for local transmission congestion, on the other hand, will be properly price mitigated in the two-step SCED routine.  Calpine submits the language edit below in order to further these principles.

Revised Cover Page Language

None proposed.

Revised Proposed Protocol Language

6.4.3.1	Energy Offer Curve for RUC-Committed Resources

(1)	Prior to the end of the Adjustment Period for an Operating Hour during which a Generation Resource has been committed by ERCOT as part of a Reliability Unit Commitment (RUC) process, the QSE shall ensure that an Energy Offer Curve that prices all energy from LSL to HSL at  the System-Wide Offer Cap (SWCAP) in $/MWh, for the Operating Hours in the RUC commitment period, has been submitted and accepted by ERCOT.

(2) 	If the QSE receives a RUC Dispatch Instruction from ERCOT for its Generation Resource during the Operating Period that includes a RUC-Committed Hour, then the QSE shall be exempt from the submission timeline requirement specified in paragraph (1) above and shall instead submit the required Energy Offer Curve as soon as reasonably practicable after receipt of the RUC Dispatch Instruction.

(3)	The requirement in paragraph (1) above is not applicable for Weekly Reliability Unit Commitment (WRUC)-instructed hours during which the Resource was Day-Ahead Market (DAM)-committed or QSE self-committed.