| NPRR Number | 394 | NPRR Title | Outage Reporting |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | December 15, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Sections Requiring Revision |  | 2.1, Definitions 3.1.4.8, Deratings |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) clarifies that material derates for Resources are greater than 10MW. |  |  |
| Reason for Revision |  | The proposed language clarifies the Nodal Protocols and relieves Market Participants and ERCOT from undue distraction for reporting that provides little value to system reliability. Section 8.6.3, Deratings, of the zonal Protocols had similar language that apparently was overlooked as the Nodal Protocols were developed. “The Resource Entity or its designee must enter material deratings that are expected to last more than forty-eight (48) hours in the ERCOT Outage Scheduler. A derating is considered to be material when the Resource’s capability is reduced by the greater of ten percent (10%) or 10 MW due to the loss of auxiliary equipment or other known conditions. ERCOT will consider the Resource’s capability as the lesser of the latest seasonal net capability test, or the asset registration submittal.” |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 7/14/11, NPRR394 was posted. - On 7/27/11, ERCOT comments were posted. - On 8/18/11, PRS considered NPRR394. - On 9/15/11, WMS comments were posted. - On 10/12/11, Luminant Energy comments were posted. - On 10/12/11, a second set of ERCOT comments were posted. - On 10/17/11, a second set of WMS comments were posted. - On 10/17/11, a third set of ERCOT comments were posted. - On 11/9/11, a third set of WMS comments were posted. - On 11/11/11, a fourth set of ERCOT comments were posted. - On 11/17/11, PRS again considered NPRR394. - On 12/15/11, PRS again considered NPRR394. |  |  |
| PRS Decision |  | On 8/18/11, PRS unanimously voted to table NPRR394. All Market Segments were present for the vote. On 11/17/11, PRS unanimously voted to table NPRR394. All Market Segments were present for the vote. On 12/15/11, PRS unanimously voted to table NPRR394 for one month. All Market Segments were present for the vote. |  |  |
| Summary of PRS Discussion |  | On 8/18/11, the 7/27/11 ERCOT comments were discussed. It was suggested that the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG) should review NPRR394 to determine if the amount of derated MWs not reported to ERCOT could double as a result of this change. On 11/17/11, there was no discussion. On 12/15/11, it was noted that further review of NPRR394 is needed due to the recent rejection of NPRR418, Reporting of Resource Forced Outages. |  |  |

Business Case

| Business Case | 1 | - Reduces calls to ERCOT Real-Time Operations Staff for derates that are not material. |
| --- | --- | --- |
|  | 2 | - Removes a low value activity from ERCOT and Market Participant Real-Time operators. |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Marguerite Wagner |
| E-mail Address | mwagner@edisonmission.com |
| Company | Edison Mission Marketing & Trading |
| Phone Number | 617-529-3127 |
| Cell Number |  |
| Market Segment | Independent Generator |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 072711 | Recommended rejection of NPRR394. |
| WMS 091511 | Recommended tabling NPRR394 to allow time for QMWG to review derate data. |
| Luminant Energy 101211 | Proposed language changes to simplify the Resource derate reporting requirement. |
| ERCOT 101211 | Proposed language changes to revise the reporting criteria and to reduce the reporting error in the reporting process. |
| WMS 101711 | Recommended tabling to allow further review and discussion. |
| ERCOT 101711 | Proposed language changes to revise the definition of Forced Derate. |
| WMS 110911 | Endorsed the 10/17/11 ERCOT comments. |
| ERCOT 111111 | Proposed language changes to further clarify the definition of Forced Derate. |

Comments

Please note that NPRR190, Clarification of Resource Definitions and Resource Registration of Self-Serve Generators for Reliability Purposes, also proposes revisions to Section 3.1.4.8.

Proposed Protocol Language Revision

- 2.1	Definitions

- Forced Derate

The portion of the Resource removed from service must exceed two percent of its prior High Sustained Limit (HSL) for Generation Resources larger than 500 MW and the maximum of ten percent of its prior HSL or ten MW for Generation Resources smaller than 500 MW.  For Qualified Scheduling Entities (QSEs) representing Wind-powered Generation Resources (WGRs), the loss of a portion of the capacity shall be due to the unavailability of a portion of the equipment and shall not include capacity changes due to changes in wind speed at the WGR facility.  For QSEs representing WGRs, the percentage calculation will be determined using the seasonal net maximum sustainable rating of the WGR.

- 3.1.4.8	Deratings

The Resource Entity or its designee must enter material deratings that are expected to last more than 48 hours in the ERCOT Outage Scheduler.  A derating is considered to be material when the Resource’s capability is reduced by two percent of its prior High Sustained Limit (HSL) for Generation Resources larger than 500 MW and the maximum of ten percent of its prior HSL or ten MW for Generation Resources smaller than 500 MW.  For QSEs representing Wind-powered Generation Resources (WGRs), the loss of a portion of the capacity shall be due to the unavailability of a portion of the equipment and shall not include capacity changes due to changes in wind speed at the WGR facility.  For QSEs representing WGRs, the percentage calculation will be determined using the seasonal net maximum sustainable rating of the WGR.  ERCOT will consider the Resource’s capability as the lesser of the latest seasonal Net Dependable Capability test, or the resource registration process.