Metering Working Group Meeting Notes

January 25, 2012

10:00 AM – 10:30 AM

Conference Call

- Reading of ERCOT Anti-Trust Rules                                                Jonathan Levine

Read the ERCOT Anti-Trust admonition to open the meeting.

- Review of Settlement Metering Operating Guide Revision Request (SMOGRR) 012, Synchronization with NPRR374, Modification of SCR Process and Urgency Requirements                    	Jonathan Levine

Reviewed SMOGRR012 and consensus was reached where the word “reasonably” as opposed to “imminent” in Section 10.6 (1) will be kept.

With this change, there was consensus to recommend approval of SMOGRR012.  The Impact Analysis review will be performed by e-mail.

- MWG Leadership for 2012                                                	    	   Don Tucker

Ms. Dotty Disanto will be approached to determine if she is willing to continue remaining as chairperson of the MWG. If she accepts to keep her post, Mark Rollins agreed to keep the vice chairperson position. If Dotty does not wish to remain as chairperson, Mark Rollins indicated he is open to taking the chairperson role for 2012. 

Ms. Disanto later confirmed by e-mail that she agrees to stay as chairperson of the MWG for another year. The 2012 leadership roster will then be submitted to MWS for ratification.

- Re-certification process for CCVTs                             	    	   Mark Rollins

The Protocol requirement for accuracy testing of CCVTs hitting a 5-year milestone was discussed.   The “as-found” test results from the TDSP accuracy tests of CCVT’s that are removed from service can be evaluated to help determine if the 5-year re-certification requirement should be revisited.   To help facilitate this discussion, Mark Rollins will remind TDSPs of the need to provide ERCOT with the CCVT “as-found” test data.  The continued documentation of this data will assist the MWG in making a decision.  A future meeting date will be set to discuss this topic.

5.   Meeting Wrap-up 	         Mark Rollins