| NPRR Number | 437 | NPRR Title | Allow Aggregation of Multiple Generators Into A Single Resource For Market and Engineering Modeling |
| --- | --- | --- | --- |
| Date | January 30, 2012 |
| Submitter’s Information |
| Name | Michael Juricek |
| E-mail Address | michael.juricek@oncor.com |
| Company | Oncor Electric Delivery |
| Phone Number | 214.743.6671 |
| Cell Number | 214.490.0748 |
| Market Segment | Investor Owned Utility (IOU) |

Comments

This NPRR does not address all of the issues associated with an Aggregate Generation Resource (AGR).  If a proposed generation resource’s output is 10 MW or greater and is interconnecting to the ERCOT transmission system, it must go through the generation interconnection process.  Will a 10 MW or greater AGR go through the interconnection process?  The Protocols require a prescribed amount of reactive power capability for a generation resource and voltage support responsibility.  Do these requirements apply to an AGR?  Does the resource asset registration process and spreadsheet need to be changed to accommodate an AGR?  New generation resources must meet certain requirements before ERCOT is satisfied the reliability of transmission system is not compromised before they will allow the generation resource to interconnect with the transmission system.  Do these same requirements apply to an AGR?  Even if this NPRR is approved, will ERCOT allow an AGR to interconnect with the ERCOT transmission system prior to these other issues being resolved?

Revised Cover Page Language

None at this time

Revised Proposed Protocol Language

None at this time