## Slide 1: Protocol Revision Subcommittee
Tom Burke
February 2, 2012

## Slide 2
Summary of Revision Requests
12 NPRRs Recommended for Approval
1 NPRR (SCR) Withdrawn

## Slide 3: Items for a Vote
Unopposed Recommendations
  NPRR393, SCED Constraint Management Transparency [J. Aron]
  NPRR397, Balance of the Day Ancillary Service Market [Morgan Stanley]
  NPRR402, Clarification of Pre-DAM RUC Instruction Sequence [ERCOT]*
  NPRR419, Revise Real-Time Energy Imbalance and RMR Adjustment Charge [ERCOT]
  NPRR424, Reactive Capability Testing Requirements for IRRs [ERCOT]*
  NPRR430, Corrections Related to NPRR357, Revisions to Collateral Requirements Concerning CRR Auctions, and Clarification to Collateral Requirements [ERCOT]*
  NPRR431, Board Priority Revision Requests [ERCOT]*
  NPRR437, Allow Aggregation of Multiple Generators Into A Single Resource For Market and Engineering Modeling [ERCOT]
  (* denotes no impacts)
Notes: 3

## Slide 4: Items for a Vote
Non-Unanimous Recommendations
  NPRR421, Clarification of RMR Notifications [Edison Mission]
  NPRR432, Deployment of Resources to Alleviate Imminent Emergency Conditions [ERCOT] – Urgent*
  NPRR434, Increase the Capacity Limitation of a Generation Resource Providing RRS [RDTF] – Urgent
  NPRR435, Requirements for Energy Offer Curves in the Real Time SCED for Generation Resources Committed in RUC [ERCOT] – Urgent*
Withdrawals (no vote needed)
  SCR767, Non-Spin Deployment Criteria [ERCOT]
  (* denotes no impacts)
Notes: 4

## Slide 5: NPRR Descriptions
NPRRs Recommended for Approval

## Slide 6: NPRR393, SCED Constraint Management Transparency
Purpose (J. Aron) | This NPRR creates a reporting requirement to provide transparency into SCED constraint management decisions.
PRS Vote | On 8/18/11, PRS unanimously voted to recommend approval of NPRR393 as submitted. On 12/15/11 PRS voted to endorse the 8/18/11 PRS Report as amended by the 9/14/11 J. Aron comments and the 11/17/11 Luminant Energy comments and as revised by PRS; and to bring the Impact Analysis back to PRS for consideration. There were two abstentions from the Independent Generator and Consumer Market Segments. On 1/19/12, PRS unanimously voted to endorse and forward the 12/15/11 PRS Report as amended by the 1/16/12 ERCOT comments and as revised by PRS and Impact Analysis for NPRR393 to TAC; and to recommend a priority of 2012 and rank of 660.
Effective Date/Priority | Upon system implementation and fulfillment of ERCOT staffing requirements – Priority 2012; Rank 660
ERCOT Impact | $80k - $85k (system implementation); $110k - $130M (annual recurring O&M); staffing impacts of one FTE for Operations Support; impacts to MIS, ISM, EMS; business functions will need to be updated to implement posting and redaction requirements.
Business Case Highlights | Increased transparency of Real-Time transmission constraint management; improved review of Real-Time transmission constraint management processes; Increased liquidity in the bilateral market.
Notes: 6

## Slide 7: NPRR397, Balance of the Day Ancillary Service Market
Purpose (Morgan Stanley) | This NPRR allows the SASM to be operated as a balance of the day market for Ancillary Services.
PRS Vote | On 12/15/11, PRS unanimously voted to recommend approval of NPRR397 as amended by the 12/8/11 ERCOT comments and as revised by PRS. On 1/19/12, PRS voted to endorse and forward the 12/15/11 PRS Report and Impact Analysis for NPRR397 to TAC. There was one abstention from the Consumer Market Segment.
Effective Date/Priority | Upon System Implementation – Priority 2012; Rank 640
ERCOT Impact | $20k - $25k; staffing impacts absorbed by existing ERCOT staff; impacts to MMS; business functions will need to be updated; control room procedures will need to be updated
Business Case Highlights | Greater efficiency in the Ancillary Services market; greater market efficiency; reduced risk on Ancillary Service providers; benefit consumers through. lower Ancillary Service prices
Notes: 7

## Slide 8: NPRR402, Clarification of pre-DAM RUC Instruction Sequence
Purpose (ERCOT) | This NPRR clarifies the treatment of RUC instructions for instances in which ERCOT issues instructions prior to the closing of the DAM submission window and to clarify how a QSE may self-commit in such a scenario.
PRS Vote | On 12/15/11, PRS unanimously voted to recommend approval of NPRR402 as amended by the 12/6/11 ERCOT comments. On 1/19/12, PRS voted to endorse and forward the 12/15/11 PRS Report as revised by PRS and Impact Analysis for NPRR402 to TAC. There was one abstention from the Consumer Market Segment.
Effective Date/Priority | May 1, 2012
ERCOT Impact | No impacts.
Business Case Highlights | Provides clarification of QSE actions when receiving pre-DAM RUC instructions and the Settlement treatment thereof.
Notes: 8

## Slide 9: NPRR419, Revise Real-Time Energy Imbalance and RMR Adjustment Charge
Purpose (ERCOT) | This NPRR revises the Real-Time Energy Imbalance equations to determine intermediate data elements for the Resource’s share of the generation site total revenues; revises the Resource Node, Load Zone, and Hub Real-Time Energy Imbalance equations to determine volumetric imbalance for each QSE and Settlement Point; and revises the RMR Adjustment Charge to charge the QSE for the revenues paid in accordance with the energy imbalance calculation.
PRS Vote | On 12/15/11, PRS unanimously voted to recommend approval of NPRR419 as submitted. On 1/19/12, PRS unanimously voted to endorse and forward the 12/15/11 PRS Report and Impact Analysis for NPRR419 to TAC; and to recommend a priority of 2012 and rank of 650.
Effective Date/Priority | Upon System Implementation – Priority 2012; Rank 650
ERCOT Impact | $25k - $30k; ongoing O&M expense of $867/year; impacts to S&B;
Business Case Highlights | Provides more transparency into the Real-Time energy imbalance calculations.
Notes: 9

## Slide 10: NPRR421, Clarification of RMR Notifications
Purpose (Edison Mission) | This NPRR updates the Protocols to ensure that ERCOT issues Market Notices to Market Participants contemporaneously with ERCOT’s activities with RMR Unit and MRA Resource owners.
PRS Vote | On 11/17/11, PRS voted to recommend approval of NPRR421 as amended by the 11/9/11 Luminant Energy comments and as revised by PRS. There were two opposing votes from the IOU and IREP Market Segments and one abstention from the Municipal Market Segment. On 1/9/12, PRS voted to endorse and forward the 11/17/11 PRS Report and Impact Analysis for NPRR421 to TAC. There were three abstentions from the Municipal (2) and Consumer Market Segments.
Effective Date/Priority | Upon fulfillment of ERCOT staffing requirements.
ERCOT Impact | $100k - $130k (annual recurring O&M); staffing impacts of 1.25 FTEs for Operations Analysis (requires one FTE) and Wholesale Client Services (0.25 FTE to be absorbed by current staff); business functions will need to be updated.
Business Case Highlights | Makes more information available regarding ERCOT RMR activities in a timely manner; increased parity of information across all affected Market Participants; more transparency about need for RMR Units; mitigate situations where certain Resource owners have RMR information prior to CRR Auctions.
Notes: 10

## Slide 11: NPRR424, Reactive Capability Testing Requirements for IRRs
Purpose (ERCOT) | This NPRR defines the reactive capability testing requirement for IRRs.
PRS Vote | On 12/15/11, PRS voted to recommend approval of NPRR424 as amended by the 12/8/11 ERCOT comments. There was one abstention from the Consumer Market Segment. On 1/19/12, PRS unanimously voted to endorse and forward the 12/15/11 PRS Report as revised by PRS and Impact Analysis for NPRR424 to TAC.
Effective Date/Priority | May 1, 2012
ERCOT Impact | No Impacts.
Business Case Highlights | Clarifies testing requirements for IRRs providing VSS.
Notes: 11

## Slide 12: NPRR430, Corrections Related to NPRR 357, Revisions to Collateral Requirements Concerning CRR Auctions, and Clarification to Collateral Requirements
Purpose (ERCOT) | This NPRR clarifies the collateral requirements for CRR Account Holders and Counter-Parties who participate in the CRR market.
PRS Vote | On 12/15/11, PRS unanimously voted to recommend approval of NPRR430 as revised by PRS and to request that ERCOT Staff develop a revised white paper for submission as a proposed Other Binding Document. On 1/19/12, PRS voted to endorse and forward the 12/15/11 PRS Report and revised Impact Analysis for NPRR430 to TAC and to recommend approval of the draft Credit Formulas and Detail Whitepaper for the Day-Ahead Market and Congestion Revenue Rights Auction as revised by PRS as an Other Binding Document. There was one abstention from the Consumer Market Segment.
Effective Date/Priority | Upon System Implementation of NPRR 357.
ERCOT Impact | No impacts (impacts captured in NPRR357)
Business Case Highlights | Prevents the overstating of credit risk by correcting formula.
Notes: 12

## Slide 13: NPRR431, Board Priority Revision Requests
Purpose (ERCOT) | This NPRR proposes a unique status for Revision Requests to designate ERCOT Board priority action items – Board Priority Revision Request. This NPRR also requires ERCOT’s opinion on a Revision Request in the TAC recommendation to the ERCOT Board.
PRS Vote | On 12/15/11, PRS unanimously voted to recommend approval of NPRR431 as amended by the 12/9/11 ERCOT comments. On 1/19/12, PRS unanimously voted to endorse and forward the 12/15/11 PRS Report and Impact Analysis for NPRR431 to TAC.
Effective Date/Priority | May 1, 2012
ERCOT Impact | No impact.
Business Case Highlights | Designates ERCOT Board priority action items to advance ERCOT Board directives; and inclusion of ERCOT’s opinion on all Revision Requests.
Notes: 13

## Slide 14: NPRR432, Deployment of Resources to Alleviate Imminent Emergency Conditions - Urgent
Purpose (ERCOT) | This NPRR institutes parameters governing ERCOT’s utilization of emergency authority when ERCOT seeks to deploy Resources to maintain ERCOT System reliability when Emergency Conditions appear imminent; and provides a process for ERCOT to procure and deploy Resources that may be used to alleviate imminent Emergency Conditions in a manner not otherwise delineated in the Protocols and Operating Guides, and requires that such procurements be made only upon approval of the ERCOT Board.
PRS Vote | On 1/9/12, PRS voted to recommend approval of NPRR432 as amended by the 1/6/12 ERCOT comments and as revised by PRS and to direct that NPRR432 return to the 1/19/12 PRS meeting for consideration. There was one opposing vote from the Independent Generator Market Segment and two abstentions from the Independent Generator and Municipal Market Segments. On 1/19/12, PRS voted to endorse and forward the 1/9/12 PRS Report and Impact Analysis for NPRR432 to TAC. There were three opposing votes from the Independent Generator (2) and IPM Market Segments and two abstentions from the Municipal and IPM Market Segments.
Effective Date/Priority | March 1, 2012
ERCOT Impact | No impacts (minor impacts to ERCOT Legal and Settlements and Billing departments absorbed by existing staff)
Business Case Highlights | Prescribes the process for procuring Resources to alleviate imminent Emergency Conditions; and describes the dispatch process for Generation Resources in order to minimize market impacts.
Notes: 14

## Slide 15: NPRR434, Increase the Capacity Limitation of a Generation Resource Providing RRS - Urgent
Purpose (RDTF) | This NPRR increases the amount of RRS that can be supplied by a Generation Resource to 24%.
PRS Vote | On 1/19/12, PRS voted via roll call vote to recommend approval of NPRR434 as amended by the 1/10/12 PDCWG comments. There were five opposing votes from the IOU, Independent Generator (3), and IPM Market Segments and two abstentions from the Independent Generator and IPM Market Segments. PRS then voted to grant NPRR434 Urgent status, to forward NPRR434 to TAC and to recommend TAC consider NPRR434 with the proposed changes to the ERCOT Methodologies for Determining Ancillary Service. There was one abstention from the Independent Generator Market Segment.
Effective Date/Priority | Upon System Implementation – Priority/Rank TBD
ERCOT Impact | $70k - $80k; impacts to EMS; business functions will need to be updated.
Business Case Highlights | Allows the transfer of 500 MW of Non-Spin Service to RRS without a substantial increase in unit commitments for RRS that would artificially depress Real-Time LMPs due to excess capacity On-Line.
Notes: 15

## Slide 16: NPRR435, Requirements for Energy Offer Curves in the Real Time SCED for Generation Resources Committed in the RUC - Urgent
Purpose (ERCOT) | This NPRR adds a requirement for the QSE of a Generation Resource committed by the RUC process to submit an Energy Offer Curve that prices all energy from LSL to HSL at the SWCAP for RUC-Committed Intervals.
PRS Vote | On 1/19/12, PRS voted to recommend approval of NPRR435 as amended by the 1/12/12 WMS comments and as revised by PRS and to forward NPRR435 to TAC. There were two opposing votes from the Cooperative and Consumer Market Segments and three abstentions from the IPM, Consumer and Municipal Market Segments.
Effective Date/Priority | March 1, 2012
ERCOT Impact | No impacts.
Business Case Highlights | Mitigates price suppression due to capacity brought on by RUC and more accurately reflects the value of the extra capacity opened up to SCED; also has effect of minimizing displacement of competitive market Resources due to energy from the-RUC committed Resources.
Notes: 16

## Slide 17: NPRR437, Allow Aggregation of Multiple Generators Into A Single Resource For Market and Engineering Modeling - Urgent
Purpose (ERCOT) | This NPRR will allow aggregation of similar qualified non-wind-powered generators into an Aggregate Generation Resource (AGR) for market and engineering modeling purposes.
PRS Vote | On 1/30/12, PRS unanimously voted to recommend approval of NPRR437 as revised by PRS with a recommended priority of 2012 and a rank of 355; and to forward NPRR437 to TAC.
Effective Date/Priority | Upon System Implementation – Priority 2012; Rank 355
ERCOT Impact | Between $60k - $80k; impacts to RARF, EMS, NMMS, S&B, and CSI; business process impacts to ERCOT Settlements & Billing to perform manual work around.
Business Case Highlights | Simplifies registration, modeling, telemetry, submittals and Settlements with no impact to reliability; reduces need to expand the number of ICCP point significantly; streamlines registration of potential MW for this summer.
Notes: 17

## Slide 18
Other Binding Documents
In conjunction with NPRR430, PRS recommended approval of the draft Credit Formulas and Detail Whitepaper for the Day-Ahead Market and Congestion Revenue Rights Auction as revised by PRS as an Other Binding Document. There was one abstention from the Consumer Market Segment.