## Slide 1: Reliability and Operations Subcommittee Report
2/2/2012

## Slide 2: Planning Guide and Nodal Operating Guides
ROS Recommendation for Approval:
PGRR010, New Planning Guide Section 6.7, ERCOT Data Dictionary
PGRR012, Dynamics Working Group Guidelines
PGRR013, New Section 6.3, Process for Developing Short Circuit Cases (Portion of SPWG Procedures)
PGRR014, Synchronization with NPRR374, Modification of SCR Process and Urgency Requirements
NOGRR080, Inadvertent Interchange and Inadvertent Energy Clarification
NOGRR081, Synchronization with NPRR374, Modification of SCR Process and Urgency Requirements
NOGRR083, Removal of Reporting Requirements for Vegetation-Related Line Outages

## Slide 3: Status Update on SCR760 Changes Needed for Information Model Manager and Topology Processor for Planning Models
SCR Sub Part | SCR Description | Bundle | Status
SCR760-3 | Zero Impedance Line Ratings | 1 | Production
SCR760-7 | Assign valid PSSE IDs to Breakers/Switches/ Series Devices |  | Production
SCR760-8 | Phase shift of Autos for short circuit studies |  | Production
SCR760-2 | Distribution Capacitor banks | 2 | Release
SCR760-4 | Associate Loads and Capacitor banks with the correct CNG |  | Release
SCR760-9 | Multi-section Line Grouping |  | Release
SOW signed by both Vendor and ERCOT. Code release received mid- December 2011. Release testing is underway. Production date still expected to be the February 2012 on-cycle release. |  |  | 
SCR760-1 | Upgrade to PSS/E v32 | 3 | Planning
SCR760-6 | FACTS Devices |  | Submitted
ERCOT and TSPs have identified new fields or records added between version 33 and version 30 of the PSS/E RAWD format. The evaluation process for Item 1 has been added to the SSWG Procedure Manual currently being updated. |  |  | 
SCR760-5 | Additional Transformer Data for Planning |  | Planning
Requirements completed by ERCOT and TSPs and agreed upon with vendor. Awaiting vendor estimate on cost for implementation so that SOW can be prepared. |  |  |