| NPRR Number | 334 | NPRR Title | Incorporate Resource Limit for the Amount of Regulation Service that may be Provided from a Generation Resource During any Operating Hour |
| --- | --- | --- | --- |
| Date |  | February 1, 2012 |  |
| Submitter’s Information |  |  |  |
| Name |  | John Dumas; Resmi Surendran |  |
| Company |  | jdumas@ercot.com; rsurendran@ercot.com |  |
| E-mail Address |  | ERCOT |  |
| Phone Number |  | 512-248-3195; 512-248-3033 |  |
| Cell Number |  | 512-913-9399; 512-289-7131 |  |
| Market Segment |  | N/A |  |

Reason for Request for Withdrawal

Pursuant to Protocol Section 21.4.2, Withdrawal of a Nodal Protocol Revision Request, ERCOT is submitting this Request for Withdrawal as the original sponsor of Nodal Protocol Revision Request (NPRR) 334.

It is ERCOT’s opinion that limiting Regulation Ancillary Service Resource Responsibility as proposed in NPRR334 could help assure the deliverability of this service.  However, ERCOT will continue to monitor Qualified Scheduling Entity (QSE) performance as described in Protocol Section 8, Performance Monitoring, and evaluate if additional Protocol changes are needed at a later date.  Therefore, ERCOT hereby withdraws NPRR334.

See appeal submitted by ERCOT (August 31, 2011)