| NPRR Number | 405 | NPRR Title | Clarification of DC Tie Load into Operational Systems and Processes |
| --- | --- | --- | --- |
| Date |  | January 27, 2012 |  |
| Submitter’s Information |  |  |  |
| Name |  | Brandon Whittle |  |
| E-mail Address |  | Brandon.whittle@stratusenergy.com |  |
| Company |  | Pattern Energy Group, LP |  |
| Phone Number |  |  |  |
| Cell Number |  | 512-422-9063 |  |
| Market Segment |  | Independent Generator |  |

Comments

Pattern Energy Group, LP, supports what it believes to be the intent of NPRR405 – to preserve and clarify existing operational practices and expectations regarding the use of DC Ties for exports.

Pattern Energy Group, LP supports the comments made by both ERCOT 1/11/12 and CPS Energy 1/27/12 and encourages TAC to approve the CPS Energy 1/27/12 comments.

Revised Proposed Protocol Language

- None.