| NOGRR Number | 083 | NOGRR Title | Removal of Reporting Requirements for Vegetation-Related Line Outages |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Approved |
| Date of Decision |  | February |  |  |
| Effective Date |  | March 1, 2012 |  |  |
| Priority and Rank Assigned |  | Not applicable. |  |  |
| Nodal Operating Guide Sections Requiring Revision |  | 3.7.2, NERC Requirements for Reporting Vegetation-Related Line Outages (delete) 3.7.3, Responsibility for Equipment Ratings |  |  |
| Protocol Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) deletes Section 3.7.2, which requires Transmission Operators (TOs) to report 345 kV transmission-related Outages to the Texas Reliability Entity (Texas RE). |  |  |
| Reason for Revision |  | Requirements for reporting vegetation-related transmission Outages exist in the North American Electric Reliability Corporation (NERC) Reliability Standard, FAC-003-01, Transmission Vegetation Management Program, and the Texas RE procedures; therefore, Section 3.7.2 is not necessary. |  |  |
| Procedural History |  | - On 10/10/11, NOGRR083 was posted. - On 11/14/11, the Operations Working Group (OWG) considered NOGRR083. - On 12/6/11, an Impact Analysis was posted. - On 12/14/11, OWG considered the 11/14/11 OWG Report and Impact Analysis for NOGRR083. - On 1/12/12, ROS considered NOGRR083. - On 2/2/12, TAC considered NOGRR083. |  |  |
| OWG Decision |  | On 11/14/11, the OWG was in consensus to recommend approval of NOGRR083 as submitted. On 12/14/11, the OWG was in consensus to endorse and forward the 11/14/11 OWG Report and Impact Analysis for NOGRR083 to ROS. |  |  |
| Summary of OWG Discussion |  | On 11/14/11, it was noted that the requirement for reporting vegetation-related transmission Outages exists in the NERC Reliability Standards and that duplicating language in the Operating Guides could lead to inconsistencies and/or conflicts with the NERC Reliability Standards should they be revised. Modifications were made to include additional information for the Business Case. On 12/14/11, there was no discussion. |  |  |
| ROS Decision |  | On 1/12/12, ROS unanimously voted to recommend approval of NOGRR083 as recommended by OWG in the 12/14/11 OWG Report. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 1/12/12, there was no discussion. |  |  |
| TAC Decision |  | On 2/2/12, TAC unanimously voted to approve NOGRR083 as recommended by ROS in the 1/12/12 ROS Report. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 2/2/12, there was no discussion. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Market Benefits: - The Transmission Owners are required by the NERC standards to submit vegetation Outage information to Texas RE and it is unnecessary to duplicate the requirement in the Operating Guides. - Duplicating language in the Operating Guides that exists in the NERC Reliability Standards could lead to inconsistencies and/or conflicts with the NERC Reliability Standards as they are revised. |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens on behalf of the Nodal Protocol and Guides Resolution Task Force (NPGRTF) |
| E-mail Address | fowens@texasmpa.org |
| Company | Texas Municipal Power Agency |
| Phone Number | 936-873-1120 |
| Cell Number | 979-204-7725 |
| Market Segment | Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Comments

Please note that the baseline Nodal Operating Guide language in Section 3.7.3 has been updated due to the incorporation of NOGRR074, Clarified Responsible Entities for Reporting Sabotage Information to NERC, into the January 1, 2012 Nodal Operating Guides.

Proposed Guide Language Revision

- 3.7.3	Responsibility for Equipment Ratings

(1)	TSPs are responsible for determining the Rating of their Facilities and shall send the methodology used to ERCOT in accordance with paragraph (3) of Protocol Section 3.10, Network Operations Modeling and Telemetry.  Technical limits established for the operation of Transmission Elements and associated equipment shall be applied consistently in engineering and planning studies, Real-Time security analyses, and operator actions.

(2)	TSPs shall provide to ERCOT all nominal Transmission Element Ratings.

(3)	In operating the ERCOT Transmission Grid, ERCOT shall use these Ratings as follows:

(a)	ERCOT shall limit pre-contingency flows to enforce the Normal Rating.

(b)	If a valid Remedial Action Plan (RAP) is unavailable to unload the Transmission Element post contingency or the pre-contingency loading is greater than 90% of the Normal Rating, ERCOT shall enforce pre-contingency system operating limit(s) to control the post contingency loading of the Transmission Element to levels below the Emergency Rating.  The enforcement shall be implemented in a manner such that the post contingency loading will be at, or below, Normal Rating within two hours.

(c)	If a RAP is documented at ERCOT to relieve the loading on the Transmission Element within 15 minutes, ERCOT shall enforce pre-contingency system operating limit(s) to control the post contingency loading of the Transmission Element to levels below the 15-Minute Rating.  The enforcement shall be implemented in a manner such that the post-contingency loading will be at, or below, Emergency Rating within 15 minutes.

(d)	ERCOT shall use best efforts to restore all Transmission Elements to within Normal Ratings as soon as practicable, based on Good Utility Practice.