| NPRR Number | 434 | NPRR Title | Increase the Capacity Limitation of a Generation Resource Providing RRS |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Recommended Approval |
| Date of Decision |  | February 2, 2012 |  |  |
| Proposed Effective Date |  | Upon System Implementation |  |  |
| Priority and Rank Assigned |  | . Priority – 2012; Rank – 95 |  |  |
| Nodal Protocol Sections Requiring Revision |  | 3.16, Standards for Determining Ancillary Service Quantities 3.18, Resource Limits in Providing Ancillary Service |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) increases the amount of Responsive Reserve (RRS) that can be supplied by a Generation Resource to 24%. |  |  |
| Reason for Revision |  | This revision is required due to the changes in the ERCOT Methodologies for Determining Ancillary Services Requirements of moving 500 MW of Non-Spinning Reserve (Non-Spin) Service to RRS. That change could require additional Generation Resources to provide the service and to be On-Line in Real-Time. This could raise the Market Clearing Price for Capacity (MCPC) of RRS and suppress Real-Time Locational Marginal Prices (LMPs). |  |  |
| Credit Impacts |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR434 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |  |
| Procedural History |  | - On 12/27/11, NPRR434 was posted. - On 1/10/12, the Performance, Disturbance, Compliance Working Group (PDCWG) comments were posted. - On 1/12/12, ERCOT comments were posted. - On 1/16/12, ROS comments were posted. - On 1/19/12, PRS considered NPRR434. - On 2/1/12, a second set of ERCOT comments were posted. - On 2/1/12, an Impact Analysis was posted. - On 2/2/12, TAC considered NPRR434. |  |  |
| PRS Decision |  | On 1/19/12, PRS voted via roll call vote to recommended approval of NPRR434 as amended by the 1/10/12 PDCWG comments. There were five opposing votes from the Independent Generator (3), Independent Power Marketer (IPM), and Investor Owned Utility (IOU) Market Segments and two abstentions from the Independent Generator and IPM Market Segments. PRS then voted to grant NPRR434 Urgent status and recommend TAC consider NPRR434 with the proposed changes to the ERCOT Methodologies for Determining Ancillary Service Requirements. There was one abstention from the Independent Generator Market Segment. All Market Segments were present for the votes. |  |  |
| Summary of PRS Discussion |  | On 1/19/12, participants discussed the 1/10/12 PDCWG comments and the RRS capacity limit (24% vs. 28%). ERCOT Staff expressed concern in reference to increasing the threshold due to past experiences with Generators Resources having difficulty getting to 20%. ERCOT Staff also noted that increasing the amount of RRS that a Generation Resource can carry will require a system change. |  |  |
| TAC Decision |  | On 2/2/12, TAC voted to recommend approval of NPRR434 as recommended by PRS in the 1/19/12 PRS Report and to recommend a priority of 2012 and rank of 95. There was one opposing vote from the Consumer Market Segment. All Market Segments were present for the vote. |  |  |
| Summary of TAC Discussion |  | On 2/2/12, ERCOT Staff reviewed the 2/1/12 ERCOT comments and the Impact Analysis. Participants discussed the relation to proposed procurement changes in the Ancillary Services Methodology and recommended a priority to reflect their desire to have NPRR434 in place this summer. It was also requested that a market notice be sent prior to the implementation of NPRR434. |  |  |
| ERCOT Opinion |  | ERCOT supports the 1/19/12 PRS recommendation which increases the threshold for Generation Resources providing RRS to 24% from the current 20% threshold, when coupled with plans to increase the total amount of RRS procured to 2800 MW and to maintain equal participation from Load Resources. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | - Allows the transfer of 500 MW of Non-Spin Service to RRS without a substantial increase in unit commitments for RRS that would artificially depress Real-Time LMPs due to excess capacity On-Line. |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Robert Helton on behalf of the Reliability Deployment Task Force (RDTF) |
| E-mail Address | Robert.helton@gdfsuezna.com |
| Company | International Power GDF Suez NA |
| Phone Number | 713-636-1814 |
| Cell Number | 832-435-7815 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sonja B. Mingo |
| E-Mail Address | smingo@ercot.com |
| Phone Number | 512-248-6463 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| PDCWG 011012 | Recommended 24% RRS capacity limit for Generation Resources, and that limit be reduced to 20% in the event that 2800 MW of RRS is not procured due to market changes; and noted that in order for a 28% capacity limit to be successful, the maximum amount of RRS capacity carried by a Load Resource would need to be limited to 1150 MW. |
| ERCOT 011212 | Requested that the sponsor provide the technical basis for increasing the current 20% requirement to 28%; added language permitting ERCOT to perform unannounced RRS testing; and noted that any change from existing practice will require changes to ERCOT systems. . |
| ROS 011612 | Endorsed the 1/10/12 PDCWG comments and noted that a prior ROS motion to endorse NPRR434 as submitted, noting input from PDCWG regarding the feasibility of 28%, failed via roll call vote. |
| ERCOT 020112 | Noted support for a threshold increase to 24% when it is coupled with plans to increase the total amount of RRs procured to 2800MW and to maintain equal participation from Load Resources;that data did not indicate over-commitment would occur even if the threshold was maintained at 20% and that a study to re-evaluate the technical limit on the portion of RRS that can be provided by Load Resources is scheduled for completion in March 2012. |

Proposed Protocol Language Revision

3.16	Standards for Determining Ancillary Service Quantities

(1)	ERCOT shall comply with the requirements for determining Ancillary Service quantities as specified in these Protocols and the ERCOT Operating Guides.

(2)	ERCOT shall, at least annually, determine with supporting data, the methodology for determining the minimum quantity requirements for each Ancillary Service needed for reliability, including the percentage of Load Resources excluding Controllable Load Resources, the percentage of DC Tie, and the percentage of Controllable load Resources allowed to provide Responsive Reserve Service (RRS) calculated on a monthly basis.

(3)	The ERCOT Board shall review and approve ERCOT's methodology for determining the minimum Ancillary Service requirements and the monthly percentage of Load Resources, Controllable Load Resources and DC Ties allowed to provide RRS.

(4)	If ERCOT determines a need for additional Ancillary Service Resources under these Protocols or the ERCOT Operating Guides, after an Ancillary Service Plan for a specified day has been posted, ERCOT shall inform the market by posting notice on the MIS Secure Area, of ERCOT’s intent to procure additional Ancillary Service Resources under Section 6.4.8.2, Supplemental Ancillary Service Market.  ERCOT shall post the reliability reason for the increase in service requirements.

(5)	ERCOT shall post engineering studies on the MIS Secure Area representing specific Ancillary Service requirement on an annual basis.

(6)	The amount of Load Resources on high-set under-frequency relays providing RRS is limited to 50% of the total ERCOT RRS requirement.  ERCOT may reduce this limit if it believes that this amount will have a negative impact on reliability or if this limit would require additional Regulation to be deployed.

(7)	The amount of RRS that a QSE can self-arrange using a Load Resource excluding Controllable Load Resources is limited to the lower of:

(a)	fifty percent (50%) of its RRS Obligation, or

(b)	a reduced percentage of its RRS Obligation based on the limit established by ERCOT in paragraph (6) above.

(8)	However, a QSE may bid more of the Load Resource above the percentage limit established by ERCOT for sale of RRS to other Market Participants.  The total amount of Responsive Reserve Service using the Load Resource excluding Controllable Load Resources procured by ERCOT is also limited to the lesser of the 50% limit or the limit established by ERCOT in paragraph (6) above.

(9)	ERCOT shall update the RRS threshold %, defined in paragraph (3)(a) in Section 3.18, Resource Limits in Providing Ancillary Service, in the event that the total amount of RRS procured changes.  RRS must have minimum of 1150 MW of Primary Frequency Response which is maintained by Generation Resources capable of responding with a 5% droop for a 1% change in frequency.

- 3.18	Resource Limits in Providing Ancillary Service

(1)	For both Generation Resources and Load Resources the High Sustained Limit (HSL) must be greater than or equal to the Low Sustained Limit (LSL) and the sum of the Resource-specific designation of capacity to provide Responsive Reserve (RRS), Regulation Up (Reg-Up), Regulation Down (Reg-Down), and Non-Spinning Reserve (Non-Spin).

(2)	For Non-Spin, the amount of Non-Spin provided must be less than or equal to the HSL for Off-Line Generation Resources.

(3)	For RRS Service:

(a)	The full amount of RRS provided from a Generation Resource must be less than or equal to 24% of thermal unit HSL for an Ancillary Service Offer must be less than or equal to ten times the Emergency Ramp Rate, and must be frequency responsive;

(b)	Hydro Generation Resources operating in the synchronous condenser fast-response mode may provide RRS up to the hydro Generation Resource’s proven 20-second response capability (which may be 100% of the HSL).  The initiation setting of the automatic under-frequency relay setting shall not be lower than 59.80 Hz;

(c)	For any hydro Generation Resource with a 5% droop setting operating as a generator, the amount of RRS provided may never be more than 24% of the HSL; and

(d)	The amount of RRS provided from a Load Resource must be less than or equal to the HSL minus the sum of the LSL, Reg-Up Resource Responsibility, Reg-Down Resource Responsibility, and Non-Spin Resource Responsibility.