Whitepaper for Congestion Revenue Rights Model Build Processes

Version 0.1

Revision History

| Date | Version | Description | Author |
| --- | --- | --- | --- |
| 02/7/2012 | 0.1 | Summarize internal CRR procedures into market-facing CRR Model Build Process | ERCOT |

Contents

1	Create Common Information Model (CIM) File from NMMS	4

2	Topology Processor (TP)	6

2.1	Topology Processor Inputs	6

2.2	Topology Processor Outputs	6

3	CRR Auction Engine	6

4	Output of CRR Model Build	7

5	Multi-Month Auctions	8

6	CRR Model Posting	8

This document is intended for use by ERCOT Market Participants to better understand the sequence and processes followed in the creation of CRR Model files.

# Create Common Information Model (CIM) File from NMMS

Approximately one week before the posting of the CRR Model per the CRR Calendar:

  - CRR Engineer contacts ERCOT Network Modeling department to snapshot and copy the current CIM model and all NOMCRs into the CRR systems.

  - CRR Engineer selects the NOMCRs to be applied; only selecting NOMCRs statuses of “Approved for production” and “Approved for Testing” up to the model build date.  The CRR Engineer may also consider later submission or significant changes to include in model.

  - ERCOT contingency tool is applied to the CRR network Model to create a contingency file and CIM model inclusive of contingencies.

  - Outage Evaluation

    - In parallel to the CIM file creation steps in 1.1-1.3, the CRR engineer will interface with and pull all approved transmission outages from the Outage Scheduler for the auction month. Once the outages have been acquired, the CRR team will filter the outages for those deemed as “acceptable” per the criteria described in section 5.1(f) of the Nodal Operating Guides. The CRR modeling team will then determine the day that the outages create the most congestion on the system and apply those outages to the model for that month.

Nodal Operating Guides 5.1(f):  System Modeling Information

(6)  Congestion Revenue Right (CRR) Network Model Outage determination uses network topology of the CRR Network Model identified by ERCOT.  This must include Planned Outages of Transmission Elements approved by ERCOT at the time the CRR Network Model is being built and that demonstrate significant impact to the transfer capability during the effective period.  ERCOT will consider including Outages in the CRR Network Model that are scheduled to occur in the relevant time period and meet one or more of the following criteria:

(a)  Consecutive or continuous approved Outages greater than or equal to five days;

(b)  Approved Outages which include Transmission Elements included in the definition of a Hub;

(c)  Approved Outages which include Transmission Elements in a 345 kV Transmission Facility;

(d)  Approved Outages that require the use of a Block Load Transfer (BLT); and

(e)  Any other approved Outage that has been determined by ERCOT to carry a substantial risk of causing significant congestion.

    - CRR Engineer analyzes the list of Outages that meet the criteria in Step 1.4.1 using some or all of the methods described below to determine the date to be used for applying the final set of corresponding outages and NOMCRs to create the final CRR model:

      - Gantt chart to highlight groupings of potential worst-case days, considering kV levels. Gantt chart example seen below.

      - Verify with Outage Coordination department of any major outages for the month.

      - Special consideration for interface, SPS or RAP equipment outages

      - MW flow impact analysis

# Topology Processor (TP)

CRR Engineer utilizes software developed by Siemens that is designed to accept an ERCOT CIM model and output a bus branch model. TP is used by the CRR engineer to convert the CIM file(s) and create files needed by the Auction Engine.

## Topology Processor Inputs

    - CIM model with NOMCRs and contingencies (performed in Step 1)

    - Dynamic Ratings, per ERCOT Nodal Protocols 7.3 (f) using the forecasted temperatures provided by the Planning Department’s Load Forecasting and Analysis group.

7.3 (f) Thermal operating limits (including estimates for Dynamic Ratings) for transmission lines; (ii) for the monthly auction ERCOT shall use Dynamic Ratings for the maximum peak-hour temperature forecast for the month;

    - Outages (performed in Step 1.4.2)

## Topology Processor Outputs

    - System Topology with Outages

    - Transmission Element Ratings

    - Resource Node Location

    - Settlement Point Location

    - Contingency Definitions

# CRR Auction Engine

CRR Engineer prepares TP output data and other supporting files for the Auction Engine developed by Nexant.

  - CRR Engineer develops files that list every settlement point found in the CRR Model and assigns participation factors to each PSSE bus containing a settlement point. Participation factors are assigned separately for Load Zones (LDF), Hub Buses (Protocols 3.5), DC Ties and Resource Nodes.  The LDF values are created in accordance with Protocols Section 4.5(5) and come from the Advanced Network Application group to appropriately apply hot, mild, or cold LDFs.

  - CRR Engineer will create Non-Thermal files that identify the transmission elements included in each of the current three interfaces and assign a MW limit for each interface. The three interfaces that are currently in use are West – North, Valley Import and North – Houston.

  - CRR Engineer will develop Contingency files that list all the contingencies in the monthly model and will have a brief description of each contingency. The file will also identify each element defined in the contingency.

  - CRR Engineer will build a list of Electrically Similar Settlement Points to post to the market and enforce in the auction. The list is made using the monthly model’s topology and ratings. ESSPs are defined in Section 2 of the ERCOT Protocols as “Electrically Similar Settlement Points”.

  - CRR Engineer will create a Models file that lists all the lines and transformers in the CRR model and associates ratings to each element.

  - Each CRR Model is tested by running a mock CRR Auction to ensure there are no significant issues with the CRR model that yield unexpected results.

# Output of CRR Model Build

  - ESSP file

  - PSSe file

  - Outage list included in model build

  - Contingency files

  - Non Thermal/Flow Gate Files

  - Source Sink files

  - Mapping file CRR to Operations names

  - Models File

# Multi-Month Auctions

For the multi-month Auctions, the CRR Engineer repeats steps 1-4, where the model-build activity is initiated weeks or months in advance of the multi-month auction sequence.  Due to the historical uncertainty of energization dates more than 12-months in advance, the CRR Engineer only utilizes the approved NOMCRs up to twelve months in advance.

# CRR Model Posting

All outputs from the CRR Model Build process are delivered to the ERCOT MIS Secure site and available in a zipped file format and posted in accordance with the dates reflected in the CRR Activity Calendar.

Location of posted CRR model files: https://mis.ercot.com/pps/tibco/mis/Pages/Market+Information/CRR