## Sheet1
# | Questions | Options | CMWG draft Reccomendation
1 | What are the questions that CCT is trying to answer for each constraint? | 1) Can a market participant exercise Market Power by (a) offering high to increase the price to resolve the constraint? (b) offering low to drive another market participant out of the market when the constraint is binding/ violated? => Calculate Element Competitiveness Index (ECI) 2) Can the constraint be resolved without help from non-Base Load generation of a single Decision Making Entity? => Identify existence of Pivotal player | 1 (a) is more important than 1 (b) Question 2 needs to be answered If answer to question (2) is yes then the constraint is not competitive. If it is no then the answer to 1(a) and 1(b) determines the competitiveness of the constraint
2 | What should be used to rank the resources? | (a) SF w.r.t import side/ export side OR (b) SF which represents the physical flow (w.r.t. distributed load reference bus) | SF which represents the physical flow (w.r.t. distributed load reference bus)
3 | should their be a single ECI to identify market power to resolve the constraint? | (a) Separate ECI for offering high to increase the price to resolve the constraint (using NEG SF) and offering low to drive another market participant out of the market (using POS SF) OR (b) Single ECI for resources effective in resolving the constraint (using absolute SF) | (a) Separate ECI for offering high to increase the price to resolve the constraint (using NEG SF) and offering low to drive another market participant out of the market (using POS SF)
4 | Should full cpacity of WGRs be used in CCT | (a) Use full capacity (b) use a lower percentage for NEG SF (c ) use 0 SF for NEG SF | (b) use 8.65% of WGR with NEG SF and use full capacity with POS SF
5 | What should be the SF for the Resource to be considered as having significant impact to the constraint | (a) SF should be greater than1/3 of highest SF or (b) SF should be greater than 2% (similar to RT operations) | ?
6 | Should the constraint be considered as competitive if it will not be overloaded at the system level | (a) yes; In ACCT, Competitiveness should be tested only in months in which the constraint can be overloaded at system load (b) ECI should be determined irrespective of the system load level. | (a) yes; In ACCT, Competitiveness should be tested only in months in which the constraint can be overloaded at system load. Use the POS SF resources + Base load to meet the load and check the competitiveness only if the constraint is overloaded with the selected resources
7 | When calculating the Pivotal Player Index should the best case scenario be considered | (a) Best case - Consider all resources, except those from largest entity, with negative SF to meet the system load (b) Typical case - Consider all resources, except those from largest entity, with significant SF, both positive and negative, to meet the system load | (a) Best case - Consider all resources (except the non-base-load from largest entity) with negative SF to meet the system load
8 | Which resources should be considered when determining largest entity | (a) all resources with NEG SF should be considered when determining largest entity (b) only consider non-base-load resource | (a) all resources with NEG SF should be considered when determining largest entity
9 | What should be considered as base-load | (a) Nuclear only (b) Nuclear and LSL of coal/lignite | ?
10 | Should a SF cutoff\ be used in determining largest entity for the pivotal player test | (a) all resources with NEG SF should be used in determining largest entity (b) resources with SF greater than or equal to 1/3 SF should be used (c) resources with SF greater than or equal to 2% SF should be used | Either (b) or (c ) which ever is used in the ECI calculation
11 | What should be the ECI threshold | (a) 2000 (b) 2500 (c ) 3000 (e) something different | ?