## Slide 1: Draft NPRR Discussion Emergency Response Service (ERS)
Paul Wattles
ERCOT Staff
February 16, 2012
Update to ROS

## Slide 2: Overview
PUC Project 39948 to amend Subst. Rule §25.507 is open
  17 sets of comments received by Jan. 30 deadline
  Public hearing held at PUC on Jan. 31
  PUC Staff is hoping to have proposal for adoption ready for action at March 23 PUC Open Meeting
Accompanying NPRR schedule:
  COPS, WMS and ROS review this week
  Filed with number by end of February
  PRS March 23
  TAC and Board in April
  June 1 effective date
This presentation provides an overview of operational issues
  More detailed slide deck is posted to WMS meeting page for Feb. 15, 2012
Notes: <number>

## Slide 3: Procurement
Minimum capacity offer set at 100 kW
  Previous floor of 1 MW eliminated from Rule language
  This is consistent with Ancillary Services minimum
1000 MW ceiling eliminated
  ERCOT may establish an upper limit on MW to be procured for a Time Period/Contract Period

## Slide 4: Definitions
ERS Resource:
  Either an ERS Load or an ERS Generator that is contracted to provide ERS.
ERS Load:
  An ERS Resource that is a Load or Aggregation of Loads.
ERS Generator
  An ERS Resource that is a generator that is not a Generation Resource and is not a source of intermittent renewable generation, or an aggregation of such generators.
  Offers will include affirmation:
    That a generator will not register as Generation Resource while committed in ERS
    That QSE and ERS Generator are aware of and in compliance with EPA and TCEQ environmental regulations

## Slide 5: EEA Steps (Nodal Protocols 6.5.9.4.2)
Sequence in EEA Level 2 remains unchanged:
  Operator may deploy Load Resources or ERS in either order
  Operators will consider remaining ERS obligation and other factors in making that decision
As per current protocols, ERS fleet will be divided into 2 groups if ERCOT procures 500 MW or more
However, current PUC Rule requires all EILS to be deployed in a single VDI
  Current procedures require operator to instruct QSEs to deploy Group 2 at specified time in the future during the single VDI
Proposed Rule allows more flexibility
NPRR proposes to align ERS deployments with Load Resource deployments: if Group 1 deployment is all that’s needed, operator will have discretion not to deploy Group 2

## Slide 6: Additional notes
XML messaging component of EILS/ERS dispatch is currently being developed by ERCOT
  Approved as part of NPRR 379 in 2011
  Suspenders to go with the VDI belt, similar to Load Resource dispatch
  Goal is to have XML messaging ready for ERS by Summer 2012
ERS NPRR includes provisions for automatic renewal of ERS obligations if depleted due to 8+ hours of cumulative deployment time
  ERS Resource would opt-in to the automatic renewal at time of offer submission
  ERCOT discretion on whether to initiate renewal
  See WMS slides for additional detail

## Slide 7: Questions?
ON
OFF
pwattles@ercot.com
512/248-6578