| NPRR Number | X | NPRR Title | Analysis of Price Responsiveness Of Load and Load Actions For Projected 4-CP Events |
| --- | --- | --- | --- |
| Date Posted |  | February X, 2012 |  |
| Requested Resolution (Normal or Urgent, and justification for Urgent status) |  | Normal |  |
| Nodal Protocol Section(s) Requiring Revision (Include Section No. and Title) |  | 3.6 Load Participation |  |
| Market Guide Section Requiring Revision (If applicable) |  |  |  |
| Revision Description |  | This section introduces a requirement that ERCOT collect selected load and price information and conduct studies of voluntary load responsiveness to higher-than-normal real-time LMPs. The study will also include an analysis of selected load actions during projected 4-CP events. A requirement is also added to periodically survey Load Serving Entities regarding price responsive products similar to the study that ERCOT conducted during the summer of 2007. |  |
| Reason for Revision |  | A better understanding of voluntary load response to price spikes and 4-CP events in the energy-only market will assist ERCOT in its assessment of resource adequacy, operations, and load forecasting. ERCOT’s daily operations may use such information to assist them in making decisions regarding use of RMR and RUC commitments. The retail tariffs and load control programs which facilitate voluntary demand response are largely “outside” of ERCOT’s formal markets. Thus, a survey of load serving entities and TSPs must be periodically conducted to collect information useful in ERCOT operations. PUC Subst. Rule §25.505(e)(5) states that “Load serving entities shall provide ERCOT with complete information on load response capabilities that are self-arranged or pursuant to bilateral agreements between LSEs and their customers.” The survey conducted by ERCOT during the summer of 2007 requires updating, since some time has based and the structure of the wholesale market has changed since 2007. An updated survey may be useful in collecting information about the use of advanced metering systems to support dynamic pricing, interest in products and programs with different notice periods, the amount of load that is responsive to wholesale price changes, and interest in load participation in SCED. |  |
| Credit Implications (Yes or No, and summary of impact) |  | No |  |

Business Case

| Business Case | 1 | Qualitative benefits - These studies will assist ERCOT in fulfilling its resource adequacy assessments. - The results will improve ERCOT’s load forecasts, by providing information regarding the demand reduction that will likely occur during a 4-CP event or a spike in wholesale market prices. - The results of these studies shall improve the system operator’s ability to anticipate the change in load when a high price or a 4-CP event is anticipated. - The survey may be used to collect information regarding the interest in the Loads in SCED and Look-Ahead SCED initiatives. - This NPRR shall enter this study into the queue for budget prioritization. |
| --- | --- | --- |
|  | 2 | Explain in detail possible benefit calculations to support quantifiable benefits - While difficult to quantify, better information about the change in load in response to a likely 4-CP or a high market price should lead to higher reliability and lower costs. - Expectation of 4-CP actions and load responsiveness to high prices can be used as additional input to ERCOT system Operations decisions regarding RMR and RUC commitments leading to reduced cost of consumers. Avoidance of unnecessary unit commitments reduces environmental impacts, costs to consumers and use of fuel that could otherwise be better distributed to more critical markets. In 2011 ERCOT spent a total of $29,500,00 for RMR and RUC commitments. A reduction of at least 5% ($1.5 per year) could be reasonably expected by better understanding of actions of loads during peak and otherwise high price periods. |
|  | 3 | Comment on impacts to market segments - Ultimately, this information should lead to a more reliable and lower-cost system. |

| Sponsor |  |
| --- | --- |
| Name | Jay Zarnikau, on behalf of the Demand Side Working Group |
| E-mail Address | jayz@frontierassoc.com |
| Company | Frontier Associates LLC |
| Phone Number | 512 372 8778 |
| Cell Number |  |
| Market Segment | Demand Side Working Group |

| Market Rules Staff Contact |  |
| --- | --- |
| Name |  |
| E-Mail Address |  |
| Phone Number |  |

Proposed Protocol Language Revision

3.6	Load Participation

(1)	Load Resources may participate by providing the following types of service:

(a)	Ancillary Service:

(i)	Regulation Up Reserve Service (Reg-Up);

(ii)	Regulation Down Reserve Service (Reg-Down);

(iii)	Responsive Reserve Service (RRS);

(iv)	Non-Spinning Reserve Service (Non-Spin); and

(b)	Voluntary load response in Real-Time.

(2)	Except for voluntary load response, loads participating in any ERCOT market must be individually registered as a Load Resource by ESID and are subject to qualification testing administered by ERCOT.  All ERCOT settlements resulting from Load Resource participation are made only with the QSE representing the Load Resource.

(3)	ERCOT shall perform studies of voluntary load response to estimate the amount of load that is responsive to Load Zone LMPs produced by SCED executions.  ERCOT  shall select a minimum of 150 individual substation loads from its telemetered (SCADA) data base and store for later analysis prices (LMPs) and load response information for each Season of the year.  On completion of each Season, ERCOT shall perform an analysis of the responsiveness of load to higher than average Real Time prices based on the data collected.  ERCOT shall develop a report describing the results of the analysis and present the report to TAC within 30 days following each Season.  ERCOT shall also include in the report for applicable Seasons, an analysis of loads that may be reducing Real Time load during intervals forecasted to be an interval in which a 4-Coincident Peak (4-CP) settlement interval may occur.  ERCOT may select individual loads for study based on its sole judgment, however any reports shall only disclose load information in aggregate.

(4)	As part of any assessment of future generation capacity, load forecasts and resulting system reserves, ERCOT shall include its estimate of the effect of load price responsiveness and 4-CP actions indicating such estimates as separate components of the analysis.

(5)	Beginning in calendar year 2013, ERCOT shall conduct a study of demand response to prices and potential 4-CP events with a goal of identifying and quantifying response of consumers to short-term changes in wholesale market prices and potential 4-CP events.  Pursuant to PUC Subst. Rule §25.505(e)(5), this study shall collect information from Load Serving Entities relating to load response capabilities that are self-arranged or pursuant to bilateral agreements between the LSEs and their customers, including information relating to retail products, services and pricing strategies designed to facilitate voluntary load response.  This study shall be repeated, at minimum, every four years.   Supplemental information may be collected from TSPs.