| NPRR Number | 442 | NPRR Title | Energy Offer Curve Requirement for Generation Resources Providing Reliability Must-Run Service |  |
| --- | --- | --- | --- | --- |
| Timeline | Urgent | Action |  | Tabled |
| Date of Decision |  | February 23, 2012 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Nodal Protocol Section Requiring Revision |  | 6.4.3, Energy Offer Curve |  |  |
| Market Guide Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) adds a requirement for the Energy Offer Curve to be set at the System-Wide Offer Cap (SWCAP) for Generation Resources providing Reliability Must-Run (RMR) Service. If a Reliability Unit Commitment (RUC) unit is deployed, ERCOT will submit an Energy Offer Curve for the Generation Resource at the SWCAP. |  |  |
| Reason for Revision |  | To address concerns raised at the October 27, 2011 Public Utility Commission of Texas (PUCT) Open Meeting regarding Project No. 37897, PUC Proceeding Relating to Resource and Reserve Adequacy and Shortage Pricing. |  |  |
| Credit Impacts |  | To be determined. |  |  |
| Procedural History |  | - On 2/3/12, NPRR442 was posted. - On 2/15/12, ERCOT comments were posted. - On 2/23/12, PRS considered NPRR442. |  |  |
| PRS Decision |  | On 2/23/12, PRS voted to grant NPRR442 Urgent status. There were two abstentions from the Consumer and Municipal Market Segments. PRS then voted to table NPRR442 and to request that WMS review NPRR442. There was one abstention from the Independent Power Marketer (IPM) Market Segment. All Market Segments were present for the votes. |  |  |
| Summary of PRS Discussion |  | On 2/23/12, participants discussed whether NPRR442 should be considered a PUCT directive. The sponsor of NPRR442 explained that the NPRR covers an issue that should have been addressed along with other recently-approved NPRRs that were intended to respond to PUCT concerns, particularly NPRR427, Energy Offer Curve Requirements for Generation Resources Assigned Reg-Up and RRS, and NPRR428, Energy Offer Curve Requirements for Generation Resources Assigned Non-Spin Responsibility. It was requested that NPRR442 be tabled to allow time to determine if NPRR442 should be considered a PUCT directive and to get input from the Independent Market Monitor (IMM). |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Addresses concerns expressed at the October 27, 2011 PUCT Open Meeting regarding Project No. 37897. |
|  | 2 | This NPRR will mitigate price suppression during deployment of RMR Units to more accurately reflect the value of market energy during the deployment. |

| Sponsor |  |
| --- | --- |
| Name | Clayton Greer |
| E-mail Address | Clayton.greer@morganstanley.com |
| Company | Morgan Stanley |
| Phone Number | 512-497-2986 |
| Cell Number |  |
| Market Segment | Independent Power Marketer (IPM) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Jonathan Levine |
| E-Mail Address | jlevine@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ERCOT 021512 | Proposed revisions to clarify the construction of the Energy Offer Curve for On-Line RMR Units that ERCOT has made available for commitment and to require that the Mitigated Offer Cap curve for RMR Units contracted for capacity be constructed as a flat curve with a mitigation cap value of $3,000.00/MWh for every MW of output. |

Proposed Protocol Language Revision

6.4.3	Energy Offer Curve

(1)	A detailed description of Energy Offer Curve and validations performed by ERCOT is in Section 4.4.9, Energy Offers and Bids.

(2)	For an On-Line RMR Unit, ERCOT, in its sole discretion, shall submit either an Output Schedule or an Energy Offer Curve considering contractual constraints on the Resource and any other adverse effects on, or implications arising from, the RMR Agreement, that may occur as the result of the Dispatch of the RMR Unit.  If ERCOT chooses to submit an Energy Offer Curve instead of an Output Schedule, the Energy Offer Curve must be priced at the System-Wide Offer Cap (SWCAP) in $/MWh.

(3)	For Generation Resources with a Resource Status other than ONTEST, if a valid Energy Offer Curve or an Output Schedule does not exist for a Resource that has a status of On-Line at the end of the Adjustment Period, then ERCOT shall notify the QSE.  Except for IRRs, QF Resources, and DSRs, ERCOT shall create an Output Schedule equal to the then-current telemetered output of the Resource until an Output Schedule or Energy Offer Curve is submitted in a subsequent Adjustment Period.

[NPRR348: Replace paragraph (3) above with the following upon system implementation:] (3) For Generation Resources with a Resource Status other than ONTEST, STARTUP or SHUTDOWN, if a valid Energy Offer Curve or an Output Schedule does not exist for a Resource that has a status of On-Line at the end of the Adjustment Period, then ERCOT shall notify the QSE. Except for IRRs, QF Resources, and DSRs, ERCOT shall create an Output Schedule equal to the then-current telemetered output of the Resource until an Output Schedule or Energy Offer Curve is submitted in a subsequent Adjustment Period.