| NOGRR Number | 084 | NOGRR Title | Daily Grid Operations Summary Report |
| --- | --- | --- | --- |

| Date | November 14, 2011 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Sherry Looney on behalf of QSE Manager Working Group (QMWG) |
| E-mail Address | sherry.looney@luminant.com |
| Company | Luminant Energy |
| Phone Number | (214) 875-9278 |
| Cell Number | (469) 688-7607 |
| Market Segment | Investor-Owned Utility (IOU) |

Comments

The QMWG at its November 7, 2011 meeting discussed the NOGRR084 and suggested the revised Operating Guide Language changes below to clarify the information to be provided on the Daily Grid Operations Summary Report.  The QMWG attempted in their comments to specify data for the report which would be readily available from existing systems so that manual intervention by ERCOT Staff would be kept to a minimum.

Revised Proposed Guide Language

9.3.10	Daily Grid Operations Report

For each Operating Day, ERCOT shall post to the MIS Public Area on the following Business Day, a summary level report of the prior day’s operational information that shall include the following data elements:

(a)	Peak Load;

(b)	Peak hour;

(c)	Planned peak load from the Day Ahead Load Forecast;

(d)	Planned peak hour from the Day Ahead Load Forecast;

(e)	Amount, duration, time deployed and time recalled for each deployment of  Responsive Reserve (RRS) from Generation Resources and Controllable Load Resources;

(f)	Amount, duration, time deployed and time recalled for each deployment of RRS for Load Resources;

(g)	Amount, duration, time deployed and time recalled for each deployment of Emergency Interruptible Load Service (EILS);

(h)	Amount, duration, time deployed, and time recalled  for each Non-Spinning Reserve (Non-Spin) deployment with designation as On-Line or Off-Line if available;

(i)	SCED offset (including SCED timestamp, offset timestamp and amount);

(j)	Summary of RUC commitments including the reason for the RUC commitment from the following options:

(i)	Import limit due to thermal constraint;

(ii)	Voltage stability;

(iii)	Outage support; or

(iv)	System capacity.

(k)	Summary of Reliability Must-Run (RMR) Resource commitments including Resource name, time, duration including the reason for RMR Resource commitment chosen from the options in item (j) above;

(l)	List of SCED intervals with maximum Shadow Price and constraint associated with each;

(m)	Number of Resources with manual High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs) manual overrides and a list of the constraints which were the cause of the override;

(n)	List of Load shed events with MW quantity and duration;

(o)	List of Transmission Watches, Alerts and Emergency Notifications; and

(p)	Any Generation Resource trips greater than 450 MW including capacity tripped and time of trip.