| NOGRR Number | 090 | NOGRR Title | Change in Entity Responsible for Reporting Participation in Severe Weather Drills |
| --- | --- | --- | --- |
| Date Posted |  | January 10, 2012 |  |

| Requested Resolution (Normal or Urgent, and justification for Urgent status) | Normal |
| --- | --- |
| Nodal Operating Guide Section Requiring Revision | 1.5.4, ERCOT Severe Weather Drill |
| Protocol Section(s) Requiring Revision (If applicable) | None. |
| Revision Description | This Nodal Operating Guide Revision Request (NOGRR) changes the Entity responsible for reporting participation in the severe weather drill from the Texas Reliability Entity (Texas RE) to ERCOT. |
| Reason for Revision | To clarify the Entity responsible for reporting participation in the Severe Weather Drill. |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Clarifies responsibilities for reporting Entity participation in the severe weather drill. |

| Sponsor |  |
| --- | --- |
| Name | Frank Owens on behalf of the Operations Working Group (OWG) |
| E-mail Address | fowens@texasmpa.org |
| Company | Texas Municipal Power Agency |
| Phone Number | 936-873-1120 |
| Cell Number | 979-204-7725 |
| Market Segment | Municipal |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

Proposed Guide Language Revision

- 1.5.4	ERCOT Severe Weather Drill

ERCOT shall conduct a severe weather drill on an annual basis to test the scheduling and communication functions of the primary and/or backup control centers and train operators in emergency procedures.  Operators for QSEs that provide Ancillary Services and TOs are required to participate in the severe weather drill.  ERCOT, with assistance from the Operations Working Group (OWG), will develop and coordinate the severe weather drill.  The OWG will review and critique the results of completed severe weather drills to ensure effectiveness and recommend changes as necessary.  ERCOT will verify and report Entity participation in the severe weather drill to the Reliability and Operations Subcommittee (ROS) and to the Texas Reliability Entity (Texas RE) on an annual basis.