| NOGRR Number | 084 | NOGRR Title | Daily Grid Operations Summary Report |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | December 14, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Guide Section Requiring Revision |  | 9.3.10, Daily Grid Operations Report (new) |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) creates a summary level report of daily operational information to be posted on the Market Information System (MIS) Public Area. |  |  |
| Reason for Revision |  | This NOGRR creates a report that will provide summary level data of the daily operations information which is currently provided hourly or more frequently for which the downloading of this data is extremely cumbersome; and restores visibility of operational data which was provided in the zonal market. |  |  |
| Procedural History |  | - On 10/27/11, NOGRR084 was posted. - On 11/14/11, Qualified Scheduling Entity (QSE) Managers Working Group (QMWG) comments were posted. - On 11/14/11, the Operations Working Group (OWG) considered NOGRR084. - On 12/14/11, OWG again considered NOGRR084. |  |  |
| OWG Decision |  | On 11/14/11, the OWG was in consensus to table NOGRR084 for one month. On 12/14/11, the OWG was in consensus to recommend approval of NOGRR084 as amended by the 11/14/11 QMWG comments and as revised by OWG. |  |  |
| Summary of OWG Discussion |  | On 11/14/11, it was explained that NOGRR084 restores reports that were previously available in the zonal market. There was discussion regarding the 11/14/11 QMWG comments. It was stated that although several of the reports are currently available on the MIS, users are required to download 288 files daily to pull the information together. The reports requested in NOGRR084 would provide a summary level snapshot of grid operations that would be available the next Business Day. NOGRR084 was tabled to allow additional time for Market Participants and ERCOT to review. On 12/14/11, the 11/14/11 QMWG comments were reviewed and clarified. It was suggested that Protocol Section 8, Monitoring Programs, should be reviewed to determine if correlating language is necessary in the Protocols. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Qualitative benefits: - Data transparency. - Summarized data. Data is difficult to consume as an individual download user (non machine/web services user) when there are between 24 and 288 files posted a day per report impacted. - Provides user with a comprehensive overview of the days operational parameters. - Provides transparency to information that is not currently available for grid operations. - Narrows the gap in information available between operations and planning. |
|  | 2 | Benefit calculations to support quantifiable benefits: - Expected to save 150 Market Participants at least one hour a day at $65 per hour. |
|  | 3 | Impacts to market segments: - Consistent transparency between information that was available in zonal and the current Nodal information. - Provides model validation information. - Provides market validation for information that is provided in additional forums (i.e., contingency files, Reliability Unit Commitment (RUC) postings and High Dispatch Limit (HDL) or Low Dispatch Limit (LDL) postings). - Cross check and analysis for Demand management programs. |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Jackie Ashbaugh on behalf of the MIS User Group (MISUG) |
| E-mail Address | JAshbaugh@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-3937 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| QMWG 111411 | Proposed revisions to clarify the information to be provided in the Daily Grid Operations Report. |

Proposed Guide Language Revision

9.3.10	Daily Grid Operations Report

For each Operating Day, ERCOT shall post to the MIS Public Area on the following Business Day, a summary level report of the prior day’s operational information that shall include the following data elements:

(a)	Peak Load;

(b)	Peak hour;

(c)	Planned peak load from the Day Ahead Load Forecast;

(d)	Planned peak hour from the Day Ahead Load Forecast;

(e)	Amount, duration, time deployed and time recalled for each deployment of  Responsive Reserve (RRS) from Generation Resources and Controllable Load Resources;

(f)	Amount, duration, time deployed and time recalled for each deployment of RRS for Load Resources;

(g)	Amount, duration, time deployed and time recalled for each deployment of Emergency Interruptible Load Service (EILS);

(h)	Amount, duration, time deployed, and time recalled  for each Non-Spinning Reserve (Non-Spin) deployment with designation as On-Line or Off-Line if available;

(i)	SCED offset (including SCED timestamp, offset timestamp and amount);

(j)	Summary of RUC commitments including the reason for the RUC commitment from the following options:

(i)	Import limit due to thermal constraint;

(ii)	Voltage stability;

(iii)	Outage support; or

(iv)	System capacity.

(k)	Summary of Reliability Must-Run (RMR) Resource commitments including Resource name, time, duration including the reason for RMR Resource commitment chosen from the options in item (j) above;

(l)	List of SCED intervals which reached the Shadow Price cap and constraint associated with each;

(m)	Number of Resources with manual High Dispatch Limits (HDLs) and Low Dispatch Limits (LDLs) manual overrides and a list of the constraints which were the cause of the override;

(n)	List of Load shed events with MW quantity and duration;

(o)	List of Transmission Watches, Alerts and Emergency Notifications; and

(p)	Any Generation Resource trips greater than 450 MW including capacity tripped and time of trip.