| NPRR Number | 429 | NPRR Title | HASL Offset Provision |
| --- | --- | --- | --- |
| Date | March 7, 2012 |
| Submitter’s Information |
| Name | Isabel Flores |
| E-mail Address | iflores@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6531 |
| Cell Number | 512-565-9117 |
| Market Segment | Not applicable |

Comments

In response to the request made by ROS at its February 16, 2012 meeting, it is ERCOT’s position that a longer analysis period is needed in order to provide a summary of impacts on the following options:

- Allow Qualified Scheduling Entities (QSEs) to move their High Ancillary Service Limit (HASL) to a lower MW value by creating a HASL Offset option; or

- Allow QSEs to telemeter their desired HASL.

ERCOT requests that ROS continue to table NPRR429 for one month.

ERCOT also requests that ROS provide guidance on the following questions:

- Should a HASL offset be allowed to encroach on Responsive Reserve Service and Regulation Service capacity?

- Is there any impact to reliability in allowing the use of power augmentation for Responsive Reserve Service or Regulation Service?

- Is it acceptable for a HASL offset to leave capacity unavailable to the ERCOT systems?

Revised Proposed Protocol Language

None at this time.