| PGRR Number | 016 | PGRR Title | Planning Reserve Margin Review |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Recommended Approval |
| Date of Decision |  | March 8, 2012 |  |  |
| Proposed Effective Date |  | June 1, 2012 |  |  |
| Priority and Rank Assigned |  | Not applicable |  |  |
| Planning Guide Section Requiring Revision |  | 8.2, Minimum ERCOT Planning Reserve Margin Criterion |  |  |
| Protocol Section(s) Requiring Revision |  | None. |  |  |
| Revision Description |  | This Planning Guide Revision Request (PGRR) adds language inadvertently omitted when planning requirements were moved from the Operating Guide Section 5, Network Operations Modeling Requirements, to the Planning Guide. Specifically, this PGRR adds the requirement for ERCOT to periodically review and recommend to the ERCOT Board any change in the minimum ERCOT Planning Criterion necessary to maintain adequate ERCOT System reliability. |  |  |
| Reason for Revision |  | Operating Guide Section 5.2, Resource Capability, which was deleted by Nodal Operating Guide Revision Request (NOGRR) 058, Deletion of Section 5, Planning, contained a requirement for ERCOT to periodically determine the minimum ERCOT Planning Reserve Margin (PRM) required to ensure the adequacy of installed generation and other Resource capability in ERCOT. This PGRR adds that review requirement to the Planning Guide. |  |  |
| Procedural History |  | - On 12/5/11, PGRR016 was posted. - On 1/26/12, the Planning Working Group (PLWG) considered PGRR016. - On 2/10/12, an Impact Analysis was posted. - On 2/29/12, the PLWG considered the 1/26/12 PLWG Report and Impact Analysis for PGRR016. - On 3/8/12, ROS considered PGRR016. |  |  |
| PLWG Decision |  | On 1/26/12, the PLWG was in consensus to recommend approval of PGRR016 as revised by PLWG. On 2/29/12, the PLWG was in consensus to endorse and forward the 1/26/12 PLWG Report and Impact Analysis for PGRR016 to ROS. |  |  |
| Summary of PLWG Discussion |  | On 1/26/12, clarifying language was proposed. On 2/29/12, there was no discussion. |  |  |
| ROS Decision |  | On 3/8/12, ROS unanimously voted to recommend approval of PGRR016 as recommended by PLWG in the 2/29/12 PLWG Report. All Market Segments were present for the vote. |  |  |
| Summary of ROS Discussion |  | On 3/8/12, there was no discussion. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | - Replaces the ERCOT PRM review requirement inadvertently removed by NOGRR058. |
|  | 2 | - Ensures that ERCOT maintains the responsibility to review the adequacy of the PRM. |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Rob Lane on behalf of the PLWG |
| E-mail Address | Robert.Lane@luminant.com |
| Company | Luminant Energy Company LLC |
| Phone Number | (214) 875-8063 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Yvette M. Landin |
| E-Mail Address | ylandin@ercot.com |
| Phone Number | 512-248-4513 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None. |  |

Proposed Guide Language Revision

8.2	Minimum ERCOT Planning Reserve Margin Criterion

The minimum ERCOT Planning Reserve Margin (PRM) criterion is 13.75%.  ERCOT shall periodically review and recommend to the ERCOT Board any changes to the minimum ERCOT PRM to ensure adequate reliability of the ERCOT System.