| NOGRR Number | 084 | NOGRR Title | Daily Grid Operations Summary Report |  |
| --- | --- | --- | --- | --- |
| Timeline | Normal | Action |  | Tabled |
| Date of Decision |  | November 14, 2011 |  |  |
| Proposed Effective Date |  | To be determined. |  |  |
| Priority and Rank Assigned |  | To be determined. |  |  |
| Guide Section Requiring Revision |  | 9.3.10, Daily Grid Operations Report (new) |  |  |
| Revision Description |  | This Nodal Operating Guide Revision Request (NOGRR) creates a summary level report of daily operational information to be posted on the Market Information System (MIS) Public Area. |  |  |
| Reason for Revision |  | This NOGRR creates a report that will provide summary level data of the daily operations information which is currently provided hourly or more frequently for which the downloading of this data is extremely cumbersome. Restores visibility of operational data which was provided in the zonal market. |  |  |
| Procedural History |  | - On 10/27/11, NOGRR084 was posted. - On 11/14/11, Qualified Scheduling Entity (QSE) Managers Working Group (QMWG) comments were posted. - On 11/14/11, the Operations Working Group (OWG) considered NOGRR084. |  |  |
| OWG Decision |  | On 11/14/11, the OWG was in consensus to table NOGRR084 for one month. |  |  |
| Summary of OWG Discussion |  | On 11/14/11, it was explained that NOGRR084 restores reports that were previously available in the zonal market. There was discussion regarding the 11/14/11 QMWG comments. It was stated that although several of the reports are currently available on the MIS, users are required to download 288 files daily to pull the information together. The reports requested in NOGRR084 would provide a summary level snapshot of grid operations that would be available the next Business Day. NOGRR084 was tabled to allow additional time for Market Participants and ERCOT to review. |  |  |

| Business Case |  |  |
| --- | --- | --- |
| Business Case | 1 | Qualitative benefits: - Data transparency. - Summarized data. Data is difficult to consume as an individual download user (non machine/web services user) when there are between 24 and 288 files posted a day per report impacted. - Provides user with a comprehensive overview of the days operational parameters. - Provides transparency to information that is not currently available for grid operations. - Narrows the gap in information available between operations and planning. |
|  | 2 | Benefit calculations to support quantifiable benefits: - Expected to save 150 Market Participants at least one hour a day at $65 per hour. |
|  | 3 | Impacts to market segments: - Consistent transparency between information that was available in zonal and the current Nodal information. - Provides model validation information. - Provides market validation for information that is provided in additional forums (i.e., contingency files, Reliability Unit Commitment (RUC) postings and High Dispatch Limit (HDL) or Low Dispatch Limit (LDL) postings). - Cross check and analysis for Demand management programs. |
|  | 4 |  |
|  | 5 |  |

| Sponsor |  |
| --- | --- |
| Name | Jackie Ashbaugh on behalf of the MIS User Group (MISUG) |
| E-mail Address | JAshbaugh@ercot.com |
| Company | ERCOT |
| Phone Number | (512) 248-3937 |
| Cell Number |  |
| Market Segment | Not applicable. |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Sandra Tindall |
| E-Mail Address | stindall@ercot.com |
| Phone Number | 512-248-3867 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| QMWG 111411 | Proposed revisions to clarify the information to be provided in the Daily Grid Operations Summary Report. |

Proposed Guide Language Revision

9.3.10	Daily Grid Operations Report

For each Operating Day, ERCOT shall post to the MIS Public Area on the following Business Day, a summary level report of the prior day’s operational information that shall include the following data elements:

(a)	Peak Load;

(b)	Peak hour;

(c)	Planned peak;

(d)	Planned peak hour;

(e)	Amount, duration and time deployed for which Responsive Reserve (RRS) was deployed;

(f)	Amount, duration and time deployed for which Non-Spinning Reserve (Non-Spin) was deployed;

(g)	SCED offset (including SCED timestamp, offset timestamp and amount);

(h)	Summary of RUC Commitments;

(i)	Summary of High Dispatch Limit (HDL) and Low Dispatch Limit (LDL);

(j)	Element Ratings for re-Dispatch;

(k)	Reason for RUC Commitments/Decommitments;

(l)	Any constraints not solved in SCED; and

(m)	Any unit trips greater than 450 MW.