## Slide 1: PDCWG 2-28-2012
2012 Goals
David Kee
CPS Energy

## Slide 2: 2012 Goals
Evaluate PFR
Evaluate GREDP
Investigate SCED & Regulation deployment
Frequency responsiveness of RRS
Improve evaluation tools
Evaluate performance issues due to changing operating environment (nodal, generation mix, DG, etc)

## Slide 3: Evaluate PFR
Identify performance trends across ERCOT
Identify frequency control performance trends
Identify causes and if necessary suggest improvements

## Slide 4: Evaluate GREDP
Is the steady state metric appropriate?
Is a dynamic response metric needed?
Make recommendations for improvement to ROS
Evaluate technology type performance to metrics in protocols & guides

## Slide 5: SCED & Regulation Deployment
Study and understand regulation deployment.
Is tuning needed in LFC?
Is everything working as designed?

## Slide 6: Frequency Responsiveness of RRS
Is this an issue?
Do current guides and protocols work as written?

## Slide 7: Improve evaluation tools
PFR – CPS1 or 2 type of metric?
Control performance – dynamic state
ERCOT energy deployment & basepoint following
RMS1 of regulation deployment
Consider technology types during evaluation

## Slide 8: Evaluate performance issues due to changing operating environment
Nodal operational changes
Generation mix
CREZ
Emerging technologies