| NPRR Number | 451 | NPRR Title | Implementation of New P.U.C. SUBST. Rule 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Response Service (ERS) |
| --- | --- | --- | --- |
| Date |  | March 21, 2012 |  |
| Submitter’s Information |  |  |  |
| Name |  | Michael Juricek |  |
| E-mail Address |  | michael.juricek@oncor.com |  |
| Company |  | Oncor Electric Delivery |  |
| Phone Number |  | 214.743.6671 |  |
| Cell Number |  | 214.490.0748 |  |
| Market Segment |  | Investor Owned Utility (IOU) |  |

Comments

Oncor Electric Delivery (Oncor) appreciates the work ERCOT has done to support the Public Utility Commission of Texas (PUCT) rulemaking regarding amendments to Substantive Rule 25.507, Electric Reliability Council of Texas (ERCOT) Emergency Interruptible Load Service (EILS).  Oncor understands that ERCOT’s efforts are undertaken with the objective of taking advantage of the benefits of those changes for the summer of 2012.

Oncor believes moving forward on this Nodal Protocol Revision Request (NPRR) prior to the PUCT making a final decision on Project No. 39948, Rulemaking to Electric Reliability Council of Texas (ERCOT) Emergency Interruptible Load Service (EILS), at its March 22, 2012 open meeting will create problems if the PUCT changes the proposed modification to Substantive Rule 25.507.

Oncor made comments during the Reliability Operations Subcommittee (ROS) discussion of potential issues regarding Emergency Response Service (ERS).  Oncor is concerned about the impact on distribution feeders and the transmission system due to the lack of data needed to model the Emergency Response Service (ERS) Generators to ensure there is no negative impact on loading on the distribution feeders; voltage control and short circuit currents on the distribution feeders and transmission systems and on system protection systems.  There is a safety concern about ERS Generators connected to distribution feeders if these generators stay on line when the feeder breaker is open.  As a minimum they should be treated like distributed generators and be required to meet the interconnection requirements for distributed generators.  Oncor’s application for a distributed generator is attached as an example of the interconnection requirements. We also have a concern about the lack of adequate communication protocols between ERS Generators and the Transmission Service Provider (TSP).  While these concerns could eventually be addressed through Protocol revisions, Oncor is not convinced enough time has been allocated to identifying and addressing potential concerns.  PRS should only approve Protocol language for TAC consideration that has properly addressed all stakeholder concerns.

Oncor supports Urgency for NPRR451, and recommends PRS schedule a special PRS meeting after the PUCT adopts amendments to Rule 25.507 to discuss NPRR451.  This would provide PRS adequate time to craft Protocol language addressing all stakeholder concerns before advancing NPRR451 to the TAC and the Board.

Revised Cover Page Language

None at this time

Revised Proposed Protocol Language

None at this time