| NPRR Number | 450 | NPRR Title | Revise Board Approval Requirement for Contracts to Procure Additional Capacity to Alleviate Emergency Conditions |
| --- | --- | --- | --- |
| Date |  | March 21, 2012 |  |
| Submitter’s Information |  |  |  |
| Name |  | Bill Magness |  |
| E-mail Address |  | bmagness@ercot.com |  |
| Company |  | ERCOT |  |
| Phone Number |  | (512) 225-7076 |  |
| Cell Number |  |  |  |
| Market Segment |  | Not applicable |  |

Comments

ERCOT submitted Nodal Protocol Revision Request (NPRR) 450 to respond to the ERCOT Board’s directive to return Section 6.5.1.1, ERCOT Control Area Authority, to the Board at its April 2012 meeting with a revised process for the execution of contracts for capacity procured by ERCOT to alleviate anticipated Emergency Conditions (as approved by the ERCOT Board in NPRR432).  The changes to the Protocols included in the original version of NPRR450 were limited to achieving that objective.

It has come to ERCOT’s attention that another provision of NPRR432 requires revision to correct an unintended consequence caused by use of the term “existing Resources” in paragraph (2) of Section 6.5.1.1.  Use of the term “existing” would limit the procurement of Loads under NPRR432 to Loads that are currently registered with ERCOT as Load Resources (since the term “Load Resources” is defined in the Protocols to be limited to Loads that “are registered with ERCOT as a Load Resource”).  When the term “existing Resources” was added to NPRR432 during discussion of the Protocol Revisions Subcommittee (PRS), the discussion focused on the need to limit procurements to Generation Resources that are already in existence when ERCOT undertakes the emergency procurement.  The intent was not to limit the procurement of Loads to the Load Resource entities already registered with ERCOT but rather to only consider Loads that are not currently Load Resources.

This definitional issue was identified by the Demand Side Working Group (DSWG) subgroup that is working on further defining the processes and settlement implications of the procurement of Loads pursuant to NPRR432.  The ERCOT Board requested that the Technical Advisory Committee (TAC) provide the Board with more detail both on the issue being addressed by DSWG and the issue of how capital contributions to Generation Resources by ERCOT made pursuant to NPRR432 will be repaid.

ERCOT considers the definitional change to be a “clean-up” of the language in NPRR432 that corrects the unintended effects of the use of the term “existing Resources.”  Since NPRR450 is already in the Protocol revision review process, ERCOT requests that this change be considered along with the language proposed in NPRR450 to change the process for ERCOT’s execution of emergency capacity procurements.  ERCOT appreciates the efforts of the DSWG to identify the issue and bring forward suggestions for how to remedy it.

If PRS does not believe the definitional issue should be considered along with the original language in NPRR450, ERCOT requests that NPRR450 be approved as originally proposed, in order to permit TAC to review the language in time to bring the issue back before the ERCOT Board at its April 2012 meeting, as directed by the ERCOT Board.

Revised Cover Page Language

| NPRR Number | 450 | NPRR Title | Revise Requirements for Contracts to Procure Additional Capacity to Alleviate Emergency Conditions |
| --- | --- | --- | --- |

Revised Proposed Protocol Language

6.5.1.1	ERCOT Control Area Authority

(1)	ERCOT, as Control Area Operator (CAO), is authorized to perform the following actions for the limited purpose of securely operating the ERCOT Transmission Grid under the standards specified in North American Electric Reliability Corporation (NERC) Standards, the Operating Guides and these Protocols, including:

(a)	Direct the physical operation of the ERCOT Transmission Grid, including circuit breakers, switches, voltage control equipment, and Load-shedding equipment;

(b)	Dispatch Resources that have committed to provide Ancillary Services;

(c)	Direct changes in the operation of voltage control equipment;

(d)	Direct the implementation of Reliability Must-Run (RMR) Service, Remedial Action Plans (RAPs), Special Protection Systems (SPSs), and transmission switching to prevent the violation of ERCOT Transmission Grid security limits; and

(e)	Perform additional actions required to prevent an imminent Emergency Condition or to restore the ERCOT Transmission Grid to a secure state in the event of an ERCOT Transmission Grid Emergency Condition.

(2)	Consistent with paragraph (1)(e) above, if ERCOT seeks to exercise its authority to prevent an anticipated Emergency Condition relating to serving Load in the current or next Season by procuring existing capacity that may be used to maintain ERCOT System reliability in a manner not otherwise delineated in these Protocols and the Operating Guides, ERCOT shall take the following actions:

(a)	Upon determination by ERCOT that additional capacity is needed to prevent an Emergency Condition and prior to any procurement activity associated with such additional capacity, ERCOT shall issue a Notice as soon as practicable with the following information:

(i)	A detailed description of the reliability condition and need for additional capacity as determined by ERCOT and the timing of the proposed procurement;

(ii)	Justification for the quantity of additional capacity to be requested;

(iii)	Identification of potential Generation Resources or Load providing capacity considered by ERCOT to be acceptable for providing the additional capacity.  Load capacity may be provided by Entities who, at ERCOT’s direction, would interrupt consumption of electric power and remain interrupted until released by ERCOT; and

(iv)	A schedule of activities associated with the proposed procurement.

(b)	If ERCOT identifies a specific Entity with which it will negotiate the terms for procurement of additional capacity, then ERCOT shall issue a Notice as soon as practicable that includes the Entity name and, as applicable, the Resource mnemonic, the Resource MW rating by Season, the name of the Resource Entity, and the potential duration of any contract, including anticipated start and end dates.

(c)	ERCOT shall, to the fullest extent practicable, ensure that any actions taken to procure additional capacity meet the following criteria:

(i)	Any capacity procured pursuant to this paragraph will be procured using an open process, and the terms of the procurement between ERCOT and the Entity will be memorialized in contracts that will be publicly available for inspection on the ERCOT website.

(ii)	Each contract will include specified financial terms and termination dates.  For purposes of Settlement, any contract associated with a Generation Resource will include substantially the same terms and conditions as an RMR Unit under a RMR Agreement, including the Eligible Cost budgeting process.

(iii)	ERCOT shall provide notice to the ERCOT Board, at the next ERCOT Board meeting after ERCOT has signed the contract, that the actions required prior to execution of the contract, pursuant to paragraphs (2)(a) through (c) above, were completed by ERCOT before the contract was executed.

(iv)	Any information submitted by the Entity to ERCOT through the procurement process may be designated as Protected Information and treated in accordance with the provisions of Section 1.3, Confidentiality, provided that final contract terms must be made available for public inspection.

(d)	A Generation Resource that has received capital contributions from ERCOT pursuant to a contract executed under this paragraph (2) may not participate in the energy or Ancillary Services markets until such capital contributions have been refunded to ERCOT.  ERCOT shall disperse the refunded capital contributions to Qualified Scheduling Entities (QSEs) on the same Load Ratio Share (LRS) that existed when the funds were paid to the Resource Entity.  For the purposes of this Section, capital contributions are defined as improvements with an asset life greater than one year under the applicable federal tax rules.  The Resource Entity’s refund of capital contributions shall be a lump sum payment calculated as follows:

(i)	If the Generation Resource chooses to participate in the energy or Ancillary Service markets after the termination date of the contract executed under this paragraph (2), the Resource Entity shall repay 100% of the capital contribution in a lump sum payment.

(ii)	If the Generation Resource chooses to participate in the energy or Ancillary Services markets as contemplated in item (i) above, and its participation requires a lump sum payment of capital contributions, ERCOT will issue a notice to all registered Market Participants announcing the Generation Resource’s decision to participate in the market(s) and identifying the amount of the lump sum payment due pursuant to item (i) above.  ERCOT will also issue a notice to all registered Market Participants after true-up Settlement or resolution of any disputes of these capital contributions.

(e)	ERCOT shall endeavor to minimize the deployment of capacity procured pursuant to this paragraph with the goal of reducing the potential distortion of markets.  Resources and Loads deployed to alleviate imminent Emergency Conditions will not be offered into the Day-Ahead Market (DAM).  Rather, ERCOT will determine whether to use the capacity as part of the Hourly Reliability Unit Commitment (HRUC) process based on system conditions and the ability to meet Demand.  In the event Generation Resources are committed and On-Line, ERCOT systems will generate a proxy offer for the Generation Resource at the System-Wide Offer Cap (SWCAP).  The default offer will place the Generation Resources among the last for economic Dispatch, so as not to displace Generation Resources that are On-Line and offering into the market.  To the extent practicable, the capacity deployed to alleviate imminent Emergency Conditions will not be used solely for the purpose of reducing local congestion.

(f)	An Entity cannot be compelled to enter into a contract under this paragraph.